## Luminescence 1_01
Measurement results
2024.10.11_RSVNeutSeraEvo1_V1P1-4.skax
10/11/2024 4:40:03 PM
Luminescence 1
Wavelength: 0 nm
v1p1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 327.8 | 230.7 | 382.4 | 702.5 | 1147 | 1410 | 1291 | 1348 | 1296 | 1527 | 1303 | 549.9
B | 229.6 | 2880 | 44520 | 163400 | 604100 | 648800 | 640200 | 831000 | 436100 | 719600 | 665200 | 1244
C | 338.8 | 14920 | 21480 | 186900 | 460500 | 658400 | 467700 | 960900 | 437100 | 494900 | 889000 | 1513
D | 306.9 | 22850 | 78930 | 286800 | 463400 | 837500 | 579600 | 827100 | 670300 | 588000 | 603500 | 1278
E | 354.9 | 4058 | 135700 | 275700 | 482100 | 798800 | 1051000 | 699800 | 669500 | 579000 | 664300 | 1312
F | 244.3 | 2870 | 9457 | 29210 | 315000 | 371700 | 590900 | 797800 | 622000 | 520800 | 621300 | 1251
G | 227.8 | 1705 | 3135 | 29350 | 241500 | 459200 | 735600 | 674600 | 719700 | 563500 | 843700 | 1071
H | 260.4 | 240.2 | 220.2 | 329.5 | 588.4 | 824.3 | 1172 | 1098 | 1156 | 877.8 | 1056 | 471.9
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 714500
B |  | 0.0040308 | 0.062309 | 0.22869 | 0.84549 | 0.90805 | 0.89601 | 1.1631 | 0.61036 | 1.0071 |  |  | 0.0040308 | 0.062309 | 0.22869 | 0.84549 | 0.90805 | 0.89601 | 1.1631 | 0.61036 | 1.0071
C |  | 0.020882 | 0.030063 | 0.26158 | 0.64451 | 0.92148 | 0.65458 | 1.3449 | 0.61176 | 0.69265 |  |  | 0.020882 | 0.030063 | 0.26158 | 0.64451 | 0.92148 | 0.65458 | 1.3449 | 0.61176 | 0.69265
D |  | 0.03198 | 0.11047 | 0.4014 | 0.64857 | 1.1721 | 0.8112 | 1.1576 | 0.93814 | 0.82295 |  |  | 0.03198 | 0.11047 | 0.4014 | 0.64857 | 1.1721 | 0.8112 | 1.1576 | 0.93814 | 0.82295
E |  | 0.0056795 | 0.18992 | 0.38586 | 0.67474 | 1.118 | 1.471 | 0.97943 | 0.93702 | 0.81036 |  |  | 0.0056795 | 0.18992 | 0.38586 | 0.67474 | 1.118 | 1.471 | 0.97943 | 0.93702 | 0.81036
F |  | 0.0040168 | 0.013236 | 0.040882 | 0.44087 | 0.52022 | 0.82701 | 1.1166 | 0.87054 | 0.7289 |  |  | 0.0040168 | 0.013236 | 0.040882 | 0.44087 | 0.52022 | 0.82701 | 1.1166 | 0.87054 | 0.7289
G |  | 0.0023863 | 0.0043877 | 0.041078 | 0.338 | 0.64269 | 1.0295 | 0.94416 | 1.0073 | 0.78866 |  |  | 0.0023863 | 0.0043877 | 0.041078 | 0.338 | 0.64269 | 1.0295 | 0.94416 | 1.0073 | 0.78866
H
Wavelength: 0 nm
v1p2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 287.3 | 304.5 | 332.6 | 336.2 | 646.9 | 1130 | 1526 | 1580 | 1777 | 1900 | 1388 | 608.5
B | 260.6 | 1967 | 1782 | 16770 | 123800 | 493300 | 797400 | 604300 | 856000 | 1126000 | 660800 | 1031
C | 239.4 | 1799 | 1757 | 9858 | 149200 | 438000 | 656800 | 573300 | 788300 | 1326000 | 532300 | 1201
D | 190.7 | 1568 | 27020 | 41750 | 323100 | 612000 | 772600 | 952300 | 618100 | 1049000 | 787300 | 1330
E | 168.7 | 1516 | 8478 | 29850 | 357600 | 379900 | 921500 | 793100 | 745300 | 1040000 | 891200 | 1534
F | 208.9 | 1670 | 4256 | 65240 | 306700 | 730700 | 720800 | 909700 | 839000 | 1087000 | 840100 | 1655
G | 189.2 | 1542 | 3117 | 59180 | 375000 | 533500 | 828000 | 1140000 | 805200 | 717400 | 628200 | 1349
H | 184.1 | 259.7 | 178.5 | 226.4 | 438.8 | 982.9 | 1236 | 1771 | 1166 | 1081 | 854.7 | 572.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 723316.6667
B |  | 0.0027194 | 0.0024637 | 0.023185 | 0.17116 | 0.682 | 1.1024 | 0.83546 | 1.1834 | 1.5567 |  |  | 0.0027194 | 0.0024637 | 0.023185 | 0.17116 | 0.682 | 1.1024 | 0.83546 | 1.1834 | 1.5567
C |  | 0.0024872 | 0.0024291 | 0.013629 | 0.20627 | 0.60554 | 0.90804 | 0.7926 | 1.0898 | 1.8332 |  |  | 0.0024872 | 0.0024291 | 0.013629 | 0.20627 | 0.60554 | 0.90804 | 0.7926 | 1.0898 | 1.8332
D |  | 0.0021678 | 0.037356 | 0.05772 | 0.44669 | 0.8461 | 1.0681 | 1.3166 | 0.85454 | 1.4503 |  |  | 0.0021678 | 0.037356 | 0.05772 | 0.44669 | 0.8461 | 1.0681 | 1.3166 | 0.85454 | 1.4503
E |  | 0.0020959 | 0.011721 | 0.041268 | 0.49439 | 0.52522 | 1.274 | 1.0965 | 1.0304 | 1.4378 |  |  | 0.0020959 | 0.011721 | 0.041268 | 0.49439 | 0.52522 | 1.274 | 1.0965 | 1.0304 | 1.4378
F |  | 0.0023088 | 0.005884 | 0.090196 | 0.42402 | 1.0102 | 0.99652 | 1.2577 | 1.1599 | 1.5028 |  |  | 0.0023088 | 0.005884 | 0.090196 | 0.42402 | 1.0102 | 0.99652 | 1.2577 | 1.1599 | 1.5028
G |  | 0.0021318 | 0.0043093 | 0.081818 | 0.51845 | 0.73757 | 1.1447 | 1.5761 | 1.1132 | 0.99182 |  |  | 0.0021318 | 0.0043093 | 0.081818 | 0.51845 | 0.73757 | 1.1447 | 1.5761 | 1.1132 | 0.99182
H
Wavelength: 0 nm
v1p3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 251.8 | 212.9 | 235.5 | 358.3 | 623.2 | 1432 | 2291 | 2320 | 1917 | 1724 | 1130 | 571.5
B | 207.6 | 29800 | 2736 | 1684 | 142800 | 632000 | 1189000 | 1369000 | 929200 | 1073000 | 500300 | 1010 | Not enough BrightGlo added
C | 236.4 | 1450 | 2106 | 31550 | 122900 | 594600 | 1068000 | 1246000 | 897300 | 1123000 | 574700 | 1250
D | 223.8 | 1322 | 2113 | 69580 | 319000 | 795800 | 1266000 | 1105000 | 881400 | 962600 | 652400 | 1357
E | 200.5 | 1597 | 1895 | 83520 | 387200 | 886200 | 987300 | 1565000 | 1171000 | 1002000 | 544200 | 1432
F | 216 | 3708 | 6169 | 84030 | 455300 | 782300 | 861300 | 952700 | 923400 | 938500 | 524500 | 1372
G | 297.1 | 8681 | 2235 | 131700 | 331000 | 655300 | 1152000 | 961500 | 1260000 | 1170000 | 1022000 | 1312
H | 270.2 | 208.8 | 228.1 | 428.1 | 605.7 | 1340 | 1411 | 1527 | 1659 | 1500 | 1290 | 644.9
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1044850
B |  | 0.028521 | 0.0026186 | 0.0016117 | 0.13667 | 0.60487 | 1.138 | 1.3102 | 0.88931 | 1.0269 |  |  | 0.028521 | 0.0026186 | 0.0016117 | 0.13667 | 0.60487 | 1.138 | 1.3102 | 0.88931 | 1.0269
C |  | 0.0013878 | 0.0020156 | 0.030196 | 0.11762 | 0.56908 | 1.0222 | 1.1925 | 0.85878 | 1.0748 |  |  | 0.0013878 | 0.0020156 | 0.030196 | 0.11762 | 0.56908 | 1.0222 | 1.1925 | 0.85878 | 1.0748
D |  | 0.0012653 | 0.0020223 | 0.066593 | 0.30531 | 0.76164 | 1.2117 | 1.0576 | 0.84357 | 0.92128 |  |  | 0.0012653 | 0.0020223 | 0.066593 | 0.30531 | 0.76164 | 1.2117 | 1.0576 | 0.84357 | 0.92128
E |  | 0.0015284 | 0.0018137 | 0.079935 | 0.37058 | 0.84816 | 0.94492 | 1.4978 | 1.1207 | 0.95899 |  |  | 0.0015284 | 0.0018137 | 0.079935 | 0.37058 | 0.84816 | 0.94492 | 1.4978 | 1.1207 | 0.95899
F |  | 0.0035488 | 0.0059042 | 0.080423 | 0.43576 | 0.74872 | 0.82433 | 0.91181 | 0.88376 | 0.89822 |  |  | 0.0035488 | 0.0059042 | 0.080423 | 0.43576 | 0.74872 | 0.82433 | 0.91181 | 0.88376 | 0.89822
G |  | 0.0083084 | 0.0021391 | 0.12605 | 0.31679 | 0.62717 | 1.1026 | 0.92023 | 1.2059 | 1.1198 |  |  | 0.0083084 | 0.0021391 | 0.12605 | 0.31679 | 0.62717 | 1.1026 | 0.92023 | 1.2059 | 1.1198
H
Wavelength: 0 nm
v1p4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 279.4 | 235.1 | 228.3 | 325 | 508.3 | 961.9 | 1607 | 1574 | 1826 | 1614 | 1410 | 653
B | 296.2 | 1283 | 1580 | 3828 | 62270 | 394800 | 977700 | 887700 | 873800 | 652100 | 856700 | 1454
C | 238.9 | 1307 | 2333 | 7425 | 65020 | 318400 | 762800 | 754100 | 1013000 | 747500 | 907300 | 1795
D | 180.6 | 1398 | 4509 | 49580 | 313800 | 1013000 | 1211000 | 1040000 | 1187000 | 890600 | 1159000 | 1822
E | 249.1 | 13550 | 6001 | 52860 | 428600 | 785200 | 1081000 | 1086000 | 995000 | 777500 | 1101000 | 2158
F | 324.5 | 1445 | 5886 | 135800 | 529700 | 838800 | 1319000 | 868200 | 1218000 | 965900 | 1235000 | 1765
G | 181 | 1351 | 5274 | 66900 | 332700 | 1114000 | 1152000 | 1040000 | 1212000 | 931200 | 1003000 | 1372
H | 315.6 | 207.7 | 232.7 | 428 | 751 | 1470 | 1784 | 1721 | 1689 | 1520 | 1311 | 619.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1043666.6667
B |  | 0.0012293 | 0.0015139 | 0.0036678 | 0.059665 | 0.37828 | 0.93679 | 0.85056 | 0.83724 | 0.62482 |  |  | 0.0012293 | 0.0015139 | 0.0036678 | 0.059665 | 0.37828 | 0.93679 | 0.85056 | 0.83724 | 0.62482
C |  | 0.0012523 | 0.0022354 | 0.0071143 | 0.0623 | 0.30508 | 0.73088 | 0.72255 | 0.97062 | 0.71622 |  |  | 0.0012523 | 0.0022354 | 0.0071143 | 0.0623 | 0.30508 | 0.73088 | 0.72255 | 0.97062 | 0.71622
D |  | 0.0013395 | 0.0043203 | 0.047506 | 0.30067 | 0.97062 | 1.1603 | 0.99649 | 1.1373 | 0.85334 |  |  | 0.0013395 | 0.0043203 | 0.047506 | 0.30067 | 0.97062 | 1.1603 | 0.99649 | 1.1373 | 0.85334
E |  | 0.012983 | 0.0057499 | 0.050648 | 0.41067 | 0.75235 | 1.0358 | 1.0406 | 0.95337 | 0.74497 |  |  | 0.012983 | 0.0057499 | 0.050648 | 0.41067 | 0.75235 | 1.0358 | 1.0406 | 0.95337 | 0.74497
F |  | 0.0013845 | 0.0056397 | 0.13012 | 0.50754 | 0.8037 | 1.2638 | 0.83187 | 1.167 | 0.92549 |  |  | 0.0013845 | 0.0056397 | 0.13012 | 0.50754 | 0.8037 | 1.2638 | 0.83187 | 1.167 | 0.92549
G |  | 0.0012945 | 0.0050533 | 0.064101 | 0.31878 | 1.0674 | 1.1038 | 0.99649 | 1.1613 | 0.89224 |  |  | 0.0012945 | 0.0050533 | 0.064101 | 0.31878 | 1.0674 | 1.1038 | 0.99649 | 1.1613 | 0.89224
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.10.11_RSVNeutSeraEvo1_V1P1-4.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 10/11/2024 4:40:03 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 10/11/2024 4:40:03 PM | Session 2024.10.11_RSVNeutSeraEvo1_V1P1-4.skax started
| 10/11/2024 4:40:03 PM | Temperature | 24.6°C
| 10/11/2024 4:40:11 PM | User action | Please insert plate v1p1 (1/4)
| 10/11/2024 4:40:28 PM | Step Luminescence 1 started
| 10/11/2024 4:40:35 PM | Calibration | Luminometric 1.13083 550784
| 10/11/2024 4:40:54 PM | Temperature | 24.6°C
| 10/11/2024 4:41:54 PM | Temperature | 24.6°C
| 10/11/2024 4:42:36 PM | Step Luminescence 1 ended
| 10/11/2024 4:42:44 PM | User action | Please insert plate v1p2 (2/4)
| 10/11/2024 4:42:54 PM | Temperature | 24.7°C
| 10/11/2024 4:43:23 PM | Step Luminescence 1 started
| 10/11/2024 4:43:54 PM | Temperature | 24.6°C
| 10/11/2024 4:44:54 PM | Temperature | 24.6°C
| 10/11/2024 4:45:28 PM | Step Luminescence 1 ended
| 10/11/2024 4:45:37 PM | User action | Please insert plate v1p3 (3/4)
| 10/11/2024 4:45:54 PM | Temperature | 24.6°C
| 10/11/2024 4:46:04 PM | Step Luminescence 1 started
| 10/11/2024 4:46:54 PM | Temperature | 24.6°C
| 10/11/2024 4:47:54 PM | Temperature | 24.7°C
| 10/11/2024 4:48:10 PM | Step Luminescence 1 ended
| 10/11/2024 4:48:18 PM | User action | Please insert plate v1p4 (4/4)
| 10/11/2024 4:48:43 PM | Step Luminescence 1 started
| 10/11/2024 4:48:51 PM | Calibration | Luminometric 1.13675 600340
| 10/11/2024 4:48:54 PM | Temperature | 24.6°C
| 10/11/2024 4:49:54 PM | Temperature | 24.6°C
| 10/11/2024 4:50:51 PM | Step Luminescence 1 ended
| 10/11/2024 4:50:51 PM | Temperature | 24.7°C
| 10/11/2024 4:50:54 PM | Temperature | 24.7°C
| 10/11/2024 4:51:02 PM | Session 2024.10.11_RSVNeutSeraEvo1_V1P1-4.skax ended

## Layout definitions
Name | v1p1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | v1p2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | v1p3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | v1p4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H