## Luminescence 1_01
Measurement results
2024.10.11_RSVNeutSeraEvo1_V1P5-8.skax
10/11/2024 5:28:41 PM
Luminescence 1
Wavelength: 0 nm
v1p5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 254.5 | 278.6 | 235 | 195.8 | 298.6 | 562.6 | 1214 | 1775 | 1821 | 2150 | 1818 | 622.7
B | 193.6 | 3676 | 1545 | 4865 | 29120 | 142600 | 422600 | 1021000 | 1038000 | 1092000 | 1186000 | 1904
C | 226.1 | 1552 | 1775 | 2085 | 6570 | 190300 | 351400 | 758100 | 786600 | 1113000 | 1292000 | 2028
D | 220.1 | 2415 | 10390 | 140000 | 347500 | 816600 | 841900 | 861900 | 905600 | 1082000 | 1047000 | 1792
E | 263.1 | 1590 | 3602 | 159200 | 300000 | 760900 | 819300 | 702000 | 795400 | 491100 | 755800 | 1535
F | 250.7 | 1431 | 5537 | 167900 | 414700 | 759500 | 1101000 | 1311000 | 778400 | 1142000 | 1000000 | 1759
G | 291.3 | 1385 | 6942 | 112600 | 462800 | 842400 | 881200 | 1191000 | 1181000 | 1011000 | 1006000 | 1407
H | 219.3 | 87.54 | 294.9 | 463.2 | 794.1 | 1316 | 1392 | 1560 | 1811 | 1534 | 1394 | 617.6
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1047800
B |  | 0.0035083 | 0.0014745 | 0.0046431 | 0.027792 | 0.13609 | 0.40332 | 0.97442 | 0.99065 | 1.0422 |  |  | 0.0035083 | 0.0014745 | 0.0046431 | 0.027792 | 0.13609 | 0.40332 | 0.97442 | 0.99065 | 1.0422
C |  | 0.0014812 | 0.001694 | 0.0019899 | 0.0062703 | 0.18162 | 0.33537 | 0.72352 | 0.75072 | 1.0622 |  |  | 0.0014812 | 0.001694 | 0.0019899 | 0.0062703 | 0.18162 | 0.33537 | 0.72352 | 0.75072 | 1.0622
D |  | 0.0023048 | 0.009916 | 0.13361 | 0.33165 | 0.77935 | 0.80349 | 0.82258 | 0.86429 | 1.0326 |  |  | 0.0023048 | 0.009916 | 0.13361 | 0.33165 | 0.77935 | 0.80349 | 0.82258 | 0.86429 | 1.0326
E |  | 0.0015175 | 0.0034377 | 0.15194 | 0.28631 | 0.72619 | 0.78192 | 0.66998 | 0.75911 | 0.4687 |  |  | 0.0015175 | 0.0034377 | 0.15194 | 0.28631 | 0.72619 | 0.78192 | 0.66998 | 0.75911 | 0.4687
F |  | 0.0013657 | 0.0052844 | 0.16024 | 0.39578 | 0.72485 | 1.0508 | 1.2512 | 0.74289 | 1.0899 |  |  | 0.0013657 | 0.0052844 | 0.16024 | 0.39578 | 0.72485 | 1.0508 | 1.2512 | 0.74289 | 1.0899
G |  | 0.0013218 | 0.0066253 | 0.10746 | 0.44169 | 0.80397 | 0.841 | 1.1367 | 1.1271 | 0.96488 |  |  | 0.0013218 | 0.0066253 | 0.10746 | 0.44169 | 0.80397 | 0.841 | 1.1367 | 1.1271 | 0.96488
H
Wavelength: 0 nm
v1p6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 178 | 282.4 | 304.5 | 329.4 | 511.1 | 727.6 | 1624 | 1869 | 1758 | 1815 | 2038 | 650.2
B | 243.7 | 1430 | 1454 | 1882 | 46910 | 270500 | 742800 | 1142000 | 899300 | 827000 | 1340000 | 1920
C | 259.7 | 1481 | 1790 | 8948 | 31180 | 228900 | 929600 | 1203000 | 1095000 | 974200 | 933300 | 1928
D | 158.8 | 8116 | 35230 | 364200 | 951300 | 1194000 | 1397000 | 1186000 | 1023000 | 1431000 | 1232000 | 2036
E | 295.9 | 1827 | 16020 | 491900 | 765900 | 845200 | 1289000 | 1453000 | 941500 | 1112000 | 1066000 | 1909
F | 249.3 | 1491 | 8922 | 214300 | 763900 | 1089000 | 1341000 | 1458000 | 965500 | 1133000 | 1179000 | 1972
G | 273 | 1329 | 3887 | 204900 | 703600 | 1279000 | 1452000 | 1405000 | 876200 | 1173000 | 846100 | 1374
H | 113.9 | 282.3 | 345.4 | 612.7 | 1255 | 1873 | 1804 | 1762 | 1802 | 1637 | 1309 | 569.8
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1099400
B |  | 0.0013007 | 0.0013225 | 0.0017118 | 0.042669 | 0.24604 | 0.67564 | 1.0387 | 0.81799 | 0.75223 |  |  | 0.0013007 | 0.0013225 | 0.0017118 | 0.042669 | 0.24604 | 0.67564 | 1.0387 | 0.81799 | 0.75223
C |  | 0.0013471 | 0.0016282 | 0.008139 | 0.028361 | 0.2082 | 0.84555 | 1.0942 | 0.996 | 0.88612 |  |  | 0.0013471 | 0.0016282 | 0.008139 | 0.028361 | 0.2082 | 0.84555 | 1.0942 | 0.996 | 0.88612
D |  | 0.0073822 | 0.032045 | 0.33127 | 0.86529 | 1.086 | 1.2707 | 1.0788 | 0.93051 | 1.3016 |  |  | 0.0073822 | 0.032045 | 0.33127 | 0.86529 | 1.086 | 1.2707 | 1.0788 | 0.93051 | 1.3016
E |  | 0.0016618 | 0.014572 | 0.44743 | 0.69665 | 0.76878 | 1.1725 | 1.3216 | 0.85638 | 1.0115 |  |  | 0.0016618 | 0.014572 | 0.44743 | 0.69665 | 0.76878 | 1.1725 | 1.3216 | 0.85638 | 1.0115
F |  | 0.0013562 | 0.0081153 | 0.19492 | 0.69483 | 0.99054 | 1.2198 | 1.3262 | 0.87821 | 1.0306 |  |  | 0.0013562 | 0.0081153 | 0.19492 | 0.69483 | 0.99054 | 1.2198 | 1.3262 | 0.87821 | 1.0306
G |  | 0.0012088 | 0.0035356 | 0.18637 | 0.63999 | 1.1634 | 1.3207 | 1.278 | 0.79698 | 1.0669 |  |  | 0.0012088 | 0.0035356 | 0.18637 | 0.63999 | 1.1634 | 1.3207 | 1.278 | 0.79698 | 1.0669
H
Wavelength: 0 nm
v1p7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 918.3 | 2091 | 2234 | 2240 | 2341 | 2043 | 2270 | 1853 | 1784 | 1849 | 1533 | 482
B | 2007 | 1291000 | 1307000 | 1135000 | 1331000 | 1136000 | 1458000 | 764200 | 880000 | 1021000 | 872200 | 1183
C | 1827 | 1293000 | 1346000 | 1423000 | 1453000 | 1034000 | 928700 | 1025000 | 744600 | 972700 | 735400 | 1290
D | 707.2 | 2730 | 3289 | 3292 | 3377 | 105400 | 442600 | 878600 | 571000 | 697800 | 681800 | 1221
E | 202.7 | 1499 | 1512 | 2861 | 2266 | 107400 | 415100 | 831600 | 734200 | 1086000 | 900400 | 1608
F | 298.6 | 1660 | 1391 | 42160 | 214700 | 441300 | 790500 | 871600 | 807800 | 762500 | 960800 | 1483
G | 198.4 | 1745 | 6463 | 55270 | 260500 | 556100 | 761600 | 696000 | 910100 | 857600 | 761600 | 1242
H | 157.5 | 232.3 | 241.8 | 339.3 | 573.9 | 854.6 | 1224 | 1105 | 1337 | 1202 | 1174 | 524.6
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 818700
B |  | 1.5769 | 1.5964 | 1.3863 | 1.6257 | 1.3876 | 1.7809 | 0.93343 | 1.0749 | 1.2471 |  |  | 1.5769 | 1.5964 | 1.3863 | 1.6257 | 1.3876 | 1.7809 | 0.93343 | 1.0749 | 1.2471
C |  | 1.5793 | 1.6441 | 1.7381 | 1.7748 | 1.263 | 1.1344 | 1.252 | 0.90949 | 1.1881 |  |  | 1.5793 | 1.6441 | 1.7381 | 1.7748 | 1.263 | 1.1344 | 1.252 | 0.90949 | 1.1881
D |  | 0.0033346 | 0.0040173 | 0.004021 | 0.0041248 | 0.12874 | 0.54061 | 1.0732 | 0.69745 | 0.85233 |  |  | 0.0033346 | 0.0040173 | 0.004021 | 0.0041248 | 0.12874 | 0.54061 | 1.0732 | 0.69745 | 0.85233
E |  | 0.001831 | 0.0018468 | 0.0034946 | 0.0027678 | 0.13118 | 0.50702 | 1.0158 | 0.89679 | 1.3265 |  |  | 0.001831 | 0.0018468 | 0.0034946 | 0.0027678 | 0.13118 | 0.50702 | 1.0158 | 0.89679 | 1.3265
F |  | 0.0020276 | 0.001699 | 0.051496 | 0.26225 | 0.53903 | 0.96556 | 1.0646 | 0.98669 | 0.93135 |  |  | 0.0020276 | 0.001699 | 0.051496 | 0.26225 | 0.53903 | 0.96556 | 1.0646 | 0.98669 | 0.93135
G |  | 0.0021314 | 0.0078942 | 0.067509 | 0.31819 | 0.67925 | 0.93026 | 0.85013 | 1.1116 | 1.0475 |  |  | 0.0021314 | 0.0078942 | 0.067509 | 0.31819 | 0.67925 | 0.93026 | 0.85013 | 1.1116 | 1.0475
H

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.10.11_RSVNeutSeraEvo1_V1P5-8.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 10/11/2024 5:28:41 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 10/11/2024 5:28:41 PM | Session 2024.10.11_RSVNeutSeraEvo1_V1P5-8.skax started
| 10/11/2024 5:28:41 PM | Temperature | 24.3°C
| 10/11/2024 5:28:49 PM | User action | Please insert plate v1p5 (1/4)
| 10/11/2024 5:28:54 PM | Temperature | 24.3°C
| 10/11/2024 5:29:03 PM | Step Luminescence 1 started
| 10/11/2024 5:29:10 PM | Calibration | Luminometric 1.14673 842316
| 10/11/2024 5:29:54 PM | Temperature | 24.4°C
| 10/11/2024 5:30:54 PM | Temperature | 24.4°C
| 10/11/2024 5:31:11 PM | Step Luminescence 1 ended
| 10/11/2024 5:31:19 PM | User action | Please insert plate v1p6 (2/4)
| 10/11/2024 5:31:39 PM | Step Luminescence 1 started
| 10/11/2024 5:31:54 PM | Temperature | 24.5°C
| 10/11/2024 5:32:54 PM | Temperature | 24.5°C
| 10/11/2024 5:33:45 PM | Step Luminescence 1 ended
| 10/11/2024 5:33:53 PM | User action | Please insert plate v1p7 (3/4)
| 10/11/2024 5:33:54 PM | Temperature | 24.5°C
| 10/11/2024 5:34:52 PM | Step Luminescence 1 started
| 10/11/2024 5:34:54 PM | Temperature | 24.6°C
| 10/11/2024 5:35:54 PM | Temperature | 24.6°C
| 10/11/2024 5:36:54 PM | Temperature | 24.6°C
| 10/11/2024 5:36:58 PM | Step Luminescence 1 ended
| 10/11/2024 5:37:06 PM | User action | Please insert plate v1p8 (4/4)
| 10/11/2024 5:37:29 PM | Step Luminescence 1 started
| 10/11/2024 5:37:36 PM | Calibration | Luminometric 1.14688 892877
| 10/11/2024 5:37:54 PM | Temperature | 24.6°C
| 10/11/2024 5:38:54 PM | Temperature | 24.6°C
| 10/11/2024 5:39:37 PM | Step Luminescence 1 ended
| 10/11/2024 5:39:37 PM | Temperature | 24.7°C
| 10/11/2024 5:39:47 PM | Session 2024.10.11_RSVNeutSeraEvo1_V1P5-8.skax ended

## Layout definitions
Name | v1p5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | v1p6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | v1p7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | v1p8
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H