## Luminescence 1_01
Measurement results
2024.10.11_RSVNeutSeraEvo1_V4P5-8.skax
10/11/2024 5:50:36 PM
Luminescence 1
Wavelength: 0 nm
V4P5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 217.8 | 196.1 | 196.7 | 269.3 | 423.5 | 729 | 1322 | 2698 | 3562 | 4109 | 3873 | 1422
B | 265.5 | 4232 | 5048 | 10240 | 8813 | 21780 | 500700 | 1432000 | 1902000 | 2349000 | 2814000 | 3714
C | 330.2 | 4175 | 6413 | 11110 | 9679 | 37570 | 370500 | 1244000 | 1850000 | 2134000 | 2643000 | 4575
D | 207.9 | 5114 | 8478 | 377400 | 725200 | 1779000 | 2064000 | 2114000 | 2187000 | 2294000 | 2429000 | 4352
E | 327.7 | 4340 | 24650 | 266600 | 827800 | 1257000 | 1675000 | 2096000 | 2178000 | 2470000 | 2691000 | 4229
F | 354.1 | 3310 | 6137 | 138100 | 608100 | 981900 | 1520000 | 2113000 | 2178000 | 2301000 | 2021000 | 3485
G | 333.4 | 4119 | 13050 | 103000 | 545600 | 1059000 | 1529000 | 2093000 | 2104000 | 2235000 | 2054000 | 2838
H | 185 | 331.9 | 336.2 | 588.5 | 1111 | 1727 | 2318 | 2953 | 3278 | 3182 | 2599 | 942.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2442000
B |  | 0.001733 | 0.0020672 | 0.0041933 | 0.0036089 | 0.0089189 | 0.20504 | 0.5864 | 0.77887 | 0.96192 |  |  | 0.001733 | 0.0020672 | 0.0041933 | 0.0036089 | 0.0089189 | 0.20504 | 0.5864 | 0.77887 | 0.96192
C |  | 0.0017097 | 0.0026261 | 0.0045495 | 0.0039636 | 0.015385 | 0.15172 | 0.50942 | 0.75758 | 0.87387 |  |  | 0.0017097 | 0.0026261 | 0.0045495 | 0.0039636 | 0.015385 | 0.15172 | 0.50942 | 0.75758 | 0.87387
D |  | 0.0020942 | 0.0034717 | 0.15455 | 0.29697 | 0.7285 | 0.84521 | 0.86568 | 0.89558 | 0.93939 |  |  | 0.0020942 | 0.0034717 | 0.15455 | 0.29697 | 0.7285 | 0.84521 | 0.86568 | 0.89558 | 0.93939
E |  | 0.0017772 | 0.010094 | 0.10917 | 0.33898 | 0.51474 | 0.68591 | 0.85831 | 0.89189 | 1.0115 |  |  | 0.0017772 | 0.010094 | 0.10917 | 0.33898 | 0.51474 | 0.68591 | 0.85831 | 0.89189 | 1.0115
F |  | 0.0013554 | 0.0025131 | 0.056552 | 0.24902 | 0.40209 | 0.62244 | 0.86527 | 0.89189 | 0.94226 |  |  | 0.0013554 | 0.0025131 | 0.056552 | 0.24902 | 0.40209 | 0.62244 | 0.86527 | 0.89189 | 0.94226
G |  | 0.0016867 | 0.005344 | 0.042179 | 0.22342 | 0.43366 | 0.62613 | 0.85708 | 0.86159 | 0.91523 |  |  | 0.0016867 | 0.005344 | 0.042179 | 0.22342 | 0.43366 | 0.62613 | 0.85708 | 0.86159 | 0.91523
H
Wavelength: 0 nm
V4P6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 286.1 | 283.1 | 265.9 | 491.8 | 736.5 | 1775 | 3195 | 3793 | 4320 | 4772 | 3988 | 1282
B | 233.9 | 3777 | 4119 | 7310 | 117600 | 746400 | 1812000 | 2073000 | 2604000 | 2621000 | 2694000 | 3633
C | 393 | 4547 | 6713 | 31100 | 189900 | 829900 | 1622000 | 2098000 | 2191000 | 2359000 | 2613000 | 4586
D | 375 | 36530 | 382400 | 1083000 | 1845000 | 1977000 | 2405000 | 2179000 | 2536000 | 2270000 | 2499000 | 4393
E | 391 | 11060 | 339400 | 1070000 | 1505000 | 2032000 | 2083000 | 2117000 | 2496000 | 2118000 | 2628000 | 4344
F | 401.5 | 24680 | 251900 | 860800 | 1387000 | 1889000 | 1942000 | 2332000 | 2449000 | 2615000 | 2343000 | 4364
G | 268.5 | 3838 | 232900 | 653900 | 1467000 | 1913000 | 2124000 | 2176000 | 2382000 | 2435000 | 2929000 | 3753
H | 205.3 | 456 | 827.5 | 1421 | 2235 | 2806 | 2994 | 3298 | 3532 | 3894 | 3460 | 1225
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2617666.6667
B |  | 0.0014429 | 0.0015735 | 0.0027926 | 0.044926 | 0.28514 | 0.69222 | 0.79193 | 0.99478 | 1.0013 |  |  | 0.0014429 | 0.0015735 | 0.0027926 | 0.044926 | 0.28514 | 0.69222 | 0.79193 | 0.99478 | 1.0013
C |  | 0.001737 | 0.0025645 | 0.011881 | 0.072546 | 0.31704 | 0.61964 | 0.80148 | 0.837 | 0.90118 |  |  | 0.001737 | 0.0025645 | 0.011881 | 0.072546 | 0.31704 | 0.61964 | 0.80148 | 0.837 | 0.90118
D |  | 0.013955 | 0.14608 | 0.41373 | 0.70483 | 0.75525 | 0.91876 | 0.83242 | 0.9688 | 0.86718 |  |  | 0.013955 | 0.14608 | 0.41373 | 0.70483 | 0.75525 | 0.91876 | 0.83242 | 0.9688 | 0.86718
E |  | 0.0042251 | 0.12966 | 0.40876 | 0.57494 | 0.77626 | 0.79575 | 0.80874 | 0.95352 | 0.80912 |  |  | 0.0042251 | 0.12966 | 0.40876 | 0.57494 | 0.77626 | 0.79575 | 0.80874 | 0.95352 | 0.80912
F |  | 0.0094282 | 0.096231 | 0.32884 | 0.52986 | 0.72164 | 0.74188 | 0.89087 | 0.93557 | 0.99898 |  |  | 0.0094282 | 0.096231 | 0.32884 | 0.52986 | 0.72164 | 0.74188 | 0.89087 | 0.93557 | 0.99898
G |  | 0.0014662 | 0.088972 | 0.2498 | 0.56042 | 0.7308 | 0.81141 | 0.83127 | 0.90997 | 0.93022 |  |  | 0.0014662 | 0.088972 | 0.2498 | 0.56042 | 0.7308 | 0.81141 | 0.83127 | 0.90997 | 0.93022
H
Wavelength: 0 nm
V4P7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1509 | 3625 | 4605 | 4475 | 3931 | 4216 | 4321 | 4579 | 3977 | 3708 | 3383 | 1209
B | 3167 | 2366000 | 2351000 | 2446000 | 2367000 | 2298000 | 2231000 | 2639000 | 1985000 | 1883000 | 2235000 | 3206
C | 3177 | 2270000 | 2249000 | 2206000 | 2384000 | 2408000 | 2247000 | 2372000 | 2019000 | 2238000 | 2249000 | 3518
D | 1224 | 6144 | 7088 | 7091 | 65360 | 631900 | 1257000 | 1780000 | 2110000 | 2103000 | 2031000 | 3530
E | 399.3 | 3907 | 5983 | 6820 | 158900 | 600400 | 1302000 | 1786000 | 1932000 | 2259000 | 2402000 | 3817
F | 198.8 | 3737 | 11150 | 58940 | 234300 | 934000 | 1372000 | 1971000 | 1811000 | 1625000 | 2154000 | 3914
G | 369.6 | 3448 | 10180 | 27770 | 252000 | 926900 | 1555000 | 1896000 | 2036000 | 1804000 | 2489000 | 3141
H | 179.6 | 222.5 | 339.3 | 365.1 | 815.5 | 1638 | 2041 | 2605 | 2607 | 2801 | 2880 | 1092
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2260000
B |  | 1.0469 | 1.0403 | 1.0823 | 1.0473 | 1.0168 | 0.98717 | 1.1677 | 0.87832 | 0.83319 |  |  | 1.0469 | 1.0403 | 1.0823 | 1.0473 | 1.0168 | 0.98717 | 1.1677 | 0.87832 | 0.83319
C |  | 1.0044 | 0.99513 | 0.97611 | 1.0549 | 1.0655 | 0.99425 | 1.0496 | 0.89336 | 0.99027 |  |  | 1.0044 | 0.99513 | 0.97611 | 1.0549 | 1.0655 | 0.99425 | 1.0496 | 0.89336 | 0.99027
D |  | 0.0027186 | 0.0031363 | 0.0031376 | 0.02892 | 0.2796 | 0.55619 | 0.78761 | 0.93363 | 0.93053 |  |  | 0.0027186 | 0.0031363 | 0.0031376 | 0.02892 | 0.2796 | 0.55619 | 0.78761 | 0.93363 | 0.93053
E |  | 0.0017288 | 0.0026473 | 0.0030177 | 0.07031 | 0.26566 | 0.57611 | 0.79027 | 0.85487 | 0.99956 |  |  | 0.0017288 | 0.0026473 | 0.0030177 | 0.07031 | 0.26566 | 0.57611 | 0.79027 | 0.85487 | 0.99956
F |  | 0.0016535 | 0.0049336 | 0.02608 | 0.10367 | 0.41327 | 0.60708 | 0.87212 | 0.80133 | 0.71903 |  |  | 0.0016535 | 0.0049336 | 0.02608 | 0.10367 | 0.41327 | 0.60708 | 0.87212 | 0.80133 | 0.71903
G |  | 0.0015257 | 0.0045044 | 0.012288 | 0.1115 | 0.41013 | 0.68805 | 0.83894 | 0.90088 | 0.79823 |  |  | 0.0015257 | 0.0045044 | 0.012288 | 0.1115 | 0.41013 | 0.68805 | 0.83894 | 0.90088 | 0.79823
H

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.10.11_RSVNeutSeraEvo1_V4P5-8.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 10/11/2024 5:50:36 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 10/11/2024 5:50:36 PM | Session 2024.10.11_RSVNeutSeraEvo1_V4P5-8.skax started
| 10/11/2024 5:50:36 PM | Temperature | 24.5°C
| 10/11/2024 5:50:44 PM | User action | Please insert plate V4P5 (1/6)
| 10/11/2024 5:50:54 PM | Temperature | 24.5°C
| 10/11/2024 5:50:58 PM | Step Luminescence 1 started
| 10/11/2024 5:51:05 PM | Calibration | Luminometric 1.14507 973828
| 10/11/2024 5:51:54 PM | Temperature | 24.5°C
| 10/11/2024 5:52:54 PM | Temperature | 24.6°C
| 10/11/2024 5:53:06 PM | Step Luminescence 1 ended
| 10/11/2024 5:53:14 PM | User action | Please insert plate V4P6 (2/6)
| 10/11/2024 5:53:36 PM | Step Luminescence 1 started
| 10/11/2024 5:53:54 PM | Temperature | 24.6°C
| 10/11/2024 5:54:54 PM | Temperature | 24.6°C
| 10/11/2024 5:55:42 PM | Step Luminescence 1 ended
| 10/11/2024 5:55:50 PM | User action | Please insert plate V4P7 (3/6)
| 10/11/2024 5:55:54 PM | Temperature | 24.7°C
| 10/11/2024 5:56:11 PM | Step Luminescence 1 started
| 10/11/2024 5:56:54 PM | Temperature | 24.7°C
| 10/11/2024 5:57:54 PM | Temperature | 24.7°C
| 10/11/2024 5:58:17 PM | Step Luminescence 1 ended
| 10/11/2024 5:58:25 PM | User action | Please insert plate V4P8 (4/6)
| 10/11/2024 5:58:47 PM | Step Luminescence 1 started
| 10/11/2024 5:58:54 PM | Calibration | Luminometric 1.14762 1020687
| 10/11/2024 5:58:54 PM | Temperature | 24.7°C
| 10/11/2024 5:59:54 PM | Temperature | 24.8°C
| 10/11/2024 6:00:54 PM | Temperature | 24.8°C
| 10/11/2024 6:00:55 PM | Step Luminescence 1 ended
| 10/11/2024 6:01:03 PM | User action | Please insert plate TiterB80WhitePlate (5/6)
| 10/11/2024 6:01:31 PM | Step Luminescence 1 started
| 10/11/2024 6:01:54 PM | Temperature | 24.8°C
| 10/11/2024 6:02:54 PM | Temperature | 24.8°C
| 10/11/2024 6:03:39 PM | Step Luminescence 1 ended
| 10/11/2024 6:03:47 PM | User action | Please insert plate TiterB80BlackPlate (6/6)
| 10/11/2024 6:03:54 PM | Temperature | 24.8°C
| 10/11/2024 6:04:16 PM | Step Luminescence 1 started
| 10/11/2024 6:04:54 PM | Temperature | 24.9°C
| 10/11/2024 6:05:54 PM | Temperature | 24.9°C
| 10/11/2024 6:06:23 PM | Step Luminescence 1 ended
| 10/11/2024 6:06:23 PM | Temperature | 24.9°C
| 10/11/2024 6:06:34 PM | Session 2024.10.11_RSVNeutSeraEvo1_V4P5-8.skax ended

## Layout definitions
Name | V4P5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | V4P6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P8
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  | Blank1 | Blank1 | Blank1 | Blank1 |  | Blank1 | Blank1 | Blank1 | Blank1
|  | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1 | Group 1 | Group 1
C |  | Blank1 | Blank1 | Blank1 | Blank1 |  | Blank1 | Blank1 | Blank1 | Blank1
|  | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1 | Group 1 | Group 1
D
E
F
G
H
Name | TiterB80WhitePlate
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | TiterB80BlackPlate
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H