## Luminescence 1_01
Measurement results
24.10.17_RSVNeutEvoSeraRep2_V1P1-4.skax
10/17/2024 1:53:00 PM
Luminescence 1
Wavelength: 0 nm
V1P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 161.7 | 106.7 | 170.1 | 400.7 | 1040 | 2745 | 5887 | 7255 | 7926 | 5591 | 5592 | 1763
B | 44.89 | 555.8 | 969.5 | 1367 | 61850 | 504200 | 1148000 | 1612000 | 1644000 | 1223000 | 1625000 | 5627
C | 159.2 | 542.8 | 4939 | 19450 | 69520 | 650600 | 1284000 | 1547000 | 1399000 | 1525000 | 1670000 | 7208
D | 104.2 | 786.4 | 5121 | 45510 | 456900 | 1253000 | 1370000 | 1626000 | 1863000 | 1350000 | 1649000 | 7457
E | 119.3 | 678.3 | 3528 | 55460 | 391900 | 988100 | 1320000 | 1665000 | 1459000 | 1668000 | 1850000 | 7565
F | 54 | 2826 | 17370 | 186700 | 450500 | 1010000 | 1527000 | 1544000 | 1654000 | 1671000 | 1765000 | 7432
G | 123.8 | 6770 | 16090 | 167300 | 514900 | 1254000 | 1631000 | 1826000 | 1913000 | 2179000 | 2144000 | 5937
H | 164.4 | 73.74 | 385.7 | 773.8 | 2368 | 5078 | 6514 | 8152 | 8328 | 9028 | 8430 | 1320
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1783833.3333
B |  | 0.00031158 | 0.00054349 | 0.00076633 | 0.034673 | 0.28265 | 0.64356 | 0.90367 | 0.92161 | 0.6856
C |  | 0.00030429 | 0.0027688 | 0.010903 | 0.038972 | 0.36472 | 0.7198 | 0.86723 | 0.78427 | 0.8549
D |  | 0.00044085 | 0.0028708 | 0.025512 | 0.25613 | 0.70242 | 0.76801 | 0.91152 | 1.0444 | 0.7568
E |  | 0.00038025 | 0.0019778 | 0.03109 | 0.2197 | 0.55392 | 0.73998 | 0.93338 | 0.8179 | 0.93506
F |  | 0.0015842 | 0.0097375 | 0.10466 | 0.25255 | 0.5662 | 0.85602 | 0.86555 | 0.92722 | 0.93675
G |  | 0.0037952 | 0.0090199 | 0.093787 | 0.28865 | 0.70298 | 0.91432 | 1.0236 | 1.0724 | 1.2215
H
Wavelength: 0 nm
V1P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 153.6 | 186.1 | 271.3 | 485 | 1812 | 3542 | 5091 | 6723 | 6665 | 5209 | 5316 | 1581
B | 110.8 | 3581 | 1511 | 3386 | 277400 | 732800 | 925200 | 1476000 | 1298000 | 1124000 | 1470000 | 5741
C | 61.74 | 1292 | 1808 | 17780 | 190600 | 779500 | 1233000 | 1455000 | 1389000 | 1445000 | 1423000 | 5866
D | 79.18 | 1393 | 4314 | 145400 | 535800 | 1054000 | 1370000 | 1600000 | 1475000 | 1248000 | 1603000 | 7658
E | 69.28 | 1645 | 9273 | 101900 | 491400 | 1016000 | 1020000 | 1565000 | 1538000 | 1378000 | 1608000 | 6940
F | 53.41 | 1496 | 12720 | 185300 | 409600 | 1051000 | 1260000 | 1368000 | 1321000 | 1416000 | 1363000 | 6068
G | 53.88 | 1524 | 6490 | 111500 | 591800 | 879200 | 1162000 | 1427000 | 1311000 | 1420000 | 1458000 | 4185
H | 39.23 | 65.02 | 158.9 | 655.9 | 2051 | 3152 | 3967 | 4718 | 4767 | 4633 | 4286 | 775.8
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1487500
B |  | 0.0024074 | 0.0010158 | 0.0022763 | 0.18649 | 0.49264 | 0.62198 | 0.99227 | 0.87261 | 0.75563
C |  | 0.00086857 | 0.0012155 | 0.011953 | 0.12813 | 0.52403 | 0.82891 | 0.97815 | 0.93378 | 0.97143
D |  | 0.00093647 | 0.0029002 | 0.097748 | 0.3602 | 0.70857 | 0.92101 | 1.0756 | 0.9916 | 0.83899
E |  | 0.0011059 | 0.0062339 | 0.068504 | 0.33035 | 0.68303 | 0.68571 | 1.0521 | 1.0339 | 0.92639
F |  | 0.0010057 | 0.0085513 | 0.12457 | 0.27536 | 0.70655 | 0.84706 | 0.91966 | 0.88807 | 0.95193
G |  | 0.0010245 | 0.004363 | 0.074958 | 0.39785 | 0.59106 | 0.78118 | 0.95933 | 0.88134 | 0.95462
H
Wavelength: 0 nm
V1P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 150.1 | 122.4 | 279.5 | 455.2 | 1555 | 2419 | 3878 | 4329 | 5287 | 4870 | 3839 | 828.7
B | 94.61 | 1896 | 1911 | 25470 | 223300 | 482900 | 894000 | 981600 | 1147000 | 1031000 | 1008000 | 3428
C | 85.19 | 1652 | 2112 | 12290 | 146000 | 714000 | 979100 | 885300 | 1298000 | 1194000 | 1006000 | 4257
D | 75.3 | 1508 | 9623 | 49960 | 453000 | 686200 | 961900 | 775600 | 1174000 | 957100 | 1108000 | 4752
E | 43.84 | 1812 | 5561 | 75700 | 478600 | 756400 | 1045000 | 791700 | 1181000 | 1117000 | 1196000 | 5189
F | 85.87 | 6923 | 2235 | 78060 | 244400 | 731500 | 1037000 | 753800 | 1153000 | 1059000 | 1210000 | 4843
G | 41.76 | 1771 | 2920 | 47920 | 293400 | 838800 | 839800 | 1111000 | 1374000 | 1202000 | 1193000 | 3797
H | 31 | 38.65 | 204.2 | 491.5 | 1738 | 3102 | 3685 | 4235 | 5109 | 4527 | 4546 | 671
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1120166.6667
B |  | 0.0016926 | 0.001706 | 0.022738 | 0.19935 | 0.4311 | 0.7981 | 0.8763 | 1.024 | 0.9204
C |  | 0.0014748 | 0.0018854 | 0.010972 | 0.13034 | 0.63741 | 0.87407 | 0.79033 | 1.1588 | 1.0659
D |  | 0.0013462 | 0.0085907 | 0.044601 | 0.4044 | 0.61259 | 0.85871 | 0.6924 | 1.0481 | 0.85443
E |  | 0.0016176 | 0.0049644 | 0.067579 | 0.42726 | 0.67526 | 0.9329 | 0.70677 | 1.0543 | 0.99717
F |  | 0.0061803 | 0.0019952 | 0.069686 | 0.21818 | 0.65303 | 0.92576 | 0.67294 | 1.0293 | 0.9454
G |  | 0.001581 | 0.0026068 | 0.042779 | 0.26193 | 0.74882 | 0.74971 | 0.99182 | 1.2266 | 1.0731
H
Wavelength: 0 nm
V1P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71.76 | 217.7 | 399.2 | 1255 | 2402 | 2748 | 4033 | 4180 | 4681 | 4124 | 2912 | 877.1
B | 90.34 | 1870 | 14820 | 150900 | 507600 | 533400 | 908800 | 715900 | 929600 | 738700 | 696300 | 2695
C | 66.61 | 1795 | 24550 | 201200 | 589300 | 825200 | 803700 | 825400 | 879000 | 997300 | 831900 | 3521
D | 147.3 | 10680 | 111800 | 400500 | 795700 | 867800 | 832200 | 913200 | 1052000 | 930700 | 658600 | 3324
E | 146.2 | 2531 | 81570 | 434500 | 574700 | 719600 | 927500 | 981100 | 940300 | 967700 | 727100 | 3246
F | 27.21 | 1860 | 4165 | 109200 | 230400 | 660400 | 713600 | 790400 | 726200 | 816000 | 736700 | 3123
G | 36.74 | 1767 | 9861 | 69760 | 312500 | 539900 | 802200 | 822200 | 976500 | 868500 | 802800 | 2339
H | 125.6 | 62.59 | 150.2 | 390.1 | 1480 | 2444 | 3218 | 3575 | 3899 | 3556 | 3416 | 508.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 742233.3333
B |  | 0.0025194 | 0.019967 | 0.20331 | 0.68388 | 0.71864 | 1.2244 | 0.96452 | 1.2524 | 0.99524
C |  | 0.0024184 | 0.033076 | 0.27107 | 0.79396 | 1.1118 | 1.0828 | 1.112 | 1.1843 | 1.3436
D |  | 0.014389 | 0.15063 | 0.53959 | 1.072 | 1.1692 | 1.1212 | 1.2303 | 1.4173 | 1.2539
E |  | 0.00341 | 0.1099 | 0.5854 | 0.77428 | 0.96951 | 1.2496 | 1.3218 | 1.2669 | 1.3038
F |  | 0.002506 | 0.0056114 | 0.14712 | 0.31041 | 0.88975 | 0.96142 | 1.0649 | 0.9784 | 1.0994
G |  | 0.0023807 | 0.013286 | 0.093987 | 0.42103 | 0.7274 | 1.0808 | 1.1077 | 1.3156 | 1.1701
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 24.10.17_RSVNeutEvoSeraRep2_V1P1-4.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 10/17/2024 1:53:00 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 10/17/2024 1:53:00 PM | Session 24.10.17_RSVNeutEvoSeraRep2_V1P1-4.skax started
| 10/17/2024 1:53:00 PM | Temperature | 22.2°C
| 10/17/2024 1:53:02 PM | Temperature | 22.2°C
| 10/17/2024 1:53:08 PM | User action | Please insert plate V1P4 (1/4)
| 10/17/2024 1:53:23 PM | Step Luminescence 1 started
| 10/17/2024 1:53:30 PM | Calibration | Luminometric 1.08342 23904
| 10/17/2024 1:54:02 PM | Temperature | 22.2°C
| 10/17/2024 1:55:02 PM | Temperature | 22.2°C
| 10/17/2024 1:55:31 PM | Step Luminescence 1 ended
| 10/17/2024 1:55:39 PM | User action | Please insert plate V1P3 (2/4)
| 10/17/2024 1:56:00 PM | Step Luminescence 1 started
| 10/17/2024 1:56:02 PM | Temperature | 22.2°C
| 10/17/2024 1:57:02 PM | Temperature | 22.3°C
| 10/17/2024 1:58:02 PM | Temperature | 22.3°C
| 10/17/2024 1:58:06 PM | Step Luminescence 1 ended
| 10/17/2024 1:58:14 PM | User action | Please insert plate V1P2 (3/4)
| 10/17/2024 1:58:37 PM | Step Luminescence 1 started
| 10/17/2024 1:59:02 PM | Temperature | 22.3°C
| 10/17/2024 2:00:02 PM | Temperature | 22.4°C
| 10/17/2024 2:00:42 PM | Step Luminescence 1 ended
| 10/17/2024 2:00:50 PM | User action | Please insert plate V1P1 (4/4)
| 10/17/2024 2:01:02 PM | Temperature | 22.4°C
| 10/17/2024 2:01:09 PM | Step Luminescence 1 started
| 10/17/2024 2:01:16 PM | Calibration | Luminometric 1.10125 70484
| 10/17/2024 2:02:02 PM | Temperature | 22.4°C
| 10/17/2024 2:03:02 PM | Temperature | 22.4°C
| 10/17/2024 2:03:17 PM | Step Luminescence 1 ended
| 10/17/2024 2:03:17 PM | Temperature | 22.5°C
| 10/17/2024 2:03:27 PM | Session 24.10.17_RSVNeutEvoSeraRep2_V1P1-4.skax ended

## Layout definitions
Name | V1P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | V1P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H