## Luminescence 1_01
Measurement results
24.10.17_RSVNeutEvoSeraRep2_V2P5-8.skax
10/17/2024 2:54:47 PM
Luminescence 1
Wavelength: 0 nm
V2P5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 123.8 | 96.27 | 226.1 | 381.7 | 721.9 | 2420 | 4143 | 6416 | 7705 | 8075 | 6711 | 1757
B | 133.7 | 594.3 | 966.8 | 1062 | 23490 | 393800 | 796700 | 1274000 | 1582000 | 1967000 | 2098000 | 7291
C | 93.69 | 629.9 | 2962 | 2009 | 15380 | 409100 | 853800 | 1206000 | 1653000 | 1453000 | 2240000 | 8085
D | 92.94 | 828.5 | 13020 | 217000 | 689400 | 1205000 | 1260000 | 1694000 | 1741000 | 1847000 | 1725000 | 7653
E | 111.8 | 962 | 42710 | 239300 | 769500 | 1478000 | 1281000 | 1689000 | 2153000 | 2194000 | 2037000 | 7495
F | 125 | 703.4 | 8724 | 311400 | 771900 | 1594000 | 1561000 | 2099000 | 1877000 | 1863000 | 1925000 | 6862
G | 87.45 | 662.3 | 74220 | 174900 | 814200 | 1570000 | 1581000 | 1871000 | 2372000 | 2377000 | 1653000 | 4182
H | 62.85 | 112 | 511.2 | 965.1 | 3487 | 5454 | 6202 | 7531 | 8790 | 8263 | 5858 | 932.8
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1946333.3333
B |  | 0.00030534 | 0.00049673 | 0.00054564 | 0.012069 | 0.20233 | 0.40933 | 0.65456 | 0.81281 | 1.0106
C |  | 0.00032363 | 0.0015218 | 0.0010322 | 0.007902 | 0.21019 | 0.43867 | 0.61963 | 0.84929 | 0.74653
D |  | 0.00042567 | 0.0066895 | 0.11149 | 0.3542 | 0.61911 | 0.64737 | 0.87035 | 0.8945 | 0.94896
E |  | 0.00049426 | 0.021944 | 0.12295 | 0.39536 | 0.75938 | 0.65816 | 0.86779 | 1.1062 | 1.1272
F |  | 0.0003614 | 0.0044823 | 0.15999 | 0.39659 | 0.81898 | 0.80202 | 1.0784 | 0.96438 | 0.95718
G |  | 0.00034028 | 0.038133 | 0.089861 | 0.41833 | 0.80664 | 0.8123 | 0.96129 | 1.2187 | 1.2213
H
Wavelength: 0 nm
V2P6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 52.74 | 158.6 | 249.4 | 419.1 | 809.5 | 3061 | 6060 | 7920 | 7997 | 7961 | 7087 | 2004
B | 79.12 | 713.1 | 909.2 | 17120 | 7501 | 459800 | 1144000 | 1787000 | 1655000 | 1843000 | 1706000 | 7244
C | 60.19 | 715.1 | 1477 | 3825 | 116800 | 416200 | 1080000 | 1447000 | 1809000 | 1851000 | 2058000 | 8265
D | 170.7 | 800.8 | 19310 | 548800 | 1305000 | 1487000 | 1753000 | 1914000 | 1999000 | 1751000 | 1838000 | 7678
E | 145.1 | 760.3 | 17710 | 461400 | 1410000 | 1763000 | 1669000 | 1929000 | 2054000 | 1878000 | 2112000 | 7769
F | 96.16 | 385.3 | 2153 | 211300 | 1020000 | 1346000 | 1884000 | 1896000 | 1629000 | 2237000 | 1867000 | 7071
G | 119.7 | 145.3 | 1456 | 76000 | 989900 | 1771000 | 1866000 | 2083000 | 1649000 | 1997000 | 2123000 | 5547
H | 42.08 | 120.4 | 321.7 | 866.6 | 4262 | 6474 | 7241 | 8559 | 6745 | 7702 | 7528 | 1071
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1950666.6667
B |  | 0.00036557 | 0.0004661 | 0.0087765 | 0.0038454 | 0.23571 | 0.58647 | 0.9161 | 0.84843 | 0.94481
C |  | 0.00036659 | 0.00075718 | 0.0019609 | 0.059877 | 0.21336 | 0.55366 | 0.7418 | 0.92738 | 0.94891
D |  | 0.00041053 | 0.0098992 | 0.28134 | 0.669 | 0.7623 | 0.89867 | 0.9812 | 1.0248 | 0.89764
E |  | 0.00038976 | 0.0090789 | 0.23653 | 0.72283 | 0.90379 | 0.8556 | 0.98889 | 1.053 | 0.96275
F |  | 0.00019752 | 0.0011037 | 0.10832 | 0.5229 | 0.69002 | 0.96582 | 0.97198 | 0.8351 | 1.1468
G |  | 7.4487e-05 | 0.00074641 | 0.038961 | 0.50747 | 0.90789 | 0.9566 | 1.0678 | 0.84535 | 1.0238
H
Wavelength: 0 nm
V2P7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1806 | 7608 | 8982 | 9305 | 8589 | 9026 | 9396 | 8082 | 7083 | 6830 | 6386 | 1891
B | 5846 | 1998000 | 1950000 | 2245000 | 1736000 | 1882000 | 2025000 | 1662000 | 1458000 | 1495000 | 1865000 | 6722
C | 5901 | 1923000 | 2014000 | 1894000 | 2034000 | 1282000 | 1933000 | 1570000 | 1956000 | 1612000 | 2166000 | 8302
D | 1560 | 7423 | 9123 | 8933 | 49190 | 131200 | 632200 | 1066000 | 1509000 | 1295000 | 1721000 | 7050
E | 409.3 | 1182 | 1369 | 2032 | 7526 | 104300 | 803200 | 1292000 | 1624000 | 1513000 | 1644000 | 6836
F | 109.2 | 820.8 | 1218 | 24040 | 289300 | 439700 | 1264000 | 1408000 | 1864000 | 1778000 | 1791000 | 6667
G | 78.32 | 6193 | 20630 | 13120 | 215000 | 694500 | 1202000 | 1463000 | 1854000 | 1665000 | 1665000 | 5283
H | 31.89 | 143.2 | 194.7 | 323.7 | 1309 | 3447 | 4457 | 6206 | 6461 | 6328 | 5633 | 826.1
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1808666.6667
B |  | 1.1047 | 1.0781 | 1.2412 | 0.95982 | 1.0405 | 1.1196 | 0.91891 | 0.80612 | 0.82658
C |  | 1.0632 | 1.1135 | 1.0472 | 1.1246 | 0.70881 | 1.0687 | 0.86804 | 1.0815 | 0.89126
D |  | 0.0041041 | 0.005044 | 0.004939 | 0.027197 | 0.07254 | 0.34954 | 0.58938 | 0.83432 | 0.716
E |  | 0.00065352 | 0.00075691 | 0.0011235 | 0.0041611 | 0.057667 | 0.44408 | 0.71434 | 0.8979 | 0.83653
F |  | 0.00045381 | 0.00067342 | 0.013292 | 0.15995 | 0.24311 | 0.69886 | 0.77847 | 1.0306 | 0.98304
G |  | 0.0034241 | 0.011406 | 0.007254 | 0.11887 | 0.38398 | 0.66458 | 0.80888 | 1.0251 | 0.92057
H

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 24.10.17_RSVNeutEvoSeraRep2_V2P5-8.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 10/17/2024 2:54:47 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 10/17/2024 2:54:47 PM | Session 24.10.17_RSVNeutEvoSeraRep2_V2P5-8.skax started
| 10/17/2024 2:54:47 PM | Temperature | 23.7°C
| 10/17/2024 2:54:55 PM | User action | Please insert plate V2P5 (1/4)
| 10/17/2024 2:55:02 PM | Temperature | 23.7°C
| 10/17/2024 2:55:12 PM | Step Luminescence 1 started
| 10/17/2024 2:55:20 PM | Calibration | Luminometric 1.13817 394821
| 10/17/2024 2:56:02 PM | Temperature | 23.8°C
| 10/17/2024 2:57:02 PM | Temperature | 23.8°C
| 10/17/2024 2:57:20 PM | Step Luminescence 1 ended
| 10/17/2024 2:57:28 PM | User action | Please insert plate V2P6 (2/4)
| 10/17/2024 2:57:52 PM | Step Luminescence 1 started
| 10/17/2024 2:58:02 PM | Temperature | 23.8°C
| 10/17/2024 2:59:02 PM | Temperature | 23.9°C
| 10/17/2024 2:59:58 PM | Step Luminescence 1 ended
| 10/17/2024 3:00:02 PM | Temperature | 23.9°C
| 10/17/2024 3:00:06 PM | User action | Please insert plate V2P7 (3/4)
| 10/17/2024 3:00:42 PM | Step Luminescence 1 started
| 10/17/2024 3:01:02 PM | Temperature | 23.9°C
| 10/17/2024 3:02:02 PM | Temperature | 23.9°C
| 10/17/2024 3:02:48 PM | Step Luminescence 1 ended
| 10/17/2024 3:02:56 PM | User action | Please insert plate V2P8 (4/4)
| 10/17/2024 3:03:02 PM | Temperature | 23.9°C
| 10/17/2024 3:03:16 PM | Step Luminescence 1 started
| 10/17/2024 3:03:24 PM | Calibration | Luminometric 1.13792 443221
| 10/17/2024 3:04:02 PM | Temperature | 23.9°C
| 10/17/2024 3:05:02 PM | Temperature | 23.9°C
| 10/17/2024 3:05:24 PM | Step Luminescence 1 ended
| 10/17/2024 3:05:24 PM | Temperature | 23.9°C
| 10/17/2024 3:05:35 PM | Session 24.10.17_RSVNeutEvoSeraRep2_V2P5-8.skax ended

## Layout definitions
Name | V2P5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P8
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H