## Luminescence 1_01
Measurement results
24.10.17_RSVNeutEvoSeraRep2_V4P1-4.skax
10/17/2024 3:06:15 PM
Luminescence 1
Wavelength: 0 nm
V4P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 458.1 | 1085 | 2809 | 5382 | 7768 | 9770 | 10650 | 10880 | 11380 | 10810 | 9791 | 2601
B | 741.2 | 120600 | 405300 | 1105000 | 1688000 | 1960000 | 2048000 | 2251000 | 2082000 | 2267000 | 2749000 | 8599
C | 645.2 | 61100 | 473200 | 1108000 | 1565000 | 1664000 | 2441000 | 2284000 | 2109000 | 2274000 | 2164000 | 9657
D | 303.1 | 19520 | 37620 | 387400 | 1305000 | 1803000 | 1910000 | 2083000 | 2217000 | 2126000 | 2747000 | 10700
E | 211.3 | 3322 | 163700 | 367300 | 943100 | 1873000 | 2105000 | 1912000 | 2086000 | 2216000 | 2223000 | 9546
F | 197.2 | 1966 | 71810 | 383800 | 873500 | 1473000 | 1763000 | 1854000 | 1731000 | 2083000 | 2405000 | 8899
G | 173.8 | 5296 | 24940 | 605300 | 719800 | 1539000 | 1992000 | 2183000 | 2086000 | 2066000 | 2056000 | 5831
H | 69.14 | 193.8 | 869.6 | 2429 | 3952 | 6121 | 6818 | 9151 | 7956 | 8815 | 7998 | 1194
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2390666.6667
B |  | 0.050446 | 0.16953 | 0.46221 | 0.70608 | 0.81985 | 0.85666 | 0.94158 | 0.87089 | 0.94827
C |  | 0.025558 | 0.19794 | 0.46347 | 0.65463 | 0.69604 | 1.0211 | 0.95538 | 0.88218 | 0.9512
D |  | 0.0081651 | 0.015736 | 0.16205 | 0.54587 | 0.75418 | 0.79894 | 0.87131 | 0.92736 | 0.88929
E |  | 0.0013896 | 0.068475 | 0.15364 | 0.39449 | 0.78346 | 0.88051 | 0.79978 | 0.87256 | 0.92694
F |  | 0.00082236 | 0.030038 | 0.16054 | 0.36538 | 0.61615 | 0.73745 | 0.77552 | 0.72407 | 0.87131
G |  | 0.0022153 | 0.010432 | 0.25319 | 0.30109 | 0.64375 | 0.83324 | 0.91313 | 0.87256 | 0.86419
H
Wavelength: 0 nm
V4P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 160.7 | 219.7 | 593.2 | 1933 | 4983 | 8721 | 11220 | 12570 | 14050 | 12600 | 8667 | 2152
B | 179.9 | 1999 | 40720 | 235700 | 955800 | 1637000 | 2469000 | 2446000 | 2918000 | 2826000 | 2456000 | 8590
C | 202.3 | 6976 | 20210 | 133700 | 650200 | 1574000 | 2108000 | 1980000 | 2408000 | 2316000 | 2881000 | 11370
D | 111 | 1939 | 9986 | 142400 | 402600 | 994300 | 1513000 | 2033000 | 2126000 | 1863000 | 2555000 | 10660
E | 129.7 | 1863 | 62870 | 108400 | 456900 | 834800 | 1494000 | 1823000 | 2409000 | 2335000 | 2343000 | 10620
F | 116.5 | 1737 | 35630 | 195900 | 697800 | 1395000 | 1557000 | 1839000 | 2302000 | 2087000 | 2862000 | 10380
G | 81.36 | 1949 | 15740 | 343400 | 652900 | 1491000 | 2090000 | 2242000 | 2387000 | 2703000 | 2393000 | 6847
H | 53.3 | 133.2 | 520.8 | 1386 | 3486 | 6597 | 8653 | 9909 | 10330 | 10870 | 9760 | 1387
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2581666.6667
B |  | 0.00077431 | 0.015773 | 0.091298 | 0.37023 | 0.63409 | 0.95636 | 0.94745 | 1.1303 | 1.0946
C |  | 0.0027021 | 0.0078283 | 0.051788 | 0.25185 | 0.60968 | 0.81653 | 0.76695 | 0.93273 | 0.89709
D |  | 0.00075107 | 0.003868 | 0.055158 | 0.15595 | 0.38514 | 0.58606 | 0.78748 | 0.8235 | 0.72163
E |  | 0.00072163 | 0.024352 | 0.041988 | 0.17698 | 0.32336 | 0.5787 | 0.70613 | 0.93312 | 0.90445
F |  | 0.00067282 | 0.013801 | 0.075881 | 0.27029 | 0.54035 | 0.6031 | 0.71233 | 0.89167 | 0.80839
G |  | 0.00075494 | 0.0060968 | 0.13301 | 0.2529 | 0.57753 | 0.80955 | 0.86843 | 0.9246 | 1.047
H
Wavelength: 0 nm
V4P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 110.7 | 83.21 | 186 | 414.6 | 1122 | 4115 | 7051 | 7964 | 12100 | 15040 | 12400 | 3478
B | 95.54 | 1591 | 1810 | 4910 | 54650 | 758100 | 1551000 | 1805000 | 2293000 | 2950000 | 2752000 | 10810
C | 97.9 | 1739 | 2105 | 19260 | 47300 | 534000 | 1390000 | 1768000 | 2344000 | 2312000 | 2722000 | 11670
D | 161.3 | 28880 | 14240 | 50010 | 366600 | 1201000 | 1870000 | 1435000 | 1957000 | 2110000 | 2681000 | 11950
E | 139.2 | 5612 | 23880 | 99910 | 510500 | 850800 | 1716000 | 1999000 | 1869000 | 2195000 | 2674000 | 12350
F | 65.85 | 1832 | 5537 | 35590 | 253900 | 737700 | 1479000 | 1999000 | 2075000 | 2515000 | 2747000 | 11060
G | 88.91 | 1621 | 3208 | 9189 | 305500 | 1118000 | 1552000 | 2172000 | 2703000 | 2488000 | 2547000 | 7601
H | 40.55 | 119.7 | 221.9 | 314.4 | 1921 | 5117 | 6195 | 9689 | 10470 | 10430 | 9676 | 1294
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2687166.6667
B |  | 0.00059207 | 0.00067357 | 0.0018272 | 0.020337 | 0.28212 | 0.57719 | 0.67171 | 0.85332 | 1.0978
C |  | 0.00064715 | 0.00078335 | 0.0071674 | 0.017602 | 0.19872 | 0.51727 | 0.65794 | 0.87229 | 0.86039
D |  | 0.010747 | 0.0052993 | 0.018611 | 0.13643 | 0.44694 | 0.6959 | 0.53402 | 0.72828 | 0.78521
E |  | 0.0020884 | 0.0088867 | 0.03718 | 0.18998 | 0.31662 | 0.63859 | 0.74391 | 0.69553 | 0.81685
F |  | 0.00068176 | 0.0020605 | 0.013244 | 0.094486 | 0.27453 | 0.55039 | 0.74391 | 0.77219 | 0.93593
G |  | 0.00060324 | 0.0011938 | 0.0034196 | 0.11369 | 0.41605 | 0.57756 | 0.80829 | 1.0059 | 0.92588
H
Wavelength: 0 nm
V4P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 124.4 | 148.5 | 260.7 | 1064 | 2542 | 5611 | 9571 | 9624 | 12720 | 13300 | 11830 | 2802
B | 123.3 | 1756 | 5969 | 88940 | 299500 | 949800 | 1998000 | 2015000 | 2648000 | 2545000 | 2928000 | 10300
C | 83.71 | 1687 | 2262 | 39760 | 253800 | 1025000 | 1662000 | 2339000 | 2389000 | 2706000 | 2621000 | 11570
D | 83.6 | 1374 | 5312 | 66430 | 330200 | 804200 | 1370000 | 2056000 | 1860000 | 2380000 | 2884000 | 11500
E | 97.23 | 11440 | 26160 | 36960 | 226000 | 838300 | 1469000 | 1989000 | 1813000 | 2315000 | 2672000 | 10860
F | 82.85 | 1718 | 3724 | 13980 | 399800 | 1046000 | 1665000 | 2175000 | 2109000 | 2165000 | 2394000 | 9255
G | 32.16 | 1692 | 6748 | 32920 | 302700 | 1232000 | 2140000 | 2277000 | 2755000 | 2224000 | 2638000 | 7064
H | 52.43 | 61.69 | 176.5 | 407.9 | 2084 | 5557 | 8179 | 10100 | 10910 | 9962 | 9995 | 1549
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2689500
B |  | 0.00065291 | 0.0022194 | 0.033069 | 0.11136 | 0.35315 | 0.74289 | 0.74921 | 0.98457 | 0.94627
C |  | 0.00062725 | 0.00084105 | 0.014783 | 0.094367 | 0.38111 | 0.61796 | 0.86968 | 0.88827 | 1.0061
D |  | 0.00051088 | 0.0019751 | 0.0247 | 0.12277 | 0.29901 | 0.50939 | 0.76445 | 0.69158 | 0.88492
E |  | 0.0042536 | 0.0097267 | 0.013742 | 0.08403 | 0.31169 | 0.5462 | 0.73954 | 0.6741 | 0.86075
F |  | 0.00063878 | 0.0013846 | 0.005198 | 0.14865 | 0.38892 | 0.61907 | 0.8087 | 0.78416 | 0.80498
G |  | 0.00062911 | 0.002509 | 0.01224 | 0.11255 | 0.45808 | 0.79569 | 0.84663 | 1.0244 | 0.82692
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 24.10.17_RSVNeutEvoSeraRep2_V4P1-4.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 10/17/2024 3:06:15 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 10/17/2024 3:06:15 PM | Session 24.10.17_RSVNeutEvoSeraRep2_V4P1-4.skax started
| 10/17/2024 3:06:15 PM | Temperature | 23.9°C
| 10/17/2024 3:06:23 PM | User action | Please insert plate V4P1 (1/4)
| 10/17/2024 3:06:37 PM | Step Luminescence 1 started
| 10/17/2024 3:07:02 PM | Temperature | 23.9°C
| 10/17/2024 3:08:02 PM | Temperature | 24.0°C
| 10/17/2024 3:08:43 PM | Step Luminescence 1 ended
| 10/17/2024 3:08:51 PM | User action | Please insert plate V4P2 (2/4)
| 10/17/2024 3:09:02 PM | Temperature | 24.0°C
| 10/17/2024 3:09:11 PM | Step Luminescence 1 started
| 10/17/2024 3:10:02 PM | Temperature | 24.0°C
| 10/17/2024 3:11:02 PM | Temperature | 24.0°C
| 10/17/2024 3:11:17 PM | Step Luminescence 1 ended
| 10/17/2024 3:11:25 PM | User action | Please insert plate V4P3 (3/4)
| 10/17/2024 3:11:46 PM | Step Luminescence 1 started
| 10/17/2024 3:11:53 PM | Calibration | Luminometric 1.14282 494142
| 10/17/2024 3:12:02 PM | Temperature | 24.0°C
| 10/17/2024 3:13:02 PM | Temperature | 24.1°C
| 10/17/2024 3:13:53 PM | Step Luminescence 1 ended
| 10/17/2024 3:14:02 PM | User action | Please insert plate V4P4 (4/4)
| 10/17/2024 3:14:02 PM | Temperature | 24.1°C
| 10/17/2024 3:14:21 PM | Step Luminescence 1 started
| 10/17/2024 3:15:02 PM | Temperature | 24.1°C
| 10/17/2024 3:16:02 PM | Temperature | 24.1°C
| 10/17/2024 3:16:26 PM | Step Luminescence 1 ended
| 10/17/2024 3:16:26 PM | Temperature | 24.1°C
| 10/17/2024 3:16:37 PM | Session 24.10.17_RSVNeutEvoSeraRep2_V4P1-4.skax ended

## Layout definitions
Name | V4P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H