## Luminescence 1_01
Measurement results
2024.11.01_Cells.skax
11/1/2024 2:45:05 PM
Wavelength: 0 nm
TIM1 Long
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 27.31 | 47.45 | 42.07 | 71.49 | 50.85 | 151.5 | 385.2 | 911.8 | 1826 | 2366 | 2647 | 727.3
B | 1.546 | 33.14 | 87.74 | 122.6 | 173 | 314.6 | 21140 | 112400 | 404800 | 547200 | 758700 | 2572
C | 24.98 | 51.07 | 77.44 | 115.8 | 245 | 25100 | 31510 | 169400 | 430800 | 467800 | 653700 | 2572
D | 28.73 | 61.35 | 50.66 | 818.2 | 466.7 | 80700 | 240800 | 428300 | 479700 | 521900 | 594800 | 2568
E | 33.05 | 39.25 | 81.98 | 140.6 | 453.1 | 46630 | 204300 | 487700 | 450600 | 539600 | 575800 | 2516
F | 10.91 | 44.17 | 96.48 | 71.89 | 457.3 | 52110 | 338900 | 367000 | 563100 | 370800 | 588000 | 3020
G | 11.49 | 32.97 | 74.88 | 110.2 | 518.9 | 121500 | 221100 | 469100 | 686300 | 629700 | 587500 | 2276
H | 36.16 | 7.542 | 32.13 | 50 | 109.2 | 565.3 | 1102 | 1836 | 2775 | 2417 | 2345 | 383.9
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
293T Long
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 44.75 | 70.87 | 51 | 56.14 | 57.42 | 78.92 | 150.7 | 189.5 | 279.9 | 366.2 | 374.7 | 114.6
B | 26.74 | 70.3 | 42.71 | 77.31 | 47.95 | 74.34 | 3341 | 45940 | 72410 | 110500 | 99440 | 342.3
C | 19.25 | 36.23 | 63.58 | 57.8 | 106.3 | 181.7 | 5143 | 16490 | 66370 | 43970 | 95540 | 380.4
D | 32.82 | 46.77 | 66.59 | 68.9 | 202.8 | 27810 | 29830 | 136500 | 96100 | 109500 | 100000 | 422
E | 60.34 | 62.91 | 52.21 | 67.95 | 6931 | 4081 | 52860 | 56150 | 59780 | 104400 | 60730 | 228
F | 4.346 | 79.75 | 86.03 | 87.95 | 130.6 | 5804 | 48710 | 69430 | 59950 | 57720 | 94280 | 420.1
G | 23.02 | 50.02 | 88.67 | 85.76 | 79.14 | 3120 | 65280 | 77880 | 70670 | 69540 | 102900 | 293
H | 29.6 | 45.24 | 44.71 | 73.64 | 36.97 | 90.09 | 265.8 | 308.6 | 271.2 | 372.4 | 338.3 | 64.78
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
TIM1 A2020
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 90.34 | 61.91 | 68.55 | 139.6 | 341.3 | 979.1 | 1767 | 2872 | 3244 | 3631 | 3312 | 898.5
B | 92.08 | 1073 | 1057 | 1202 | 2101 | 225600 | 304900 | 778900 | 792500 | 895900 | 1101000 | 3804
C | 45.54 | 957.3 | 1320 | 1480 | 44210 | 206900 | 447000 | 849400 | 855300 | 1078000 | 996600 | 4424
D | 89.23 | 1437 | 1376 | 1583 | 172100 | 569600 | 739600 | 950200 | 901000 | 1083000 | 1081000 | 5152
E | 2273 | 1544 | 1484 | 1718 | 148200 | 471000 | 766000 | 828300 | 1032000 | 1152000 | 1087000 | 7709
F | 85.78 | 3819 | 1166 | 1367 | 36420 | 380300 | 873800 | 941800 | 1008000 | 993800 | 1032000 | 5949
G | 45.42 | 1882 | 996.5 | 9832 | 51390 | 354100 | 759900 | 887900 | 848600 | 942000 | 1146000 | 3491
H | 12.66 | 60.83 | 95.4 | 145.1 | 448.9 | 1534 | 3059 | 3507 | 3412 | 3637 | 3682 | 587.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
293T A2020
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 23.27 | 43.31 | 66.72 | 54.47 | 90.01 | 223.6 | 411.8 | 447.9 | 465.2 | 733.2 | 628.9 | 144.5
B | 89.56 | 1218 | 3870 | 1078 | 1298 | 39430 | 101200 | 69560 | 80200 | 183900 | 148700 | 618
C | 68.15 | 1273 | 1185 | 1088 | 5845 | 38150 | 96610 | 128300 | 145700 | 182400 | 155700 | 792.2
D | 56.67 | 1721 | 1307 | 1765 | 9923 | 88480 | 108600 | 162600 | 155000 | 163100 | 187300 | 914.7
E | 30.48 | 2056 | 1181 | 1301 | 27350 | 74280 | 55010 | 213400 | 143500 | 74730 | 167700 | 849.3
F | 66.62 | 1146 | 1385 | 1381 | 6737 | 43360 | 136600 | 143700 | 224900 | 187300 | 146600 | 806.7
G | 88.18 | 1161 | 1282 | 2793 | 1620 | 70470 | 129300 | 184900 | 174000 | 119100 | 230100 | 708.6
H | 28.79 | 63.66 | 34.77 | 36.23 | 109.4 | 315.1 | 507.5 | 694.7 | 686.9 | 656.4 | 721.1 | 134.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Autoloading range A1 - M153

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.11.01_Cells.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 11/1/2024 2:45:05 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 11/1/2024 2:45:05 PM | Session 2024.11.01_Cells.skax started
| 11/1/2024 2:45:05 PM | Temperature | 24.0°C
| 11/1/2024 2:45:05 PM | Temperature | 24.0°C
| 11/1/2024 2:45:13 PM | User action | Please insert plate TIM1 B2024 (1/6)
| 11/1/2024 2:45:30 PM | Step Luminescence 1 started
| 11/1/2024 2:45:38 PM | Calibration | Luminometric 1.13838 351726
| 11/1/2024 2:46:05 PM | Temperature | 24.0°C
| 11/1/2024 2:47:05 PM | Temperature | 24.0°C
| 11/1/2024 2:47:38 PM | Step Luminescence 1 ended
| 11/1/2024 2:47:46 PM | User action | Please insert plate 293T B2024 (2/6)
| 11/1/2024 2:48:03 PM | Step Luminescence 1 started
| 11/1/2024 2:48:05 PM | Temperature | 24.1°C
| 11/1/2024 2:49:05 PM | Temperature | 24.1°C
| 11/1/2024 2:50:05 PM | Temperature | 24.1°C
| 11/1/2024 2:50:09 PM | Step Luminescence 1 ended
| 11/1/2024 2:50:17 PM | User action | Please insert plate TIM1 Long (3/6)
| 11/1/2024 2:50:50 PM | Step Luminescence 1 started
| 11/1/2024 2:51:05 PM | Temperature | 24.1°C
| 11/1/2024 2:52:05 PM | Temperature | 24.2°C
| 11/1/2024 2:52:56 PM | Step Luminescence 1 ended
| 11/1/2024 2:53:04 PM | User action | Please insert plate 293T Long (4/6)
| 11/1/2024 2:53:05 PM | Temperature | 24.2°C
| 11/1/2024 2:53:31 PM | Step Luminescence 1 started
| 11/1/2024 2:53:39 PM | Calibration | Luminometric 1.14195 399826
| 11/1/2024 2:54:05 PM | Temperature | 24.2°C
| 11/1/2024 2:55:05 PM | Temperature | 24.2°C
| 11/1/2024 2:55:39 PM | Step Luminescence 1 ended
| 11/1/2024 2:55:47 PM | User action | Please insert plate TIM1 A2020 (5/6)
| 11/1/2024 2:56:05 PM | Temperature | 24.2°C
| 11/1/2024 2:56:17 PM | Step Luminescence 1 started
| 11/1/2024 2:57:05 PM | Temperature | 24.2°C
| 11/1/2024 2:58:05 PM | Temperature | 24.3°C
| 11/1/2024 2:58:23 PM | Step Luminescence 1 ended
| 11/1/2024 2:58:31 PM | User action | Please insert plate 293T A2020 (6/6)
| 11/1/2024 2:58:59 PM | Step Luminescence 1 started
| 11/1/2024 2:59:05 PM | Temperature | 24.2°C
| 11/1/2024 3:00:05 PM | Temperature | 24.3°C
| 11/1/2024 3:01:05 PM | Step Luminescence 1 ended
| 11/1/2024 3:01:05 PM | Temperature | 24.2°C
| 11/1/2024 3:01:05 PM | Temperature | 24.2°C
| 11/1/2024 3:01:16 PM | Session 2024.11.01_Cells.skax ended

## Layout definitions
Name | TIM1 B2024
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | 293T B2024
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | TIM1 Long
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | 293T Long
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | TIM1 A2020
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | 293T A2020
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H