## Absorbance 1_01
Measurement results
2024.11.11_ELISAs.skax
11/11/2024 4:27:54 PM
Absorbance 1
Wavelength: 450 nm
***A is over the limit of detection on the plate reader on the G plate therefore, will not use the first dilution for any of them
G Depeleted Sera
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4.0557 | 4.1531 | 3.9489 | 4.0227 | 3.9939 | 4.1397 | 4.0229 | 4.0398 | 4.1457 | 4.0713 | 1.2813 | 1.4467
B | 3.6602 | 3.457 | 3.5447 | 3.4573 | 3.3626 | 3.4703 | 3.6401 | 3.4334 | 3.3266 | 3.328 | 0.8072 | 0.863
C | 2.7645 | 2.7585 | 2.7419 | 2.6626 | 2.7542 | 2.735 | 2.6455 | 2.6557 | 2.4677 | 2.6558 | 0.4216 | 0.5172
D | 1.7358 | 1.5243 | 1.6391 | 1.6479 | 1.4708 | 1.5438 | 1.3809 | 1.4086 | 1.3949 | 1.4352 | 0.2244 | 0.2552
E | 0.7342 | 0.7377 | 0.7206 | 0.6556 | 0.7147 | 0.6381 | 1.6696 | 0.6301 | 0.6267 | 0.6177 | 0.1145 | 0.1345
F | 0.3431 | 0.3128 | 0.3283 | 0.344 | 0.2967 | 0.2912 | 0.2784 | 0.2684 | 0.2422 | 0.2625 | 0.0688 | 0.0706
G | 0.1512 | 0.14 | 0.1341 | 0.1319 | 0.1424 | 0.1574 | 0.1432 | 0.1154 | 0.1144 | 0.1536 | 0.0586 | 0.0529
H | 0.0714 | 0.0792 | 0.0785 | 0.1026 | 0.1516 | 0.0874 | 0.107 | 0.072 | 0.065 | 0.0694 | 0.0483 | 0.0493
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 450 nm
G Clin
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3.7486 | 3.3446 | 1.1993 | 1.2493 | 3.3147 | 3.3136 | 0.6241 | 0.6468 | 3.6655 | 3.8665 | 2.3775 | 2.2878
B | 3.2984 | 3.316 | 0.7813 | 0.7187 | 2.5306 | 2.7081 | 0.3063 | 0.3236 | 3.4242 | 3.13 | 1.5359 | 1.7014
C | 2.6298 | 2.5273 | 0.4309 | 0.4409 | 1.6716 | 1.7911 | 0.1576 | 0.1572 | 2.8321 | 2.9097 | 0.9248 | 0.9882
D | 1.9111 | 1.8139 | 0.2324 | 0.2465 | 0.8434 | 0.7999 | 0.0886 | 0.0934 | 2.1986 | 2.0595 | 0.4427 | 0.5082
E | 0.9709 | 0.8604 | 0.1463 | 0.2532 | 0.3935 | 0.4264 | 0.0665 | 0.0631 | 1.118 | 1.0635 | 0.2019 | 0.2062
F | 0.4182 | 0.4274 | 0.1057 | 0.0829 | 0.1611 | 0.1562 | 0.056 | 0.0562 | 0.4834 | 0.4469 | 0.0987 | 0.1064
G | 0.1776 | 0.2464 | 0.0839 | 0.0623 | 0.1663 | 0.1299 | 0.0503 | 0.051 | 0.2073 | 0.1903 | 0.0684 | 0.0643
H | 0.0915 | 0.1856 | 0.0892 | 0.1108 | 0.1864 | 0.1635 | 0.1014 | 0.1173 | 0.0888 | 0.0991 | 0.045 | 0.0535
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 450 nm
Pre F depleted
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.8187 | 3.1548 | 2.9934 | 3.114 | 0.6438 | 0.5612 | 0.4979 | 0.5236 | 0.4839 | 0.3764 | 2.6036 | 2.6959
B | 2.4055 | 2.5276 | 2.3072 | 2.5024 | 0.2543 | 0.2663 | 0.2642 | 0.2517 | 0.1801 | 0.1857 | 1.9429 | 2.2315
C | 1.8033 | 1.9235 | 1.7281 | 1.7927 | 0.1377 | 0.1237 | 0.146 | 0.2014 | 0.1212 | 0.1055 | 1.5002 | 1.2085
D | 1.4679 | 1.3415 | 1.3265 | 1.2318 | 0.0878 | 0.132 | 0.0883 | 0.0811 | 0.0643 | 0.0716 | 0.7703 | 0.6455
E | 0.8427 | 0.8832 | 0.709 | 0.8121 | 0.0628 | 0.0691 | 0.1713 | 0.1689 | 0.0892 | 0.0637 | 0.537 | 0.6129
F | 0.414 | 0.4572 | 0.5331 | 0.4004 | 0.1336 | 0.0584 | 0.124 | 0.2576 | 0.0708 | 0.2879 | 0.2021 | 0.1681
G | 0.2396 | 0.2003 | 0.1881 | 0.2121 | 0.145 | 0.0531 | 0.099 | 0.1352 | 0.0571 | 0.1022 | 0.1275 | 0.1043
H | 0.8397 | 0.1333 | 0.0968 | 0.103 | 0.1843 | 0.1022 | 0.1111 | 0.0662 | 0.0477 | 0.1097 | 0.1683 | 0.3337
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 450 nm
All F depleted
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3.6057 | 3.9393 | 3.7327 | 3.6285 | 0.8063 | 0.799 | 1.3547 | 1.3411 | 0.6836 | 0.6317 | 3.6144 | 3.5711
B | 3.5005 | 3.7715 | 3.5824 | 3.6687 | 0.4892 | 0.3658 | 0.6394 | 0.6495 | 0.2559 | 0.2856 | 3.4604 | 3.2184
C | 3.0793 | 3.0878 | 2.9321 | 3.0714 | 0.188 | 0.1897 | 0.3234 | 0.2746 | 0.1556 | 0.1265 | 2.5983 | 2.731
D | 2.5099 | 2.4433 | 2.3968 | 2.3975 | 0.1028 | 0.1044 | 0.1332 | 0.124 | 0.0767 | 0.0861 | 2.0364 | 2.2372
E | 1.6144 | 1.5393 | 1.4958 | 1.4512 | 0.0704 | 0.0701 | 0.0932 | 0.0848 | 0.0736 | 0.0618 | 1.268 | 1.3033
F | 0.7018 | 0.6516 | 0.7138 | 0.7201 | 0.0599 | 0.0591 | 0.0637 | 0.066 | 0.0639 | 0.0578 | 0.5617 | 0.5161
G | 0.3076 | 0.2957 | 0.3022 | 0.2863 | 0.0591 | 0.0536 | 0.062 | 0.0568 | 0.0533 | 0.0585 | 0.2592 | 0.2693
H | 0.1428 | 0.1394 | 0.1316 | 0.138 | 0.0594 | 0.0524 | 0.0501 | 0.0458 | 0.0495 | 0.0499 | 0.1136 | 0.1327
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.11.11_ELISAs.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 11/11/2024 4:27:54 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Absorbance 1
| Wavelength [nm] | 450
| Use transmittance | No
| Pathlength correction | No
| Measurement Time [ms] | 100

## Run log
Run log
| Time | Event | Information
| 11/11/2024 4:27:54 PM | Session 2024.11.11_ELISAs.skax started
| 11/11/2024 4:27:54 PM | Temperature | 20.7°C
| 11/11/2024 4:28:02 PM | User action | Please insert plate G Depeleted Sera (1/4)
| 11/11/2024 4:28:17 PM | Step Absorbance 1 started
| 11/11/2024 4:28:19 PM | Calibration | Photometric 1.0 329227
| 11/11/2024 4:28:33 PM | Temperature | 20.7°C
| 11/11/2024 4:28:51 PM | Step Absorbance 1 ended
| 11/11/2024 4:28:59 PM | User action | Please insert plate Pre F Depeleted Sera (2/4)
| 11/11/2024 4:29:33 PM | Temperature | 20.7°C
| 11/11/2024 4:30:33 PM | Temperature | 20.8°C
| 11/11/2024 4:31:33 PM | Temperature | 20.8°C
| 11/11/2024 4:32:33 PM | Temperature | 20.8°C
| 11/11/2024 4:33:33 PM | Temperature | 20.9°C
| 11/11/2024 4:34:33 PM | Temperature | 20.9°C
| 11/11/2024 4:35:33 PM | Temperature | 20.9°C
| 11/11/2024 4:36:33 PM | Temperature | 20.9°C
| 11/11/2024 4:37:33 PM | Temperature | 21.0°C
| 11/11/2024 4:38:33 PM | Temperature | 21.1°C
| 11/11/2024 4:38:58 PM | Step Absorbance 1 started
| 11/11/2024 4:39:31 PM | Step Absorbance 1 ended
| 11/11/2024 4:39:33 PM | Temperature | 21.1°C
| 11/11/2024 4:39:39 PM | User action | Please insert plate F depleted (3/4)
| 11/11/2024 4:40:33 PM | Temperature | 21.1°C
| 11/11/2024 4:41:15 PM | Step Absorbance 1 started
| 11/11/2024 4:41:33 PM | Temperature | 21.2°C
| 11/11/2024 4:41:48 PM | Step Absorbance 1 ended
| 11/11/2024 4:41:56 PM | User action | Please insert plate All F depleted (4/4)
| 11/11/2024 4:42:33 PM | Temperature | 21.1°C
| 11/11/2024 4:43:28 PM | Step Absorbance 1 started
| 11/11/2024 4:43:33 PM | Temperature | 21.2°C
| 11/11/2024 4:44:01 PM | Step Absorbance 1 ended
| 11/11/2024 4:44:01 PM | Temperature | 21.2°C
| 11/11/2024 4:44:11 PM | Session 2024.11.11_ELISAs.skax ended

## Layout definitions
Name | G Depeleted Sera
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | G Clin
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Pre F depleted
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | All F depleted
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H