## Luminescence 1_01
Measurement results
2024.12.12_HA3_Neth82_Set2NeutRep1.skax
12/12/2024 10:19:50 AM
Luminescence 1
Wavelength: 0 nm
Neth82 P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 408.6 | 2027 | 6472 | 10160 | 12640 | 12090 | 12050 | 11170 | 12720 | 12190 | 12040 | 3119
B | 736.3 | 26370 | 1131000 | 1594000 | 2174000 | 1717000 | 1880000 | 1667000 | 1999000 | 2077000 | 2163000 | 10970
C | 1207 | 79470 | 1037000 | 1427000 | 1687000 | 1603000 | 1777000 | 1793000 | 1751000 | 1696000 | 2433000 | 12650
D | 766.5 | 2504 | 7655 | 10290 | 17330 | 248300 | 1005000 | 1790000 | 1789000 | 2082000 | 2255000 | 12170
E | 2062 | 10240 | 16050 | 12750 | 15050 | 291100 | 1199000 | 1641000 | 1694000 | 1568000 | 2113000 | 11310
F | 7814 | 1989000 | 3081000 | 1831000 | 1637000 | 1688000 | 1635000 | 1891000 | 2126000 | 2195000 | 2419000 | 12510
G | 6854 | 2100000 | 2721000 | 2085000 | 2213000 | 1960000 | 2215000 | 1979000 | 2592000 | 2652000 | 2889000 | 10200
H | 1298 | 11360 | 13650 | 11490 | 11480 | 10300 | 11200 | 11280 | 12300 | 12730 | 13790 | 1632
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 318.1 | 580 | 1734 | 4502 | 8538 | 10590 | 12460 | 13300 | 14130 | 14020 | 13390 | 3767
B | 451.9 | 1082 | 60980 | 546800 | 1236000 | 1572000 | 1877000 | 2197000 | 2371000 | 2207000 | 2427000 | 12440
C | 645.6 | 1781 | 67990 | 413100 | 1164000 | 1682000 | 1693000 | 1520000 | 1695000 | 2517000 | 2186000 | 13580
D | 1258 | 3452 | 322600 | 864600 | 1537000 | 1279000 | 1503000 | 2526000 | 1748000 | 1946000 | 2072000 | 12940
E | 3708 | 17660 | 248000 | 965800 | 1541000 | 1779000 | 1795000 | 1612000 | 2186000 | 1905000 | 2278000 | 12810
F | 15280 | 3308000 | 5230000 | 2624000 | 2180000 | 1855000 | 1719000 | 2264000 | 1828000 | 1927000 | 2027000 | 11070
G | 12370 | 3572000 | 5736000 | 3310000 | 2129000 | 2251000 | 1935000 | 2173000 | 2261000 | 2410000 | 2174000 | 8370
H | 2521 | 19130 | 26490 | 19550 | 13880 | 11350 | 11050 | 12160 | 11850 | 12280 | 11410 | 1524
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 447.9 | 1941 | 6361 | 8335 | 9681 | 12320 | 12630 | 12310 | 11500 | 12180 | 13120 | 3910
B | 704.6 | 42300 | 1120000 | 1307000 | 1473000 | 1737000 | 1949000 | 1853000 | 1710000 | 2077000 | 2393000 | 12250
C | 627.4 | 23300 | 949800 | 1003000 | 1483000 | 1576000 | 1775000 | 1675000 | 1660000 | 2326000 | 2334000 | 12330
D | 289.6 | 987.8 | 5059 | 43750 | 135500 | 981000 | 1557000 | 1511000 | 2273000 | 2173000 | 2088000 | 11750
E | 105 | 255.7 | 1099 | 1864 | 82870 | 812800 | 1348000 | 1574000 | 1671000 | 1644000 | 2145000 | 11790
F | 148.8 | 131.5 | 533.2 | 15500 | 117600 | 943500 | 1804000 | 1585000 | 1821000 | 2665000 | 2214000 | 12210
G | 185.7 | 65.09 | 372.6 | 11910 | 252700 | 1440000 | 1745000 | 2355000 | 1759000 | 2172000 | 2430000 | 10080
H | 64.35 | 93.36 | 243.6 | 461.9 | 2495 | 7534 | 8935 | 12280 | 10220 | 11090 | 12880 | 1717
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2341 | 9238 | 11860 | 12260 | 14020 | 14300 | 13140 | 15350 | 14460 | 15370 | 14670 | 3499
B | 8626 | 1703000 | 1900000 | 1865000 | 2106000 | 2185000 | 1997000 | 2405000 | 2166000 | 2637000 | 2422000 | 11630
C | 9226 | 1848000 | 1793000 | 1949000 | 2199000 | 2381000 | 2055000 | 2103000 | 2540000 | 2354000 | 2847000 | 14730
D | 3200 | 169600 | 855900 | 1324000 | 1595000 | 1599000 | 2012000 | 1942000 | 2245000 | 2320000 | 2248000 | 13490
E | 1671 | 214200 | 960800 | 1149000 | 1663000 | 1744000 | 2004000 | 2129000 | 2332000 | 2170000 | 2664000 | 13540
F | 502.2 | 2036 | 9851 | 449400 | 1341000 | 1846000 | 1963000 | 2328000 | 2185000 | 2457000 | 2553000 | 13400
G | 319.5 | 10820 | 7500 | 605500 | 1457000 | 2200000 | 2230000 | 2522000 | 2365000 | 2441000 | 2316000 | 9423
H | 80.86 | 239 | 986.3 | 3524 | 8753 | 11500 | 12280 | 13570 | 12470 | 12180 | 11850 | 1780
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.12.12_HA3_Neth82_Set2NeutRep1.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 12/12/2024 10:19:50 AM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 12/12/2024 10:19:50 AM | Session 2024.12.12_HA3_Neth82_Set2NeutRep1.skax started
| 12/12/2024 10:19:50 AM | Temperature | 23.6°C
| 12/12/2024 10:19:58 AM | User action | Please insert plate Neth82 P4 (1/4)
| 12/12/2024 10:20:15 AM | Step Luminescence 1 started
| 12/12/2024 10:20:29 AM | Temperature | 23.6°C
| 12/12/2024 10:21:29 AM | Temperature | 23.6°C
| 12/12/2024 10:22:21 AM | Step Luminescence 1 ended
| 12/12/2024 10:22:29 AM | Temperature | 23.6°C
| 12/12/2024 10:22:29 AM | User action | Please insert plate Neth82 P5 (2/4)
| 12/12/2024 10:22:56 AM | Step Luminescence 1 started
| 12/12/2024 10:23:29 AM | Temperature | 23.6°C
| 12/12/2024 10:24:29 AM | Temperature | 23.7°C
| 12/12/2024 10:25:03 AM | Step Luminescence 1 ended
| 12/12/2024 10:25:11 AM | User action | Please insert plate Neth82 P6 (3/4)
| 12/12/2024 10:25:29 AM | Temperature | 23.7°C
| 12/12/2024 10:25:34 AM | Step Luminescence 1 started
| 12/12/2024 10:25:41 AM | Calibration | Luminometric 1.22809 217689
| 12/12/2024 10:26:29 AM | Temperature | 23.7°C
| 12/12/2024 10:27:29 AM | Temperature | 23.7°C
| 12/12/2024 10:27:41 AM | Step Luminescence 1 ended
| 12/12/2024 10:27:50 AM | User action | Please insert plate Neth82 P7 (4/4)
| 12/12/2024 10:28:08 AM | Step Luminescence 1 started
| 12/12/2024 10:28:29 AM | Temperature | 23.7°C
| 12/12/2024 10:29:29 AM | Temperature | 23.7°C
| 12/12/2024 10:30:14 AM | Step Luminescence 1 ended
| 12/12/2024 10:30:14 AM | Temperature | 23.8°C
| 12/12/2024 10:30:24 AM | Session 2024.12.12_HA3_Neth82_Set2NeutRep1.skax ended

## Layout definitions
Name | Neth82 P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H