## Luminescence 1_01
Measurement results
2024.12.19_Neut_V3.skax
12/19/2024 12:05:48 PM
Luminescence 1
Wavelength: 0 nm
V3P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 221.1 | 260.2 | 259.9 | 410.2 | 505 | 542.2 | 725.5 | 657.9 | 933.6 | 2261 | 7578 | 2391
B | 104.4 | 205.2 | 328.4 | 633.3 | 1143 | 1562 | 2155 | 1728 | 2756 | 11310 | 2450000 | 9109
C | 125.6 | 434 | 863.9 | 2374 | 6993 | 9622 | 14070 | 9280 | 20660 | 22330 | 2620000 | 10680
D | 176 | 9664 | 37090 | 231200 | 1220000 | 1978000 | 2889000 | 2252000 | 2902000 | 2522000 | 2630000 | 11230
E | 253 | 6228 | 46070 | 128000 | 1113000 | 2514000 | 3049000 | 2886000 | 3048000 | 3213000 | 2863000 | 12150
F | 125.9 | 3736 | 13710 | 214900 | 818700 | 2087000 | 2569000 | 2709000 | 2818000 | 3040000 | 2489000 | 10470
G | 108.2 | 3120 | 37690 | 280700 | 880800 | 2227000 | 2696000 | 2193000 | 2538000 | 3387000 | 3088000 | 8075
H | 39.76 | 136.7 | 410 | 1242 | 4000 | 7926 | 8774 | 7714 | 9756 | 9889 | 8656 | 1541
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2690000
B
C
D |  | 0.0035926 | 0.013788 | 0.085948 | 0.45353 | 0.73532 | 1.074 | 0.83717 | 1.0788 | 0.93755 | 0.9777
E |  | 0.0023152 | 0.017126 | 0.047584 | 0.41375 | 0.93457 | 1.1335 | 1.0729 | 1.1331 | 1.1944 | 1.0643
F |  | 0.0013888 | 0.0050967 | 0.079888 | 0.30435 | 0.77584 | 0.95502 | 1.0071 | 1.0476 | 1.1301 | 0.92528
G |  | 0.0011599 | 0.014011 | 0.10435 | 0.32743 | 0.82788 | 1.0022 | 0.81524 | 0.94349 | 1.2591 | 1.148
H
Wavelength: 0 nm
V3P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 167 | 448.3 | 863.1 | 1548 | 2452 | 2194 | 2475 | 2936 | 2528 | 2330 | 2601 | 796.5
B | 252.6 | 86070 | 348900 | 696500 | 1821000 | 1361000 | 1290000 | 2087000 | 1175000 | 1033000 | 2119000 | 2701
C | 344.1 | 57320 | 426300 | 1746000 | 1423000 | 1637000 | 2176000 | 1150000 | 1912000 | 1419000 | 1284000 | 2584
D | 283 | 7991 | 172300 | 319000 | 859500 | 1275000 | 1334000 | 1158000 | 2101000 | 1349000 | 2081000 | 3173
E | 92.02 | 10740 | 92560 | 541600 | 1009000 | 1289000 | 1388000 | 1936000 | 1961000 | 1157000 | 2036000 | 3239
F | 72.59 | 1996 | 2921 | 39440 | 448000 | 1343000 | 1254000 | 1149000 | 1251000 | 1226000 | 1901000 | 2858
G | 73.88 | 1237 | 4508 | 39710 | 539500 | 814700 | 1267000 | 1169000 | 1826000 | 1439000 | 1345000 | 1757
H | 20.66 | 51.51 | 109 | 317.7 | 920.4 | 1287 | 1704 | 1799 | 2067 | 2100 | 1770 | 591.6
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1794333.3333
B |  | 0.047968 | 0.19445 | 0.38817 | 1.0149 | 0.7585 | 0.71893 | 1.1631 | 0.65484 | 0.5757 | 1.1809
C |  | 0.031945 | 0.23758 | 0.97306 | 0.79305 | 0.91232 | 1.2127 | 0.64091 | 1.0656 | 0.79082 | 0.71559
D |  | 0.0044535 | 0.096025 | 0.17778 | 0.47901 | 0.71057 | 0.74345 | 0.64537 | 1.1709 | 0.75181 | 1.1598
E |  | 0.0059855 | 0.051585 | 0.30184 | 0.56233 | 0.71837 | 0.77355 | 1.079 | 1.0929 | 0.64481 | 1.1347
F |  | 0.0011124 | 0.0016279 | 0.02198 | 0.24967 | 0.74847 | 0.69887 | 0.64035 | 0.69719 | 0.68326 | 1.0594
G |  | 0.00068939 | 0.0025124 | 0.022131 | 0.30067 | 0.45404 | 0.70611 | 0.6515 | 1.0176 | 0.80197 | 0.74958
H
Wavelength: 0 nm
V3P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 90.17 | 214.1 | 394.7 | 1246 | 3205 | 5890 | 9119 | 10540 | 10860 | 9157 | 8936 | 2594
B | 122.2 | 1583 | 8295 | 93340 | 511900 | 1185000 | 1950000 | 2182000 | 2303000 | 1972000 | 2046000 | 8656
C | 135.6 | 7112 | 28080 | 185700 | 611900 | 1568000 | 2178000 | 2393000 | 2640000 | 2254000 | 1969000 | 9096
D | 197.9 | 23440 | 13960 | 198800 | 1026000 | 1637000 | 2265000 | 2543000 | 2586000 | 2222000 | 2003000 | 9340
E | 171.6 | 13760 | 20940 | 193000 | 863300 | 1659000 | 2300000 | 2637000 | 2385000 | 2326000 | 2239000 | 9306
F | 109.5 | 13160 | 3856 | 27430 | 316700 | 1117000 | 1845000 | 2369000 | 2405000 | 2136000 | 2448000 | 9780
G | 112.4 | 2669 | 2069 | 29090 | 272300 | 1314000 | 1730000 | 2535000 | 2235000 | 2290000 | 2078000 | 5910
H | 68.13 | 89.65 | 165.5 | 331.3 | 2020 | 4892 | 6586 | 9526 | 8753 | 8733 | 7064 | 1230
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2130500
B |  | 0.00074302 | 0.0038935 | 0.043811 | 0.24027 | 0.55621 | 0.91528 | 1.0242 | 1.081 | 0.9256 | 0.96034
C |  | 0.0033382 | 0.01318 | 0.087163 | 0.28721 | 0.73598 | 1.0223 | 1.1232 | 1.2391 | 1.058 | 0.9242
D |  | 0.011002 | 0.0065525 | 0.093311 | 0.48158 | 0.76836 | 1.0631 | 1.1936 | 1.2138 | 1.0429 | 0.94015
E |  | 0.0064586 | 0.0098287 | 0.090589 | 0.40521 | 0.77869 | 1.0796 | 1.2377 | 1.1195 | 1.0918 | 1.0509
F |  | 0.006177 | 0.0018099 | 0.012875 | 0.14865 | 0.52429 | 0.86599 | 1.1119 | 1.1288 | 1.0026 | 1.149
G |  | 0.0012528 | 0.00097113 | 0.013654 | 0.12781 | 0.61676 | 0.81202 | 1.1899 | 1.049 | 1.0749 | 0.97536
H
Wavelength: 0 nm
V3P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 131.1 | 214.9 | 637.8 | 1768 | 4323 | 6136 | 6495 | 7215 | 6849 | 6470 | 6303 | 1913
B | 177.9 | 1564 | 27340 | 218800 | 823300 | 1206000 | 1356000 | 1396000 | 1343000 | 1369000 | 1435000 | 5346
C | 211.8 | 12550 | 48720 | 359000 | 827500 | 1272000 | 1385000 | 1678000 | 1753000 | 1469000 | 1568000 | 6867
D | 259.7 | 4366 | 58780 | 171500 | 953100 | 1213000 | 1674000 | 1655000 | 2038000 | 1525000 | 1591000 | 7810
E | 183.7 | 10170 | 51240 | 335000 | 926500 | 1440000 | 1697000 | 1647000 | 1519000 | 1560000 | 1563000 | 6344
F | 139 | 11650 | 223400 | 710000 | 1367000 | 1230000 | 1490000 | 1752000 | 1789000 | 1487000 | 1365000 | 5316
G | 72.55 | 2929 | 148000 | 568200 | 1008000 | 1290000 | 1388000 | 1498000 | 1511000 | 1414000 | 1377000 | 4419
H | 29.45 | 191.4 | 862.6 | 2084 | 4163 | 5063 | 5247 | 6350 | 5833 | 5536 | 5119 | 920.8
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1483166.6667
B |  | 0.0010545 | 0.018434 | 0.14752 | 0.5551 | 0.81313 | 0.91426 | 0.94123 | 0.90549 | 0.92303 | 0.96752
C |  | 0.0084616 | 0.032849 | 0.24205 | 0.55793 | 0.85762 | 0.93381 | 1.1314 | 1.1819 | 0.99045 | 1.0572
D |  | 0.0029437 | 0.039631 | 0.11563 | 0.64261 | 0.81784 | 1.1287 | 1.1159 | 1.3741 | 1.0282 | 1.0727
E |  | 0.006857 | 0.034548 | 0.22587 | 0.62468 | 0.9709 | 1.1442 | 1.1105 | 1.0242 | 1.0518 | 1.0538
F |  | 0.0078548 | 0.15062 | 0.47871 | 0.92168 | 0.82931 | 1.0046 | 1.1813 | 1.2062 | 1.0026 | 0.92033
G |  | 0.0019748 | 0.099786 | 0.3831 | 0.67963 | 0.86976 | 0.93584 | 1.01 | 1.0188 | 0.95337 | 0.92842
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.12.19_Neut_V3.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 12/19/2024 12:05:48 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 12/19/2024 12:05:48 PM | Session 2024.12.19_Neut_V3.skax started
| 12/19/2024 12:05:48 PM | Temperature | 22.6°C
| 12/19/2024 12:05:56 PM | User action | Please insert plate V3P4 (1/4)
| 12/19/2024 12:06:10 PM | Step Luminescence 1 started
| 12/19/2024 12:06:39 PM | Temperature | 22.6°C
| 12/19/2024 12:07:39 PM | Temperature | 22.7°C
| 12/19/2024 12:08:17 PM | Step Luminescence 1 ended
| 12/19/2024 12:08:25 PM | User action | Please insert plate V3 P3 (2/4)
| 12/19/2024 12:08:39 PM | Temperature | 22.7°C
| 12/19/2024 12:08:43 PM | Step Luminescence 1 started
| 12/19/2024 12:08:50 PM | Calibration | Luminometric 1.14832 265655
| 12/19/2024 12:09:39 PM | Temperature | 22.7°C
| 12/19/2024 12:10:39 PM | Temperature | 22.8°C
| 12/19/2024 12:10:51 PM | Step Luminescence 1 ended
| 12/19/2024 12:10:59 PM | User action | Please insert plate V3P3 (3/4)
| 12/19/2024 12:11:29 PM | Step Luminescence 1 started
| 12/19/2024 12:11:39 PM | Temperature | 22.8°C
| 12/19/2024 12:12:39 PM | Temperature | 22.8°C
| 12/19/2024 12:13:34 PM | Step Luminescence 1 ended
| 12/19/2024 12:13:39 PM | Temperature | 22.8°C
| 12/19/2024 12:13:43 PM | User action | Please insert plate V3P (4/4)
| 12/19/2024 12:14:02 PM | Step Luminescence 1 started
| 12/19/2024 12:14:39 PM | Temperature | 22.9°C
| 12/19/2024 12:15:39 PM | Temperature | 22.9°C
| 12/19/2024 12:16:07 PM | Step Luminescence 1 ended
| 12/19/2024 12:16:08 PM | Temperature | 22.9°C
| 12/19/2024 12:16:18 PM | Session 2024.12.19_Neut_V3.skax ended

## Layout definitions
Name | V3P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3 P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3P
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H