## Luminescence 1_01
Measurement results
2024.12.19_Neut_V4.skax
12/19/2024 11:52:06 AM
Luminescence 1
Wavelength: 0 nm
V4P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 106.3 | 120.5 | 202.3 | 273.4 | 580.2 | 643.3 | 725.2 | 912.4 | 1097 | 2615 | 9588 | 2544
B | 68.9 | 169.9 | 356.9 | 662.8 | 3637 | 1952 | 1890 | 3485 | 3744 | 28430 | 3186000 | 9980
C | 134.8 | 247.7 | 722.2 | 2483 | 33440 | 11970 | 15220 | 42350 | 21980 | 23050 |  | 5361
D | 203.9 | 3384 | 7987 | 232600 | 1008000 | 2280000 | 2716000 | 3504000 | 3859000 | 3678000 | 3555000 | 12580
E | 138.2 | 1041 | 18900 | 132800 | 1039000 | 2518000 | 2909000 | 3666000 | 3659000 | 3462000 | 3162000 | 13680
F | 174 | 11820 | 15140 | 131600 | 943100 | 2566000 | 3453000 | 3560000 | 3409000 | 3877000 | 3269000 | 13120
G | 98.29 | 969.4 | 11720 | 121300 | 801600 | 2064000 | 3208000 | 3436000 | 3375000 | 3390000 | 3127000 | 8706
H | 109.1 | 80.14 | 335.5 | 1015 | 4219 | 11550 | 17040 | 15500 | 13890 | 12370 | 11290 | 1824
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3259800
B | 3259800
C
D |  | 0.0010381 | 0.0024502 | 0.071354 | 0.30922 | 0.69943 | 0.83318 | 1.0749 | 1.1838 | 1.1283 | 1.0906
E |  | 0.00031934 | 0.0057979 | 0.040739 | 0.31873 | 0.77244 | 0.89239 | 1.1246 | 1.1225 | 1.062 | 0.97
F |  | 0.003626 | 0.0046445 | 0.040371 | 0.28931 | 0.78716 | 1.0593 | 1.0921 | 1.0458 | 1.1893 | 1.0028
G |  | 0.00029738 | 0.0035953 | 0.037211 | 0.2459 | 0.63317 | 0.98411 | 1.0541 | 1.0353 | 1.0399 | 0.95926
H
Wavelength: 0 nm
V4P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 506.4 | 1572 | 5411 | 12100 | 15970 | 17610 | 16660 | 17180 | 17280 | 14400 | 13070 | 3467
B | 794.6 | 122600 | 900900 | 2803000 | 3468000 | 3876000 | 3408000 | 3583000 | 3774000 | 3663000 | 3833000 | 13270
C | 789 | 78010 | 927100 | 2267000 | 3742000 | 3780000 | 3901000 | 3883000 | 4014000 | 3818000 | 3618000 | 14380
D | 624.3 | 25280 | 183800 | 1015000 | 2244000 | 3365000 | 3642000 | 3451000 | 4011000 | 3723000 | 3827000 | 14950
E | 305.6 | 23130 | 206100 | 994400 | 2149000 | 3404000 | 3363000 | 3750000 | 3909000 | 3682000 | 4049000 | 14710
F | 190.3 | 6622 | 7650 | 190200 | 869800 | 2313000 | 3445000 | 3955000 | 3844000 | 3582000 | 3783000 | 14170
G | 129.4 | 2873 | 4061 | 178600 | 1006000 | 2140000 | 3422000 | 3726000 | 3634000 | 4332000 | 3658000 | 10520
H | 69.7 | 112.8 | 483.7 | 1042 | 4629 | 8853 | 12130 | 14340 | 15070 | 15330 | 13040 | 2250
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3794666.6667
B |  | 0.032309 | 0.23741 | 0.73867 | 0.91391 | 1.0214 | 0.8981 | 0.94422 | 0.99455 | 0.9653 | 1.0101
C |  | 0.020558 | 0.24432 | 0.59742 | 0.98612 | 0.99613 | 1.028 | 1.0233 | 1.0578 | 1.0061 | 0.95344
D |  | 0.006662 | 0.048436 | 0.26748 | 0.59136 | 0.88677 | 0.95977 | 0.90943 | 1.057 | 0.98111 | 1.0085
E |  | 0.0060954 | 0.054313 | 0.26205 | 0.56632 | 0.89705 | 0.88624 | 0.98823 | 1.0301 | 0.97031 | 1.067
F |  | 0.0017451 | 0.002016 | 0.050123 | 0.22922 | 0.60954 | 0.90785 | 1.0423 | 1.013 | 0.94396 | 0.99693
G |  | 0.00075712 | 0.0010702 | 0.047066 | 0.26511 | 0.56395 | 0.90179 | 0.9819 | 0.95766 | 1.1416 | 0.96398
H
Wavelength: 0 nm
V4P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 225.2 | 206.1 | 400 | 1143 | 4919 | 9907 | 12560 | 17870 | 18980 | 17440 | 13310 | 3708
B | 241.7 | 1320 | 10570 | 69340 | 650700 | 2108000 | 2538000 | 3862000 | 4216000 | 4139000 | 3361000 | 13640
C | 209.9 | 16290 | 11200 | 71510 | 658600 | 2056000 | 3679000 | 3712000 | 4445000 | 4230000 | 3507000 | 15760
D | 251.2 | 6668 | 16760 | 253800 | 1222000 | 2627000 | 3363000 | 4368000 | 4063000 | 3894000 | 3621000 | 15050
E | 232.1 | 30300 | 16910 | 200800 | 1129000 | 2715000 | 3534000 | 4446000 | 4076000 | 3926000 | 3497000 | 13720
F | 164.2 | 6483 | 3270 | 34280 | 329900 | 1574000 | 3108000 | 4237000 | 4134000 | 3719000 | 3954000 | 14520
G | 58.26 | 3596 | 6302 | 24290 | 288600 | 1354000 | 2578000 | 4089000 | 4350000 | 3820000 | 3891000 | 10560
H | 49.88 | 94.82 | 213.1 | 440.9 | 2258 | 6375 | 9690 | 15910 | 16630 | 14760 | 13420 | 2180
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3638500
B |  | 0.00036279 | 0.002905 | 0.019057 | 0.17884 | 0.57936 | 0.69754 | 1.0614 | 1.1587 | 1.1376 | 0.92373
C |  | 0.0044771 | 0.0030782 | 0.019654 | 0.18101 | 0.56507 | 1.0111 | 1.0202 | 1.2217 | 1.1626 | 0.96386
D |  | 0.0018326 | 0.0046063 | 0.069754 | 0.33585 | 0.722 | 0.92428 | 1.2005 | 1.1167 | 1.0702 | 0.99519
E |  | 0.0083276 | 0.0046475 | 0.055188 | 0.31029 | 0.74619 | 0.97128 | 1.2219 | 1.1202 | 1.079 | 0.96111
F |  | 0.0017818 | 0.00089872 | 0.0094215 | 0.090669 | 0.4326 | 0.8542 | 1.1645 | 1.1362 | 1.0221 | 1.0867
G |  | 0.00098832 | 0.001732 | 0.0066758 | 0.079318 | 0.37213 | 0.70853 | 1.1238 | 1.1955 | 1.0499 | 1.0694
H
Wavelength: 0 nm
V4P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 262.1 | 401.1 | 1109 | 3840 | 8674 | 12590 | 15420 | 17380 | 17050 | 15790 | 12810 | 3481
B | 292.4 | 10080 | 18050 | 470600 | 1771000 | 2740000 | 3257000 | 3725000 | 3639000 | 3883000 | 3317000 | 13030
C | 265.5 | 17380 | 21370 | 448800 | 1631000 | 2617000 | 3218000 | 4534000 | 4017000 | 3273000 | 3696000 | 15280
D | 395.2 | 3730 | 146700 | 741700 | 2011000 | 3057000 | 4084000 | 3955000 | 4424000 | 4378000 | 4120000 | 16870
E | 386.5 | 14720 | 97590 | 566000 | 2211000 | 3414000 | 4315000 | 4662000 | 4704000 | 4047000 | 4284000 | 16930
F | 498 | 27160 | 387700 | 1697000 | 2674000 | 4048000 | 4258000 | 4134000 | 4127000 | 4754000 | 3994000 | 15120
G | 311.2 | 34340 | 242500 | 1341000 | 2420000 | 3823000 | 4267000 | 4544000 | 4505000 | 3557000 | 5124000 | 13120
H | 140.9 | 476.3 | 2084 | 5189 | 10290 | 14650 | 16290 | 18760 | 16920 | 15320 | 17090 | 2619
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4089166.6667
B |  | 0.002465 | 0.0044141 | 0.11508 | 0.4331 | 0.67006 | 0.79649 | 0.91094 | 0.88991 | 0.94958 | 0.81117
C |  | 0.0042503 | 0.005226 | 0.10975 | 0.39886 | 0.63998 | 0.78696 | 1.1088 | 0.98235 | 0.80041 | 0.90385
D |  | 0.00091217 | 0.035875 | 0.18138 | 0.49179 | 0.74759 | 0.99874 | 0.96719 | 1.0819 | 1.0706 | 1.0075
E |  | 0.0035998 | 0.023865 | 0.13841 | 0.5407 | 0.83489 | 1.0552 | 1.1401 | 1.1504 | 0.98969 | 1.0476
F |  | 0.0066419 | 0.094811 | 0.415 | 0.65392 | 0.98993 | 1.0413 | 1.011 | 1.0093 | 1.1626 | 0.97673
G |  | 0.0083978 | 0.059303 | 0.32794 | 0.59181 | 0.93491 | 1.0435 | 1.1112 | 1.1017 | 0.86986 | 1.2531
H
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.12.19_Neut_V4.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 12/19/2024 11:52:06 AM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 12/19/2024 11:52:06 AM | Session 2024.12.19_Neut_V4.skax started
| 12/19/2024 11:52:06 AM | Temperature | 22.2°C
| 12/19/2024 11:52:14 AM | User action | Please insert plate V4P4 (1/4)
| 12/19/2024 11:52:28 AM | Step Luminescence 1 started
| 12/19/2024 11:52:35 AM | Calibration | Luminometric 1.13244 168160
| 12/19/2024 11:52:39 AM | Temperature | 22.2°C
| 12/19/2024 11:53:39 AM | Temperature | 22.3°C
| 12/19/2024 11:54:39 AM | Temperature | 22.3°C
| 12/19/2024 11:54:39 AM | Step Luminescence 1 ended
| 12/19/2024 11:54:47 AM | User action | Please insert plate V4P3 (2/4)
| 12/19/2024 11:55:06 AM | Step Luminescence 1 started
| 12/19/2024 11:55:39 AM | Temperature | 22.3°C
| 12/19/2024 11:56:39 AM | Temperature | 22.4°C
| 12/19/2024 11:57:15 AM | Step Luminescence 1 ended
| 12/19/2024 11:57:23 AM | User action | Please insert plate V4P2 (3/4)
| 12/19/2024 11:57:39 AM | Temperature | 22.4°C
| 12/19/2024 11:57:44 AM | Step Luminescence 1 started
| 12/19/2024 11:58:39 AM | Temperature | 22.5°C
| 12/19/2024 11:59:39 AM | Temperature | 22.5°C
| 12/19/2024 11:59:54 AM | Step Luminescence 1 ended
| 12/19/2024 12:00:02 PM | User action | Please insert plate V4P1 (4/4)
| 12/19/2024 12:00:21 PM | Step Luminescence 1 started
| 12/19/2024 12:00:28 PM | Calibration | Luminometric 1.14043 215399
| 12/19/2024 12:00:39 PM | Temperature | 22.5°C
| 12/19/2024 12:01:39 PM | Temperature | 22.5°C
| 12/19/2024 12:02:32 PM | Step Luminescence 1 ended
| 12/19/2024 12:02:32 PM | Temperature | 22.5°C
| 12/19/2024 12:02:39 PM | Temperature | 22.6°C
| 12/19/2024 12:02:43 PM | Session 2024.12.19_Neut_V4.skax ended

## Layout definitions
Name | V4P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V4P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H