## Luminescence 1_01
Measurement results
2024.12.20_H3_Neth82_Neut_Rep2.skax
12/20/2024 1:18:39 PM
Luminescence 1
Wavelength: 0 nm
Neth82 P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1675 | 5715 | 12410 | 11480 | 9341 | 8039 | 11310 | 10010 | 9209 | 10530 | 9124 | 2379
B | 4436 | 639600 | 2620000 | 2149000 | 1689000 | 1085000 | 1745000 | 1527000 | 1377000 | 1763000 | 1733000 | 9266
C | 3967 | 570300 | 2991000 | 1807000 | 1391000 | 999200 | 1444000 | 2114000 | 1752000 | 1935000 | 2148000 | 11350
D | 1697 | 21290 | 350600 | 1412000 | 1548000 | 930000 | 1816000 | 1574000 | 1765000 | 2016000 | 1882000 | 10420
E | 2422 | 9587 | 406700 | 1540000 | 1693000 | 1347000 | 1694000 | 1840000 | 1795000 | 2215000 | 2192000 | 11910
F | 7262 | 1486000 | 3655000 | 2031000 | 1932000 | 1322000 | 1950000 | 1978000 | 1885000 | 2158000 | 2267000 | 10930
G | 7325 | 1901000 | 4773000 | 2278000 | 2388000 | 1777000 | 2189000 | 2490000 | 2197000 | 2133000 | 2466000 | 8022
H | 1443 | 10050 | 20310 | 12800 | 11790 | 8320 | 9867 | 11710 | 11210 | 10050 | 10010 | 1452
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4153 | 15650 | 12870 | 9388 | 8168 | 8446 | 8834 | 9542 | 10360 | 9949 | 10370 | 2894
B | 15390 | 3764000 | 2511000 | 1379000 | 1266000 | 1277000 | 1396000 | 1464000 | 1690000 | 1632000 | 1940000 | 10020
C | 15310 | 3638000 | 2381000 | 1706000 | 1193000 | 1315000 | 1635000 | 1400000 | 1768000 | 1442000 | 2129000 | 11930
D | 4144 | 83080 | 1978000 | 1846000 | 1474000 | 1526000 | 1442000 | 1570000 | 1741000 | 1777000 | 2015000 | 11070
E | 1646 | 100200 | 2275000 | 1976000 | 1790000 | 1945000 | 1653000 | 1863000 | 1739000 | 1546000 | 2129000 | 11240
F | 849.4 | 3518 | 767900 | 1524000 | 1719000 | 1938000 | 2112000 | 2256000 | 2242000 | 1968000 | 2231000 | 10550
G | 395.2 | 2081 | 945000 | 1944000 | 1685000 | 2009000 | 1684000 | 1754000 | 1622000 | 1436000 | 1278000 | 5363
H | 230.8 | 846.5 | 4940 | 7643 | 8494 | 8622 | 8152 | 9436 | 8170 | 6871 | 5989 | 944.5
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 646.3 | 853.2 | 929.4 | 850.2 | 831.5 | 1367 | 3878 | 6875 | 8014 | 9381 | 8523 | 2262
B | 1470 | 2776 | 2531 | 2038 | 2148 | 21610 | 531800 | 1079000 | 1201000 | 1378000 | 1542000 | 7712
C | 5655 | 23910 | 18160 | 10790 | 9528 | 29850 | 639800 | 1152000 | 1555000 | 1444000 | 1648000 | 8683
D | 24120 | 5404000 | 3240000 | 1455000 | 1448000 | 1272000 | 1547000 | 1415000 | 1717000 | 1428000 | 1800000 | 9789
E | 26380 | 5898000 | 3531000 | 1880000 | 1533000 | 1680000 | 1661000 | 1690000 | 1602000 | 1603000 | 1970000 | 10220
F | 12440 | 1732000 | 1687000 | 1655000 | 1784000 | 1702000 | 1546000 | 1702000 | 1757000 | 1759000 | 1715000 | 9008
G | 7395 | 1634000 | 2155000 | 2014000 | 2139000 | 1937000 | 1940000 | 1928000 | 1864000 | 1906000 | 2029000 | 6853
H | 1373 | 9018 | 10740 | 10830 | 11350 | 9657 | 10370 | 11180 | 10430 | 9406 | 9760 | 1243
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 673.1 | 2403 | 5342 | 6179 | 5754 | 6498 | 8319 | 9098 | 9203 | 10090 | 10110 | 2312
B | 1474 | 211300 | 940900 | 1098000 | 984300 | 1030000 | 1268000 | 1170000 | 1363000 | 1395000 | 1667000 | 8417
C | 1588 | 125700 | 995600 | 1100000 | 1020000 | 1125000 | 1348000 | 1362000 | 1375000 | 1620000 | 1947000 | 9607
D | 959.8 | 2673 | 6722 | 8823 | 80770 | 550200 | 1140000 | 1252000 | 1437000 | 1367000 | 1580000 | 7796
E | 2405 | 11140 | 13020 | 10990 | 44990 | 579400 | 1303000 | 1243000 | 1583000 | 1521000 | 1631000 | 7802
F | 10580 | 2303000 | 2262000 | 1655000 | 1690000 | 1378000 | 1586000 | 1546000 | 1455000 | 1426000 | 1885000 | 7964
G | 9082 | 2489000 | 2531000 | 1850000 | 1996000 | 1716000 | 1574000 | 1919000 | 1687000 | 1965000 | 2075000 | 6467
H | 1796 | 12750 | 12530 | 10760 | 10370 | 8313 | 8657 | 10140 | 9668 | 10080 | 9368 | 1201
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 467.5 | 905.8 | 2408 | 4583 | 7400 | 7772 | 7429 | 7927 | 8621 | 8725 | 7981 | 2379
B | 477.7 | 1890 | 240500 | 706300 | 1442000 | 1465000 | 1070000 | 1318000 | 1378000 | 1401000 | 1437000 | 7128
C | 594.7 | 2658 | 242100 | 731600 | 1307000 | 1382000 | 1269000 | 1265000 | 1367000 | 1722000 | 1536000 | 8745
D | 1248 | 20310 | 696400 | 1049000 | 1569000 | 1535000 | 1583000 | 1374000 | 1416000 | 1674000 | 1867000 | 9709
E | 3943 | 45710 | 705300 | 1159000 | 1706000 | 1649000 | 1446000 | 1470000 | 1391000 | 1702000 | 1560000 | 8944
F | 16080 | 4742000 | 4259000 | 2019000 | 1710000 | 1743000 | 1538000 | 1836000 | 1824000 | 1920000 | 2077000 | 9963
G | 13720 | 4714000 | 5198000 | 2114000 | 1868000 | 2018000 | 1798000 | 1924000 | 2208000 | 1979000 | 2084000 | 7559
H | 2518 | 18460 | 20410 | 11300 | 8763 | 8440 | 8131 | 9488 | 10350 | 9627 | 9475 | 1590
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 494.2 | 2695 | 7772 | 7575 | 7890 | 8867 | 8752 | 9071 | 9687 | 9125 | 8470 | 2033
B | 1603 | 209800 | 1493000 | 1158000 | 1256000 | 1361000 | 1224000 | 1467000 | 1534000 | 1404000 | 1643000 | 8273
C | 1727 | 275400 | 1357000 | 1193000 | 1175000 | 1222000 | 1441000 | 1544000 | 1607000 | 1612000 | 1728000 | 10010
D | 463.1 | 2434 | 6516 | 10160 | 382100 | 1236000 | 1205000 | 1272000 | 1700000 | 1515000 | 1539000 | 9361
E | 226.7 | 317.9 | 1161 | 2933 | 306400 | 1082000 | 1402000 | 1412000 | 1530000 | 1851000 | 1847000 | 10090
F | 141.8 | 256.1 | 3023 | 65010 | 731100 | 1530000 | 1688000 | 1648000 | 2123000 | 1672000 | 1839000 | 10210
G | 116.7 | 161.7 | 599.6 | 31480 | 574800 | 1724000 | 1825000 | 1976000 | 1616000 | 1869000 | 1984000 | 7117
H | 51.47 | 136.7 | 234.3 | 593 | 3642 | 8480 | 9120 | 10740 | 9246 | 9550 | 9333 | 1304
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
Neth82 P7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 199.6 | 316.6 | 357.2 | 431.4 | 536 | 520.8 | 574.5 | 637.6 | 934 | 2286 | 8520 | 2169
B | 257.9 | 456.6 | 716.3 | 20900 | 1169 | 1443 | 1566 | 1775 | 2154 | 9115 | 1957000 | 8592
C | 622.9 | 2582 | 5534 | 6560 | 7608 | 8868 | 9650 | 14310 | 11470 | 17340 | 1708000 | 9637
D | 1912 | 365600 | 975800 | 1050000 | 1242000 | 1502000 | 1534000 | 1475000 | 1819000 | 1805000 | 1686000 | 9981
E | 1691 | 303500 | 881700 | 1060000 | 1069000 | 1435000 | 1700000 | 1653000 | 1516000 | 1741000 | 1604000 | 10110
F | 588.3 | 2033 | 76270 | 486000 | 1306000 | 1871000 | 1796000 | 1713000 | 1654000 | 1736000 | 1787000 | 10460
G | 160.5 | 555.6 | 46130 | 691900 | 1502000 | 1854000 | 1997000 | 1830000 | 1750000 | 2128000 | 2174000 | 8626
H | 54.3 | 232.1 | 1084 | 3669 | 8601 | 9710 | 10890 | 10830 | 10500 | 10970 | 10280 | 1294
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Autoloading range A1 - M178

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 2024.12.20_H3_Neth82_Neut_Rep2.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 12/20/2024 1:18:39 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 12/20/2024 1:18:39 PM | Session 2024.12.20_H3_Neth82_Neut_Rep2.skax started
| 12/20/2024 1:18:39 PM | Temperature | 22.2°C
| 12/20/2024 1:18:47 PM | User action | Please insert plate Neth82 P1 (1/7)
| 12/20/2024 1:18:57 PM | Temperature | 22.2°C
| 12/20/2024 1:19:01 PM | Step Luminescence 1 started
| 12/20/2024 1:19:57 PM | Temperature | 22.3°C
| 12/20/2024 1:20:57 PM | Temperature | 22.3°C
| 12/20/2024 1:21:08 PM | Step Luminescence 1 ended
| 12/20/2024 1:21:16 PM | User action | Please insert plate Neth82 P2 (2/7)
| 12/20/2024 1:21:43 PM | Step Luminescence 1 started
| 12/20/2024 1:21:57 PM | Temperature | 22.3°C
| 12/20/2024 1:22:57 PM | Temperature | 22.3°C
| 12/20/2024 1:23:50 PM | Step Luminescence 1 ended
| 12/20/2024 1:23:57 PM | Temperature | 22.4°C
| 12/20/2024 1:23:58 PM | User action | Please insert plate Neth82 P3 (3/7)
| 12/20/2024 1:24:21 PM | Step Luminescence 1 started
| 12/20/2024 1:24:28 PM | Calibration | Luminometric 1.11796 171594
| 12/20/2024 1:24:57 PM | Temperature | 22.4°C
| 12/20/2024 1:25:57 PM | Temperature | 22.4°C
| 12/20/2024 1:26:30 PM | Step Luminescence 1 ended
| 12/20/2024 1:26:38 PM | User action | Please insert plate Neth82 P4 (4/7)
| 12/20/2024 1:26:57 PM | Temperature | 22.5°C
| 12/20/2024 1:26:58 PM | Step Luminescence 1 started
| 12/20/2024 1:27:57 PM | Temperature | 22.5°C
| 12/20/2024 1:28:57 PM | Temperature | 22.6°C
| 12/20/2024 1:29:03 PM | Step Luminescence 1 ended
| 12/20/2024 1:29:11 PM | User action | Please insert plate Neth82 P5 (5/7)
| 12/20/2024 1:29:41 PM | Step Luminescence 1 started
| 12/20/2024 1:29:57 PM | Temperature | 22.6°C
| 12/20/2024 1:30:57 PM | Temperature | 22.7°C
| 12/20/2024 1:31:47 PM | Step Luminescence 1 ended
| 12/20/2024 1:31:55 PM | User action | Please insert plate Neth82 P6 (6/7)
| 12/20/2024 1:31:57 PM | Temperature | 22.7°C
| 12/20/2024 1:32:14 PM | Step Luminescence 1 started
| 12/20/2024 1:32:21 PM | Calibration | Luminometric 1.12656 218929
| 12/20/2024 1:32:57 PM | Temperature | 22.7°C
| 12/20/2024 1:33:57 PM | Temperature | 22.8°C
| 12/20/2024 1:34:22 PM | Step Luminescence 1 ended
| 12/20/2024 1:34:30 PM | User action | Please insert plate Neth82 P7 (7/7)
| 12/20/2024 1:34:52 PM | Step Luminescence 1 started
| 12/20/2024 1:34:57 PM | Temperature | 22.8°C
| 12/20/2024 1:35:57 PM | Temperature | 22.8°C
| 12/20/2024 1:36:57 PM | Temperature | 22.9°C
| 12/20/2024 1:36:57 PM | Step Luminescence 1 ended
| 12/20/2024 1:36:57 PM | Temperature | 22.9°C
| 12/20/2024 1:37:08 PM | Session 2024.12.20_H3_Neth82_Neut_Rep2.skax ended

## Layout definitions
Name | Neth82 P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | Neth82 P7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H