## Luminescence 1_01
Measurement results
250123_hist_sera_V1.skax
1/23/2025 12:53:11 PM
Luminescence 1
Wavelength: 0 nm
V1P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 68.51 | 211.6 | 289.1 | 871.6 | 1738 | 2409 | 2189 | 2885 | 3301 | 3116 | 2697 | 729.7
B | 183.5 | 26390 | 39420 | 96870 | 314600 | 596100 | 520100 | 603500 | 664600 | 691900 | 735800 | 3833
C | 171.3 | 20000 | 34400 | 245900 | 261800 | 475200 | 831000 | 533100 | 761700 | 575200 | 729000 | 3344
D | 170.9 | 31820 | 23360 | 213700 | 272300 | 492300 | 709400 | 629500 | 751500 | 734800 | 744400 | 3436
E | 209.1 | 24820 | 45830 | 150100 | 272800 | 402000 | 478000 | 516700 | 651400 | 503000 | 644300 | 2667
F | 210.6 | 29430 | 44940 | 130400 | 401600 | 636400 | 633000 | 668700 | 520800 | 584800 | 442900 | 2880
G | 163.2 | 21750 | 68070 | 227200 | 321100 | 386300 | 583900 | 697900 | 528500 | 575600 | 654000 | 2395
H | 65.07 | 204.4 | 413.3 | 1018 | 1567 | 1661 | 2354 | 3013 | 2483 | 2531 | 2348 | 337
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 658400
B |  | 0.040082 | 0.059872 | 0.14713 | 0.47783 | 0.90538 | 0.78995 | 0.91662 | 1.0094 | 1.0509
C |  | 0.030377 | 0.052248 | 0.37348 | 0.39763 | 0.72175 | 1.2622 | 0.80969 | 1.1569 | 0.87363
D |  | 0.048329 | 0.03548 | 0.32457 | 0.41358 | 0.74772 | 1.0775 | 0.95611 | 1.1414 | 1.116
E |  | 0.037697 | 0.069608 | 0.22798 | 0.41434 | 0.61057 | 0.726 | 0.78478 | 0.98937 | 0.76397
F |  | 0.044699 | 0.068256 | 0.19806 | 0.60996 | 0.96659 | 0.96142 | 1.0156 | 0.79101 | 0.88821
G |  | 0.033035 | 0.10339 | 0.34508 | 0.4877 | 0.58673 | 0.88685 | 1.06 | 0.8027 | 0.87424
H
Wavelength: 0 nm
V1P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 271.5 | 915.4 | 1666 | 2231 | 2943 | 2594 | 3180 | 2915 | 3024 | 2805 | 2481 | 571.6
B | 1022 | 205700 | 406600 | 472200 | 727200 | 604300 | 799000 | 673100 | 666500 | 675300 | 660600 | 1872
C | 1613 | 172000 | 340200 | 529400 | 584900 | 732300 | 624200 | 719900 | 618400 | 700500 | 590600 | 2100
D | 821.8 | 77200 | 254100 | 444000 | 302900 | 524700 | 634900 | 509300 | 657300 | 719900 | 628100 | 2293
E | 822.3 | 71060 | 152500 | 292000 | 528100 | 518200 | 531700 | 597800 | 586900 | 624400 | 738500 | 2573
F | 566.5 | 40480 | 202500 | 217800 | 444800 | 430200 | 514700 | 692500 | 579600 | 477500 | 492000 | 1750
G | 796.2 | 37370 | 71160 | 218000 | 341000 | 602000 | 634200 | 758800 | 655100 | 482100 | 658400 | 1321
H | 34.5 | 182.5 | 529.5 | 861.9 | 1724 | 2405 | 2599 | 2890 | 2876 | 2074 | 2079 | 378.6
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 628033.3333
B |  | 0.32753 | 0.64742 | 0.75187 | 1.1579 | 0.96221 | 1.2722 | 1.0718 | 1.0612 | 1.0753
C |  | 0.27387 | 0.54169 | 0.84295 | 0.93132 | 1.166 | 0.9939 | 1.1463 | 0.98466 | 1.1154
D |  | 0.12292 | 0.4046 | 0.70697 | 0.4823 | 0.83547 | 1.0109 | 0.81094 | 1.0466 | 1.1463
E |  | 0.11315 | 0.24282 | 0.46494 | 0.84088 | 0.82512 | 0.84661 | 0.95186 | 0.9345 | 0.99421
F |  | 0.064455 | 0.32244 | 0.3468 | 0.70824 | 0.685 | 0.81954 | 1.1026 | 0.92288 | 0.76031
G |  | 0.059503 | 0.11331 | 0.34712 | 0.54296 | 0.95855 | 1.0098 | 1.2082 | 1.0431 | 0.76763
H
Wavelength: 0 nm
V1P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 251.3 | 415.7 | 638 | 1355 | 1886 | 1883 | 2577 | 2597 | 2692 | 2467 | 2201 | 583.6
B | 257.9 | 23000 | 157500 | 293100 | 497900 | 335700 | 594500 | 508200 | 613200 | 651800 | 525500 | 2409
C | 284.3 | 71520 | 108600 | 307700 | 483700 | 451800 | 596000 | 568100 | 432600 | 496500 | 650700 | 2902
D | 282 | 25120 | 89640 | 199200 | 270800 | 513500 | 495800 | 684500 | 436000 | 564600 | 678400 | 2983
E | 293.9 | 44530 | 84780 | 111600 | 220300 | 558400 | 571800 | 591000 | 731700 | 594000 | 527300 | 2536
F | 105.3 | 18990 | 145000 | 194700 | 454100 | 470500 | 531500 | 540500 | 621900 | 483100 | 568300 | 2277
G | 161.6 | 19960 | 99270 | 230000 | 359500 | 480100 | 393900 | 529600 | 544800 | 612200 | 600500 | 2031
H | 60.61 | 230 | 490.6 | 831.2 | 1461 | 1495 | 2104 | 2347 | 2005 | 2276 | 2136 | 381.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 591783.3333
B |  | 0.038866 | 0.26614 | 0.49528 | 0.84136 | 0.56727 | 1.0046 | 0.85876 | 1.0362 | 1.1014
C |  | 0.12086 | 0.18351 | 0.51995 | 0.81736 | 0.76346 | 1.0071 | 0.95998 | 0.73101 | 0.83899
D |  | 0.042448 | 0.15147 | 0.33661 | 0.4576 | 0.86772 | 0.83781 | 1.1567 | 0.73676 | 0.95407
E |  | 0.075247 | 0.14326 | 0.18858 | 0.37226 | 0.94359 | 0.96623 | 0.99868 | 1.2364 | 1.0037
F |  | 0.032089 | 0.24502 | 0.32901 | 0.76734 | 0.79505 | 0.89813 | 0.91334 | 1.0509 | 0.81635
G |  | 0.033729 | 0.16775 | 0.38866 | 0.60749 | 0.81128 | 0.66562 | 0.89492 | 0.92061 | 1.0345
H
Wavelength: 0 nm
V1P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 79.77 | 122.7 | 237.2 | 501.3 | 778.7 | 1433 | 1597 | 1819 | 2199 | 2490 | 1840 | 457
B | 159.4 | 24530 | 26070 | 74160 | 134400 | 338900 | 233600 | 368000 | 594000 | 515200 | 540500 | 2739
C | 169 | 15930 | 25440 | 85770 | 111100 | 469000 | 315500 | 394900 | 428100 | 405300 | 415200 | 1889
D | 158.9 | 17680 | 68580 | 199500 | 322300 | 405900 | 368700 | 487800 | 542300 | 487900 | 587700 | 2440
E | 229 | 28320 | 75770 | 160900 | 407400 | 318600 | 471100 | 424100 | 502500 | 506900 | 538500 | 2172
F | 234.4 | 30780 | 41370 | 111900 | 369500 | 325600 | 304100 | 334600 | 378000 | 427600 | 481800 | 2196
G | 104.8 | 32580 | 67400 | 140800 | 271500 | 357500 | 397300 | 488400 | 400300 | 511700 | 529500 | 1953
H | 3.525 | 187.4 | 303.6 | 756.3 | 1192 | 1266 | 1509 | 2035 | 1920 | 1901 | 1740 | 334.8
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 515533.3333
B |  | 0.047582 | 0.050569 | 0.14385 | 0.2607 | 0.65738 | 0.45312 | 0.71382 | 1.1522 | 0.99935
C |  | 0.0309 | 0.049347 | 0.16637 | 0.2155 | 0.90974 | 0.61199 | 0.766 | 0.8304 | 0.78618
D |  | 0.034295 | 0.13303 | 0.38698 | 0.62518 | 0.78734 | 0.71518 | 0.9462 | 1.0519 | 0.9464
E |  | 0.054933 | 0.14697 | 0.3121 | 0.79025 | 0.618 | 0.91381 | 0.82264 | 0.97472 | 0.98325
F |  | 0.059705 | 0.080247 | 0.21706 | 0.71673 | 0.63158 | 0.58987 | 0.64904 | 0.73322 | 0.82943
G |  | 0.063197 | 0.13074 | 0.27312 | 0.52664 | 0.69346 | 0.77066 | 0.94737 | 0.77648 | 0.99256
H
Wavelength: 0 nm
V1P5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 68.5 | 96.92 | 258.6 | 377.7 | 598.4 | 1388 | 2372 | 3246 | 3108 | 3573 | 2390 | 543
B | 117.4 | 16050 | 20330 | 47060 | 71560 | 248200 | 453500 | 677100 | 616900 | 1063000 | 621700 | 2541
C | 146.2 | 35050 | 17360 | 26330 | 144900 | 241600 | 484200 | 737700 | 671900 | 676200 | 726000 | 3132
D | 203.2 | 24490 | 219000 | 275700 | 408400 | 514200 | 868500 | 849100 | 706500 | 802500 | 765600 | 3089
E | 256.7 | 52980 | 144300 | 302800 | 431200 | 569700 | 628500 | 696000 | 993400 | 943100 | 579200 | 3167
F | 230.8 | 35040 | 78870 | 219700 | 329300 | 532700 | 732800 | 590800 | 740300 | 853500 | 785300 | 2877
G | 145 | 20590 | 40580 | 185000 | 400500 | 437300 | 562500 | 439300 | 789400 | 621500 | 538500 | 1805
H | 31.98 | 195.3 | 372.2 | 735.9 | 1523 | 1879 | 1877 | 2076 | 2390 | 2786 | 2041 | 317.1
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 669383.3333
B |  | 0.023977 | 0.030371 | 0.070304 | 0.1069 | 0.37079 | 0.67749 | 1.0115 | 0.92159 | 1.588
C |  | 0.052362 | 0.025934 | 0.039335 | 0.21647 | 0.36093 | 0.72335 | 1.1021 | 1.0038 | 1.0102
D |  | 0.036586 | 0.32717 | 0.41187 | 0.61011 | 0.76817 | 1.2975 | 1.2685 | 1.0554 | 1.1989
E |  | 0.079147 | 0.21557 | 0.45236 | 0.64417 | 0.85108 | 0.93892 | 1.0398 | 1.4841 | 1.4089
F |  | 0.052347 | 0.11782 | 0.32821 | 0.49195 | 0.79581 | 1.0947 | 0.8826 | 1.1059 | 1.2751
G |  | 0.03076 | 0.060623 | 0.27637 | 0.59831 | 0.65329 | 0.84033 | 0.65628 | 1.1793 | 0.92847
H
Wavelength: 0 nm
V1P6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 130.4 | 279.1 | 567.3 | 1507 | 2073 | 2598 | 2590 | 2639 | 2895 | 3058 | 3026 | 894.9
B | 267.4 | 33080 | 56790 | 333400 | 341800 | 550100 | 497200 | 523700 | 569800 | 702300 | 757000 | 2640
C | 329.1 | 23270 | 80290 | 299200 | 433900 | 584000 | 671800 | 667500 | 808100 | 762300 | 771100 | 3246
D | 731.2 | 173700 | 399200 | 494000 | 607000 | 655900 | 659100 | 705100 | 594200 | 680200 | 680100 | 3269
E | 691.2 | 136800 | 485200 | 429100 | 713300 | 748600 | 692700 | 594700 | 454600 | 487400 | 816200 | 3304
F | 395.1 | 62330 | 212800 | 269800 | 485700 | 612300 | 487300 | 576100 | 723300 | 717800 | 719900 | 3185
G | 173.7 | 29060 | 295000 | 236800 | 539900 | 639000 | 631600 | 675500 | 736400 | 551800 | 733800 | 2442
H | 23.55 | 302.7 | 1123 | 1337 | 2368 | 2337 | 2359 | 2567 | 2995 | 2321 | 2603 | 463.6
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 746350
B |  | 0.044322 | 0.07609 | 0.44671 | 0.45796 | 0.73705 | 0.66618 | 0.70168 | 0.76345 | 0.94098
C |  | 0.031178 | 0.10758 | 0.40088 | 0.58136 | 0.78247 | 0.90011 | 0.89435 | 1.0827 | 1.0214
D |  | 0.23273 | 0.53487 | 0.66189 | 0.81329 | 0.87881 | 0.8831 | 0.94473 | 0.79614 | 0.91137
E |  | 0.18329 | 0.6501 | 0.57493 | 0.95572 | 1.003 | 0.92812 | 0.79681 | 0.6091 | 0.65304
F |  | 0.083513 | 0.28512 | 0.36149 | 0.65077 | 0.82039 | 0.65291 | 0.77189 | 0.96912 | 0.96175
G |  | 0.038936 | 0.39526 | 0.31728 | 0.72339 | 0.85617 | 0.84625 | 0.90507 | 0.98667 | 0.73933
H
Wavelength: 0 nm
V1P7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 53.67 | 87.33 | 85.47 | 73.83 | 127.1 | 136.3 | 184.8 | 138.1 | 219.8 | 568 | 1699 | 442.2
B | 57.28 | 58.07 | 60.81 | 107.5 | 187.4 | 293.6 | 440.9 | 409.8 | 670.5 | 2690 | 654300 | 1933
C | 112 | 180.3 | 250.9 | 504.5 | 1423 | 1955 | 2424 | 2983 | 3020 | 5741 | 576000 | 2234
D | 329.2 | 18690 | 42890 | 46060 | 251600 | 407000 | 478500 | 481900 | 587100 | 426900 | 512400 | 2255
E | 437.4 | 19620 | 40070 | 143300 | 326100 | 335200 | 555700 | 537200 | 377300 | 574700 | 485600 | 2141
F | 402.8 | 11610 | 78520 | 106600 | 337800 | 406600 | 371800 | 441900 | 404800 | 438200 | 673400 | 2366
G | 392 | 29340 | 53010 | 162800 | 292800 | 357300 | 345800 | 439300 | 365100 | 635400 | 444300 | 1427
H | 56.81 | 179.9 | 295.4 | 724.8 | 1207 | 1412 | 1498 | 1726 | 1823 | 2119 | 1835 | 245.5
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 557666.6667
B |  | 0.00010413 | 0.00010904 | 0.00019277 | 0.00033604 | 0.00052648 | 0.00079062 | 0.00073485 | 0.0012023 | 0.0048237
C |  | 0.00032331 | 0.00044991 | 0.00090466 | 0.0025517 | 0.0035057 | 0.0043467 | 0.0053491 | 0.0054154 | 0.010295
D |  | 0.033515 | 0.07691 | 0.082594 | 0.45117 | 0.72983 | 0.85804 | 0.86414 | 1.0528 | 0.76551
E |  | 0.035182 | 0.071853 | 0.25696 | 0.58476 | 0.60108 | 0.99647 | 0.9633 | 0.67657 | 1.0305
F |  | 0.020819 | 0.1408 | 0.19115 | 0.60574 | 0.72911 | 0.66671 | 0.79241 | 0.72588 | 0.78577
G |  | 0.052612 | 0.095057 | 0.29193 | 0.52504 | 0.64071 | 0.62008 | 0.78775 | 0.65469 | 1.1394
H
Autoloading range A1 - M178

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 250123_hist_sera_V1.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 1/23/2025 12:53:11 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 1/23/2025 12:53:11 PM | Session 250123_hist_sera_V1.skax started
| 1/23/2025 12:53:11 PM | Temperature | 22.8°C
| 1/23/2025 12:53:19 PM | User action | Please insert plate V1P4 (1/7)
| 1/23/2025 12:53:19 PM | Temperature | 22.9°C
| 1/23/2025 12:53:36 PM | Step Luminescence 1 started
| 1/23/2025 12:54:19 PM | Temperature | 22.9°C
| 1/23/2025 12:55:19 PM | Temperature | 23.0°C
| 1/23/2025 12:55:42 PM | Step Luminescence 1 ended
| 1/23/2025 12:55:50 PM | User action | Please insert plate V1P (2/7)
| 1/23/2025 12:56:15 PM | Step Luminescence 1 started
| 1/23/2025 12:56:19 PM | Temperature | 23.0°C
| 1/23/2025 12:56:22 PM | Calibration | Luminometric 1.21746 354769
| 1/23/2025 12:57:19 PM | Temperature | 23.0°C
| 1/23/2025 12:58:19 PM | Temperature | 23.1°C
| 1/23/2025 12:58:22 PM | Step Luminescence 1 ended
| 1/23/2025 12:58:31 PM | User action | Please insert plate V1P2 (3/7)
| 1/23/2025 12:58:56 PM | Step Luminescence 1 started
| 1/23/2025 12:59:19 PM | Temperature | 23.1°C
| 1/23/2025 1:00:19 PM | Temperature | 23.1°C
| 1/23/2025 1:01:01 PM | Step Luminescence 1 ended
| 1/23/2025 1:01:09 PM | User action | Please insert plate V1P3 (4/7)
| 1/23/2025 1:01:19 PM | Temperature | 23.1°C
| 1/23/2025 1:01:41 PM | Step Luminescence 1 started
| 1/23/2025 1:02:19 PM | Temperature | 23.2°C
| 1/23/2025 1:03:19 PM | Temperature | 23.2°C
| 1/23/2025 1:03:47 PM | Step Luminescence 1 ended
| 1/23/2025 1:03:55 PM | User action | Please insert plate V1P5 (5/7)
| 1/23/2025 1:04:19 PM | Temperature | 23.2°C
| 1/23/2025 1:04:37 PM | Step Luminescence 1 started
| 1/23/2025 1:04:45 PM | Calibration | Luminometric 1.22318 405060
| 1/23/2025 1:05:19 PM | Temperature | 23.2°C
| 1/23/2025 1:06:19 PM | Temperature | 23.2°C
| 1/23/2025 1:06:45 PM | Step Luminescence 1 ended
| 1/23/2025 1:06:53 PM | User action | Please insert plate V1P6 (6/7)
| 1/23/2025 1:07:19 PM | Temperature | 23.3°C
| 1/23/2025 1:07:22 PM | Step Luminescence 1 started
| 1/23/2025 1:08:19 PM | Temperature | 23.3°C
| 1/23/2025 1:09:19 PM | Temperature | 23.4°C
| 1/23/2025 1:09:28 PM | Step Luminescence 1 ended
| 1/23/2025 1:09:36 PM | User action | Please insert plate V1P7 (7/7)
| 1/23/2025 1:09:57 PM | Step Luminescence 1 started
| 1/23/2025 1:10:19 PM | Temperature | 23.4°C
| 1/23/2025 1:11:19 PM | Temperature | 23.5°C
| 1/23/2025 1:12:03 PM | Step Luminescence 1 ended
| 1/23/2025 1:12:03 PM | Temperature | 23.5°C
| 1/23/2025 1:12:14 PM | Session 250123_hist_sera_V1.skax ended

## Layout definitions
Name | V1P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | V1P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H