## Luminescence 1_01
Measurement results
250123_hist_sera_V2.skax
1/23/2025 1:24:20 PM
Luminescence 1
Wavelength: 0 nm
V2P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 526.5 | 1923 | 4480 | 8550 | 10310 | 9789 | 11550 | 12470 | 11470 | 10820 | 9592 | 1989
B | 1035 | 188200 | 727600 | 1981000 | 2573000 | 2388000 | 2270000 | 2854000 | 2276000 | 2744000 | 2501000 | 6868
C | 1134 | 147000 | 990700 | 2291000 | 2206000 | 2871000 | 2694000 | 2618000 | 2546000 | 2933000 | 2661000 | 8324
D | 950.5 | 123700 | 667800 | 1505000 | 2309000 | 2719000 | 2945000 | 2820000 | 2840000 | 2854000 | 2821000 | 8260
E | 722.2 | 19440 | 615200 | 1463000 | 2336000 | 2591000 | 2674000 | 2655000 | 3036000 | 2711000 | 2401000 | 8100
F | 707.2 | 120000 | 479300 | 1107000 | 2029000 | 2546000 | 2828000 | 3033000 | 2380000 | 2986000 | 2862000 | 7728
G | 425.1 | 55510 | 630800 | 1313000 | 2074000 | 2434000 | 2912000 | 2793000 | 2981000 | 2799000 | 2898000 | 5866
H | 201.6 | 521.8 | 2787 | 4301 | 8005 | 8532 | 10040 | 9677 | 10300 | 10390 | 9748 | 1428
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2690666.6667
B |  | 0.069945 | 0.27042 | 0.73625 | 0.95627 | 0.88751 | 0.84366 | 1.0607 | 0.84589 | 1.0198
C |  | 0.054633 | 0.3682 | 0.85146 | 0.81987 | 1.067 | 1.0012 | 0.97299 | 0.94623 | 1.0901
D |  | 0.045974 | 0.24819 | 0.55934 | 0.85815 | 1.0105 | 1.0945 | 1.0481 | 1.0555 | 1.0607
E |  | 0.007225 | 0.22864 | 0.54373 | 0.86819 | 0.96296 | 0.99381 | 0.98674 | 1.1283 | 1.0076
F |  | 0.044599 | 0.17813 | 0.41142 | 0.75409 | 0.94623 | 1.051 | 1.1272 | 0.88454 | 1.1098
G |  | 0.020631 | 0.23444 | 0.48798 | 0.77081 | 0.90461 | 1.0823 | 1.038 | 1.1079 | 1.0403
H
Wavelength: 0 nm
V2P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 386.5 | 812.9 | 1566 | 4852 | 9309 | 14840 | 17730 | 16240 | 18140 | 16650 | 14110 | 3665
B | 443.1 | 26990 | 147400 | 852700 | 1903000 | 3140000 | 3825000 | 3478000 | 4357000 | 4173000 | 4068000 | 15340
C | 509.5 | 39420 | 232200 | 1215000 | 2580000 | 3218000 | 4016000 | 4286000 | 4454000 | 4311000 | 4268000 | 17020
D | 422.4 | 18710 | 37070 | 723900 | 2200000 | 3102000 | 3101000 | 4239000 | 3996000 | 3969000 | 4465000 | 16640
E | 379 | 16780 | 124900 | 533100 | 2010000 | 3191000 | 4133000 | 4053000 | 4404000 | 4096000 | 4120000 | 15920
F | 401 | 36850 | 335400 | 1414000 | 2640000 | 3779000 | 3919000 | 3983000 | 4200000 | 4288000 | 4291000 | 15340
G | 272.4 | 25870 | 154200 | 1260000 | 2189000 | 3125000 | 3858000 | 4249000 | 4297000 | 3530000 | 3278000 | 9204
H | 120.6 | 318.1 | 1789 | 4254 | 9593 | 12920 | 17880 | 21620 | 19660 | 13710 | 11480 | 1766
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4081666.6667
B |  | 0.0066125 | 0.036113 | 0.20891 | 0.46623 | 0.76929 | 0.93712 | 0.8521 | 1.0675 | 1.0224
C |  | 0.0096578 | 0.056889 | 0.29767 | 0.63209 | 0.7884 | 0.98391 | 1.0501 | 1.0912 | 1.0562
D |  | 0.0045839 | 0.0090821 | 0.17735 | 0.539 | 0.75998 | 0.75974 | 1.0385 | 0.97901 | 0.9724
E |  | 0.0041111 | 0.0306 | 0.13061 | 0.49245 | 0.78179 | 1.0126 | 0.99298 | 1.079 | 1.0035
F |  | 0.0090282 | 0.082172 | 0.34643 | 0.64679 | 0.92585 | 0.96015 | 0.97583 | 1.029 | 1.0506
G |  | 0.0063381 | 0.037779 | 0.3087 | 0.5363 | 0.76562 | 0.9452 | 1.041 | 1.0528 | 0.86484
H
Wavelength: 0 nm
V2P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 296.5 | 548.5 | 732.9 | 2073 | 6577 | 11930 | 14880 | 17680 | 21410 | 21500 | 19460 | 5342
B | 328.2 | 20510 | 34070 | 138700 | 1040000 | 2518000 | 3134000 | 3715000 | 4385000 | 4064000 | 4904000 | 17880
C | 442 | 30940 | 30250 | 109600 | 885100 | 2316000 | 3282000 | 3932000 | 4229000 | 4700000 | 4339000 | 18790
D | 560.9 | 19400 | 315500 | 1224000 | 2608000 | 3471000 | 3830000 | 4464000 | 4266000 | 4789000 | 4909000 | 19140
E | 517.5 | 58000 | 260500 | 1252000 | 2622000 | 3472000 | 3774000 | 4132000 | 4376000 | 4425000 | 4194000 | 17790
F | 325.9 | 17570 | 50880 | 340500 | 1746000 | 2964000 | 3674000 | 3876000 | 4454000 | 4375000 | 4721000 | 15970
G | 140.6 | 27330 | 19750 | 251600 | 1086000 | 3217000 | 3615000 | 3839000 | 3948000 | 4157000 | 3494000 | 9677
H | 91.04 | 262.9 | 562.4 | 1583 | 5817 | 10540 | 12620 | 15310 | 15820 | 14870 | 12300 | 1874
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4426833.3333
B |  | 0.0046331 | 0.0076962 | 0.031332 | 0.23493 | 0.5688 | 0.70796 | 0.8392 | 0.99055 | 0.91804
C |  | 0.0069892 | 0.0068333 | 0.024758 | 0.19994 | 0.52317 | 0.74139 | 0.88822 | 0.95531 | 1.0617
D |  | 0.0043824 | 0.07127 | 0.2765 | 0.58913 | 0.78408 | 0.86518 | 1.0084 | 0.96367 | 1.0818
E |  | 0.013102 | 0.058846 | 0.28282 | 0.5923 | 0.78431 | 0.85253 | 0.9334 | 0.98852 | 0.99959
F |  | 0.003969 | 0.011494 | 0.076917 | 0.39441 | 0.66955 | 0.82994 | 0.87557 | 1.0061 | 0.98829
G |  | 0.0061737 | 0.0044614 | 0.056835 | 0.24532 | 0.7267 | 0.81661 | 0.86721 | 0.89183 | 0.93905
H
Wavelength: 0 nm
V2P4
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 163.4 | 282.1 | 695 | 2492 | 6677 | 12470 | 15000 | 16110 | 17980 | 17660 | 13200 | 3865
B | 185.5 | 10180 | 24880 | 358800 | 1477000 | 3300000 | 3684000 | 4219000 | 4661000 | 4720000 | 5031000 | 15420
C | 243.6 | 12360 | 23850 | 365100 | 1372000 | 3358000 | 3893000 | 4655000 | 4157000 | 4077000 | 4523000 | 18130
D | 261.3 | 9516 | 42930 | 218900 | 1143000 | 2666000 | 3785000 | 4681000 | 4363000 | 4685000 | 4707000 | 17990
E | 296.2 | 35810 | 25950 | 415100 | 1516000 | 2940000 | 3873000 | 4731000 | 5371000 | 5096000 | 4385000 | 17340
F | 179.2 | 8242 | 53810 | 787500 | 1893000 | 3368000 | 4282000 | 4377000 | 4297000 | 5041000 | 4504000 | 17160
G | 164.7 | 17890 | 65960 | 569200 | 1921000 | 3575000 | 4308000 | 4621000 | 4552000 | 4138000 | 4237000 | 11470
H | 164.5 | 338.6 | 991.2 | 2603 | 7693 | 12820 | 15290 | 17080 | 16110 | 16550 | 13790 | 2175
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4564500
B |  | 0.0022303 | 0.0054508 | 0.078607 | 0.32358 | 0.72297 | 0.8071 | 0.92431 | 1.0211 | 1.0341
C |  | 0.0027079 | 0.0052251 | 0.079987 | 0.30058 | 0.73568 | 0.85289 | 1.0198 | 0.91072 | 0.8932
D |  | 0.0020848 | 0.0094052 | 0.047957 | 0.25041 | 0.58407 | 0.82923 | 1.0255 | 0.95585 | 1.0264
E |  | 0.0078453 | 0.0056852 | 0.090941 | 0.33213 | 0.6441 | 0.8485 | 1.0365 | 1.1767 | 1.1164
F |  | 0.0018057 | 0.011789 | 0.17253 | 0.41472 | 0.73787 | 0.93811 | 0.95892 | 0.9414 | 1.1044
G |  | 0.0039194 | 0.014451 | 0.1247 | 0.42086 | 0.78322 | 0.94381 | 1.0124 | 0.99726 | 0.90656
H
Wavelength: 0 nm
V2P5
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 185.7 | 271.1 | 411.1 | 837.8 | 1945 | 5593 | 9984 | 12950 | 17000 | 16670 | 13130 | 3320
B | 243.5 | 13330 | 12650 | 35710 | 99800 | 833100 | 1958000 | 3036000 | 3630000 | 3384000 | 3668000 | 12070
C | 358.4 | 12990 | 14270 | 22940 | 209500 | 1047000 | 1769000 | 3121000 | 3576000 | 3711000 | 3674000 | 14390
D | 521.6 | 41000 | 556500 | 1897000 | 2669000 | 3234000 | 4106000 | 3713000 | 4434000 | 3953000 | 3605000 | 14200
E | 419.3 | 34540 | 337400 | 1567000 | 2882000 | 3084000 | 3208000 | 3732000 | 3512000 | 3453000 | 3330000 | 13750
F | 294 | 22930 | 143300 | 1203000 | 2268000 | 3168000 | 3559000 | 3098000 | 3601000 | 3390000 | 3288000 | 12810
G | 177.9 | 23940 | 178300 | 860300 | 2132000 | 2755000 | 3059000 | 3711000 | 3573000 | 3365000 | 2988000 | 9197
H | 111.5 | 302.9 | 1445 | 3838 | 8452 | 10990 | 13060 | 15850 | 14280 | 13610 | 10890 | 1791
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3425500
B |  | 0.0038914 | 0.0036929 | 0.010425 | 0.029134 | 0.24321 | 0.5716 | 0.88629 | 1.0597 | 0.98788
C |  | 0.0037921 | 0.0041658 | 0.0066968 | 0.061159 | 0.30565 | 0.51642 | 0.91111 | 1.0439 | 1.0833
D |  | 0.011969 | 0.16246 | 0.55379 | 0.77916 | 0.9441 | 1.1987 | 1.0839 | 1.2944 | 1.154
E |  | 0.010083 | 0.098497 | 0.45745 | 0.84134 | 0.90031 | 0.93651 | 1.0895 | 1.0253 | 1.008
F |  | 0.0066939 | 0.041833 | 0.35119 | 0.66209 | 0.92483 | 1.039 | 0.90439 | 1.0512 | 0.98964
G |  | 0.0069888 | 0.052051 | 0.25115 | 0.62239 | 0.80426 | 0.89301 | 1.0833 | 1.0431 | 0.98234
H
Wavelength: 0 nm
V2P6
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 299.4 | 512.4 | 1161 | 3030 | 8112 | 11460 | 16980 | 17780 | 16800 | 14260 | 9913 | 3152
B | 525.6 | 13350 | 31000 | 281800 | 1976000 | 2866000 | 3559000 | 4102000 | 3422000 | 3050000 | 2934000 | 11890
C | 857.2 | 33920 | 51270 | 465000 | 1825000 | 2959000 | 3034000 | 3495000 | 4282000 | 3384000 | 3335000 | 14160
D | 1482 | 328900 | 1548000 | 2832000 | 3626000 | 3945000 | 3979000 | 4319000 | 3670000 | 3125000 | 2975000 | 13830
E | 1417 | 239000 | 1618000 | 2829000 | 3949000 | 3897000 | 3904000 | 3913000 | 3604000 | 3224000 | 3107000 | 11850
F | 730.8 | 47650 | 837800 | 2062000 | 3300000 | 3894000 | 3737000 | 3827000 | 3738000 | 3361000 | 3005000 | 11250
G | 574.6 | 78260 | 820900 | 1845000 | 2898000 | 3238000 | 3063000 | 3298000 | 2701000 | 2197000 | 2365000 | 7339
H | 235.7 | 825.5 | 4266 | 7382 | 13050 | 12160 | 13780 | 14730 | 11500 | 7799 | 8877 | 1050
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2953500
B |  | 0.0045201 | 0.010496 | 0.095412 | 0.66904 | 0.97037 | 1.205 | 1.3889 | 1.1586 | 1.0327
C |  | 0.011485 | 0.017359 | 0.15744 | 0.61791 | 1.0019 | 1.0273 | 1.1833 | 1.4498 | 1.1458
D |  | 0.11136 | 0.52412 | 0.95886 | 1.2277 | 1.3357 | 1.3472 | 1.4623 | 1.2426 | 1.0581
E |  | 0.080921 | 0.54782 | 0.95785 | 1.3371 | 1.3195 | 1.3218 | 1.3249 | 1.2202 | 1.0916
F |  | 0.016133 | 0.28366 | 0.69815 | 1.1173 | 1.3184 | 1.2653 | 1.2958 | 1.2656 | 1.138
G |  | 0.026497 | 0.27794 | 0.62468 | 0.98121 | 1.0963 | 1.0371 | 1.1166 | 0.91451 | 0.74386
H
Wavelength: 0 nm
V2P7
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 125.8 | 115.2 | 157.2 | 254.6 | 387.6 | 524.5 | 693.5 | 752.7 | 943.5 | 2806 | 9271 | 2949
B | 63.49 | 171.6 | 269 | 594.3 | 1205 | 1525 | 2204 | 2588 | 2892 | 12360 | 3004000 | 11060
C | 145.6 | 287.7 | 567.4 | 1899 | 7312 | 10600 | 15580 | 15960 | 15630 | 23640 | 3055000 | 12500
D | 207.8 | 23390 | 26510 | 148100 | 1136000 | 1886000 | 2999000 | 2672000 | 3157000 | 2876000 | 2868000 | 11490
E | 123.1 | 9642 | 19130 | 234000 | 1231000 | 1772000 | 2838000 | 2821000 | 2786000 | 3204000 | 2647000 | 11100
F | 176.9 | 11150 | 108400 | 472700 | 1227000 | 2451000 | 2208000 | 2775000 | 2791000 | 2681000 | 2565000 | 10770
G | 112.5 | 11480 | 80730 | 443900 | 1251000 | 1971000 | 2438000 | 2458000 | 2506000 | 2151000 | 2722000 | 8227
H | 25.36 | 160.1 | 943.5 | 1917 | 5165 | 7919 | 9394 | 10370 | 10320 | 7823 | 9758 | 1369
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2810166.6667
B
C
D |  | 0.0083233 | 0.0094336 | 0.052702 | 0.40425 | 0.67113 | 1.0672 | 0.95083 | 1.1234 | 1.0234
E |  | 0.0034311 | 0.0068074 | 0.083269 | 0.43805 | 0.63057 | 1.0099 | 1.0039 | 0.9914 | 1.1401
F |  | 0.0039677 | 0.038574 | 0.16821 | 0.43663 | 0.87219 | 0.78572 | 0.98749 | 0.99318 | 0.95404
G |  | 0.0040852 | 0.028728 | 0.15796 | 0.44517 | 0.70138 | 0.86756 | 0.87468 | 0.89176 | 0.76544
H
Autoloading range A1 - M178

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 250123_hist_sera_V2.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 1/23/2025 1:24:20 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 1/23/2025 1:24:20 PM | Session 250123_hist_sera_V2.skax started
| 1/23/2025 1:24:20 PM | Temperature | 23.4°C
| 1/23/2025 1:24:28 PM | User action | Please insert plate V2P1 (1/7)
| 1/23/2025 1:24:42 PM | Step Luminescence 1 started
| 1/23/2025 1:24:49 PM | Calibration | Luminometric 1.2322 525548
| 1/23/2025 1:25:19 PM | Temperature | 23.5°C
| 1/23/2025 1:26:19 PM | Temperature | 23.5°C
| 1/23/2025 1:26:50 PM | Step Luminescence 1 ended
| 1/23/2025 1:26:58 PM | User action | Please insert plate V2P2 (2/7)
| 1/23/2025 1:27:19 PM | Temperature | 23.6°C
| 1/23/2025 1:27:20 PM | Step Luminescence 1 started
| 1/23/2025 1:28:19 PM | Temperature | 23.6°C
| 1/23/2025 1:29:19 PM | Temperature | 23.6°C
| 1/23/2025 1:29:30 PM | Step Luminescence 1 ended
| 1/23/2025 1:29:38 PM | User action | Please insert plate V2P3 (3/7)
| 1/23/2025 1:30:06 PM | Step Luminescence 1 started
| 1/23/2025 1:30:19 PM | Temperature | 23.6°C
| 1/23/2025 1:31:19 PM | Temperature | 23.7°C
| 1/23/2025 1:32:15 PM | Step Luminescence 1 ended
| 1/23/2025 1:32:19 PM | Temperature | 23.7°C
| 1/23/2025 1:32:23 PM | User action | Please insert plate V2P4 (4/7)
| 1/23/2025 1:32:46 PM | Step Luminescence 1 started
| 1/23/2025 1:32:53 PM | Calibration | Luminometric 1.24227 573893
| 1/23/2025 1:33:19 PM | Temperature | 23.7°C
| 1/23/2025 1:34:19 PM | Temperature | 23.8°C
| 1/23/2025 1:34:57 PM | Step Luminescence 1 ended
| 1/23/2025 1:35:05 PM | User action | Please insert plate V2P5 (5/7)
| 1/23/2025 1:35:19 PM | Temperature | 23.8°C
| 1/23/2025 1:35:27 PM | Step Luminescence 1 started
| 1/23/2025 1:36:19 PM | Temperature | 23.8°C
| 1/23/2025 1:37:19 PM | Temperature | 23.8°C
| 1/23/2025 1:37:36 PM | Step Luminescence 1 ended
| 1/23/2025 1:37:45 PM | User action | Please insert plate V2P6 (6/7)
| 1/23/2025 1:38:01 PM | Step Luminescence 1 started
| 1/23/2025 1:38:19 PM | Temperature | 23.9°C
| 1/23/2025 1:39:19 PM | Temperature | 23.9°C
| 1/23/2025 1:40:10 PM | Step Luminescence 1 ended
| 1/23/2025 1:40:18 PM | User action | Please insert plate V2P7 (7/7)
| 1/23/2025 1:40:19 PM | Temperature | 23.9°C
| 1/23/2025 1:40:37 PM | Step Luminescence 1 started
| 1/23/2025 1:40:44 PM | Calibration | Luminometric 1.24878 621013
| 1/23/2025 1:41:19 PM | Temperature | 23.9°C
| 1/23/2025 1:42:19 PM | Temperature | 24.0°C
| 1/23/2025 1:42:45 PM | Step Luminescence 1 ended
| 1/23/2025 1:42:45 PM | Temperature | 24.0°C
| 1/23/2025 1:42:55 PM | Session 250123_hist_sera_V2.skax ended

## Layout definitions
Name | V2P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | V2P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P4
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P5
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P6
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P7
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H