## Luminescence 1_01
Measurement results
250123_mAb.skax
1/23/2025 2:17:28 PM
Luminescence 1
Wavelength: 0 nm
mAb_V1P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 123.8 | 193.9 | 338.7 | 988 | 2421 | 4435 | 7238 | 10430 | 11500 | 10870 | 8581 | 2624
B | 190.9 | 9900 | 23180 | 90180 | 348400 | 922600 | 1787000 | 2604000 | 2870000 | 2851000 | 2441000 | 9758
C | 213.8 | 33420 | 30190 | 53240 | 309700 | 1106000 | 2021000 | 2507000 | 2567000 | 2686000 | 2357000 | 11110
D | 258.7 | 14650 | 15250 | 284300 | 1223000 | 1979000 | 2289000 | 2290000 | 2756000 | 2509000 | 2326000 | 10380
E | 210.2 | 31550 | 39140 | 157300 | 874700 | 1831000 | 1931000 | 2455000 | 2575000 | 2332000 | 2404000 | 10340
F | 214.3 | 14950 | 25200 | 44670 | 1029000 | 1604000 | 2132000 | 2024000 | 2302000 | 2223000 | 1994000 | 8038
G | 147.8 | 14740 | 28220 | 106900 | 848400 | 1577000 | 1532000 | 2211000 | 2437000 | 2236000 | 1931000 | 6355
H | 69.02 | 162.1 | 397.6 | 1038 | 3957 | 6153 | 6415 | 8941 | 8876 | 9212 | 7576 | 1592
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
mAb_V1P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 143.1 | 405.5 | 588.7 | 1003 | 2734 | 5468 | 8751 | 9843 | 9721 | 8776 | 7815 | 2019
B | 225.2 | 41550 | 62460 | 41470 | 535100 | 1109000 | 2004000 | 2142000 | 2056000 | 1863000 | 2052000 | 7324
C | 206.4 | 10960 | 27370 | 45120 | 454300 | 1338000 | 1778000 | 2284000 | 2366000 | 2359000 | 2000000 | 8692
D | 258.3 | 19270 | 64670 | 42660 | 69490 | 310500 | 1276000 | 1604000 | 1923000 | 1911000 | 1863000 | 8219
E | 342 | 23540 | 27750 | 29080 | 36100 | 368600 | 1031000 | 1525000 | 2308000 | 2068000 | 2198000 | 8806
F | 683.2 | 88730 | 785500 | 1916000 | 2434000 | 2430000 | 2176000 | 2192000 | 2165000 | 2126000 | 1958000 | 7863
G | 470.6 | 106700 | 855800 | 2067000 | 2177000 | 2055000 | 1785000 | 1764000 | 1892000 | 2096000 | 1819000 | 5610
H | 193.8 | 740.2 | 3912 | 7057 | 8268 | 8557 | 7514 | 7947 | 8247 | 7729 | 7267 | 992.2
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
mAb_V1P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 45.04 | 66.08 | 83.89 | 97.41 | 131.7 | 230.7 | 383.5 | 650.3 | 894.8 | 2584 | 23890 | 2341
B | 29.64 | 54.32 | 146.9 | 179.9 | 368.9 | 523.6 | 882.2 | 1424 | 2083 | 10950 | 2263000 | 7482
C | 35.92 | 167.3 | 234.1 | 422.5 | 958.3 | 3448 | 6216 | 8923 | 9992 | 16580 | 1837000 | 7600
D | 127.2 | 32800 | 20200 | 23040 | 95360 | 351700 | 1103000 | 1642000 | 1654000 | 1922000 | 1934000 | 8015
E | 130.7 | 17210 | 21090 | 18030 | 72840 | 353200 | 956400 | 1652000 | 1547000 | 2224000 | 1626000 | 8963
F | 71.6 | 16990 | 25520 | 17120 | 22200 | 45490 | 594400 | 1604000 | 1500000 | 1814000 | 1955000 | 9065
G | 128.7 | 13870 | 24490 | 25450 | 37050 | 83310 | 468900 | 1271000 | 1574000 | 1662000 | 1654000 | 5885
H | 44.87 | 84.4 | 118.1 | 138.2 | 372.6 | 695.4 | 1840 | 4450 | 5385 | 6167 | 5533 | 933.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
mAb_V2P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 905.3 | 2509 | 2705 | 2456 | 3244 | 3512 | 4216 | 4319 | 3491 | 2637 | 2057 | 738
B | 2537 | 633700 | 573300 | 518700 | 469700 | 468600 | 701800 | 691400 | 640300 | 552500 | 606800 | 2902
C | 2795 | 664000 | 519000 | 637800 | 585900 | 594800 | 615900 | 517000 | 579200 | 542800 | 432700 | 2378
D | 2472 | 577400 | 561100 | 567100 | 712100 | 732000 | 579300 | 569800 | 564800 | 812500 | 696800 | 2837
E | 1817 | 343000 | 591800 | 643800 | 559300 | 620500 | 522000 | 622400 | 817700 | 577300 | 590300 | 2465
F | 1586 | 386300 | 325200 | 456100 | 604800 | 588400 | 574500 | 725700 | 554400 | 552300 | 405700 | 2179
G | 1045 | 371600 | 602100 | 622200 | 449200 | 569000 | 674100 | 438100 | 706700 | 636600 | 600300 | 1605
H | 337.5 | 1463 | 2150 | 2095 | 1589 | 2198 | 2566 | 1867 | 2491 | 2536 | 2078 | 358.1
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
mAb_V2P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 127.3 | 175.4 | 330.5 | 273.9 | 881.3 | 1651 | 1828 | 2613 | 2506 | 2445 | 2016 | 423
B | 119 | 23630 | 44690 | 19870 | 149900 | 447200 | 420800 | 475700 | 579400 | 552700 | 561900 | 1950
C | 160.7 | 30240 | 42580 | 36740 | 181100 | 199100 | 554200 | 850200 | 619800 | 682600 | 636100 | 2472
D | 150.4 | 15700 | 18240 | 26080 | 25520 | 27980 | 319800 | 591200 | 525800 | 601900 | 641000 | 2666
E | 195.4 | 18730 | 36380 | 39360 | 66910 | 62300 | 248200 | 503900 | 620800 | 552800 | 619200 | 2520
F | 173.9 | 27150 | 113000 | 592400 | 668900 | 560500 | 654800 | 564700 | 648600 | 514900 | 485500 | 2104
G | 155.2 | 28000 | 165800 | 608800 | 678300 | 816900 | 574100 | 600200 | 745100 | 880400 | 548800 | 1716
H | 118.8 | 292.1 | 938.9 | 2251 | 2969 | 3124 | 2461 | 2409 | 3507 | 3217 | 2240 | 330.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Wavelength: 0 nm
mAb_V2P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 96.94 | 213.5 | 173.8 | 164.8 | 222 | 215.9 | 164.1 | 119.1 | 213.3 | 432.1 | 1695 | 597.1
B | 119.2 | 409.2 | 542.3 | 502 | 374 | 448 | 541.7 | 585 | 688.9 | 2884 | 633200 | 2667
C | 485.7 | 2565 | 3810 | 4098 | 3968 | 3754 | 3211 | 4076 | 3930 | 5525 | 549300 | 2664
D | 2071 | 496900 | 699200 | 777900 | 632500 | 741800 | 581300 | 646700 | 654400 | 637700 | 644600 | 2844
E | 1851 | 728400 | 662300 | 685300 | 822600 | 615500 | 835000 | 771200 | 817200 | 762500 | 841000 | 3192
F | 692.4 | 30190 | 24220 | 33880 | 40380 | 64090 | 209800 | 311800 | 412600 | 599400 | 697000 | 2959
G | 249.7 | 38960 | 27810 | 22590 | 38660 | 75260 | 73590 | 334400 | 479800 | 380400 | 693800 | 2514
H | 111.4 | 247.7 | 204.4 | 210.6 | 372.3 | 422.1 | 455.7 | 1385 | 1840 | 1760 | 2131 | 341.1
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Autoloading range A1 - M153

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 250123_mAb.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 1/23/2025 2:17:28 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 1/23/2025 2:17:28 PM | Session 250123_mAb.skax started
| 1/23/2025 2:17:28 PM | Temperature | 24.1°C
| 1/23/2025 2:17:36 PM | User action | Please insert plate mAb_V1P1 (1/6)
| 1/23/2025 2:17:52 PM | Step Luminescence 1 started
| 1/23/2025 2:17:59 PM | Calibration | Luminometric 1.25206 844453
| 1/23/2025 2:18:19 PM | Temperature | 24.1°C
| 1/23/2025 2:19:19 PM | Temperature | 24.2°C
| 1/23/2025 2:19:59 PM | Step Luminescence 1 ended
| 1/23/2025 2:20:07 PM | User action | Please insert plate mAb_V1P2 (2/6)
| 1/23/2025 2:20:19 PM | Temperature | 24.2°C
| 1/23/2025 2:20:31 PM | Step Luminescence 1 started
| 1/23/2025 2:21:19 PM | Temperature | 24.2°C
| 1/23/2025 2:22:19 PM | Temperature | 24.2°C
| 1/23/2025 2:22:37 PM | Step Luminescence 1 ended
| 1/23/2025 2:22:45 PM | User action | Please insert plate mAb_V1P3 (3/6)
| 1/23/2025 2:23:19 PM | Temperature | 24.2°C
| 1/23/2025 2:24:19 PM | Temperature | 24.2°C
| 1/23/2025 2:25:04 PM | Step Luminescence 1 started
| 1/23/2025 2:25:19 PM | Temperature | 24.2°C
| 1/23/2025 2:26:19 PM | Temperature | 24.2°C
| 1/23/2025 2:27:09 PM | Step Luminescence 1 ended
| 1/23/2025 2:27:17 PM | User action | Please insert plate mAb_V2P1 (4/6)
| 1/23/2025 2:27:19 PM | Temperature | 24.2°C
| 1/23/2025 2:27:59 PM | Step Luminescence 1 started
| 1/23/2025 2:28:06 PM | Calibration | Luminometric 1.25658 905162
| 1/23/2025 2:28:19 PM | Temperature | 24.2°C
| 1/23/2025 2:29:19 PM | Temperature | 24.3°C
| 1/23/2025 2:30:06 PM | Step Luminescence 1 ended
| 1/23/2025 2:30:15 PM | User action | Please insert plate mAb_V2P2 (5/6)
| 1/23/2025 2:30:19 PM | Temperature | 24.3°C
| 1/23/2025 2:30:37 PM | Step Luminescence 1 started
| 1/23/2025 2:31:19 PM | Temperature | 24.3°C
| 1/23/2025 2:32:19 PM | Temperature | 24.3°C
| 1/23/2025 2:32:42 PM | Step Luminescence 1 ended
| 1/23/2025 2:32:50 PM | User action | Please insert plate mAb_V2P3 (6/6)
| 1/23/2025 2:33:15 PM | Step Luminescence 1 started
| 1/23/2025 2:33:19 PM | Temperature | 24.3°C
| 1/23/2025 2:34:19 PM | Temperature | 24.3°C
| 1/23/2025 2:35:19 PM | Temperature | 24.3°C
| 1/23/2025 2:35:21 PM | Step Luminescence 1 ended
| 1/23/2025 2:35:21 PM | Temperature | 24.3°C
| 1/23/2025 2:35:31 PM | Session 250123_mAb.skax ended

## Layout definitions
Name | mAb_V1P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | mAb_V1P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | mAb_V1P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | mAb_V2P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | mAb_V2P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | mAb_V2P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H