## Luminescence 1_01
Measurement results
25.01.30_mAbV1-3.skax
1/30/2025 1:52:45 PM
Luminescence 1
Wavelength: 0 nm
V1P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 395.8 | 1004 | 1017 | 1186 | 1221 | 1356 | 1724 | 1721 | 1306 | 1283 | 1184 | 355.3
B | 1091 | 284200 | 193700 | 232700 | 211900 | 194100 | 249300 | 269900 | 189900 | 240200 | 282100 | 1105
C | 1305 | 286400 | 337600 | 283000 | 232700 | 353000 | 274400 | 215600 | 277200 | 360200 | 319300 | 1144
D | 1367 | 366300 | 260900 | 298000 | 378800 | 341000 | 315300 | 268500 | 207900 | 178100 | 361900 | 1189
E | 1096 | 244100 | 252800 | 236900 | 284500 | 221700 | 399000 | 274500 | 274100 | 471800 | 297200 | 1036
F | 688.2 | 140400 | 241900 | 161600 | 209200 | 291300 | 228000 | 174700 | 248100 | 232900 | 221100 | 794.6
G | 400.2 | 85140 | 183300 | 318900 | 263100 | 331800 | 298500 | 242600 | 181700 | 251500 | 216200 | 635.3
H | 151.4 | 448.6 | 829.6 | 1175 | 968.5 | 1292 | 1019 | 1064 | 720 | 808.2 | 746.5 | 181.7
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 282966.6667
B |  | 1.0044 | 0.68453 | 0.82236 | 0.74885 | 0.68595 | 0.88102 | 0.95382 | 0.6711 | 0.84886
C |  | 1.0121 | 1.1931 | 1.0001 | 0.82236 | 1.2475 | 0.96973 | 0.76193 | 0.97962 | 1.2729
D |  | 1.2945 | 0.92202 | 1.0531 | 1.3387 | 1.2051 | 1.1143 | 0.94888 | 0.73472 | 0.6294
E |  | 0.86265 | 0.89339 | 0.8372 | 1.0054 | 0.78348 | 1.4101 | 0.97008 | 0.96867 | 1.6673
F |  | 0.49617 | 0.85487 | 0.57109 | 0.73931 | 1.0294 | 0.80575 | 0.61739 | 0.87678 | 0.82307
G |  | 0.30088 | 0.64778 | 1.127 | 0.92979 | 1.1726 | 1.0549 | 0.85734 | 0.64213 | 0.8888
H
Wavelength: 0 nm
V1P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 79.07 | 106.9 | 157.6 | 200.4 | 384.1 | 815.8 | 1047 | 930.9 | 1207 | 1314 | 862.5 | 381.4
B | 258.6 | 16110 | 20980 | 24680 | 59490 | 230300 | 247800 | 227700 | 237100 | 353500 | 162700 | 900
C | 253.3 | 27790 | 22240 | 24690 | 35260 | 178100 | 334200 | 196500 | 297200 | 319100 | 353300 | 1578
D | 244.2 | 31350 | 15410 | 23590 | 31370 | 76940 | 150700 | 190600 | 246200 | 244600 | 188200 | 1011
E | 188 | 37590 | 33700 | 21560 | 33410 | 59300 | 210500 | 301100 | 438200 | 328700 | 285100 | 1225
F | 288.1 | 37780 | 72580 | 240800 | 230700 | 321300 | 252900 | 211700 | 302700 | 325900 | 271800 | 1006
G | 377.9 | 36690 | 86110 | 293500 | 389200 | 367300 | 371200 | 192000 | 185200 | 294600 | 361700 | 895.1
H | 49 | 215.8 | 646.9 | 892.4 | 1628 | 1514 | 1352 | 985.7 | 799.3 | 1095 | 1216 | 173.5
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 270466.6667
B |  | 0.059564 | 0.07757 | 0.09125 | 0.21995 | 0.85149 | 0.91619 | 0.84188 | 0.87663 | 1.307
C |  | 0.10275 | 0.082228 | 0.091287 | 0.13037 | 0.65849 | 1.2356 | 0.72652 | 1.0988 | 1.1798
D |  | 0.11591 | 0.056976 | 0.08722 | 0.11598 | 0.28447 | 0.55719 | 0.70471 | 0.91028 | 0.90436
E |  | 0.13898 | 0.1246 | 0.079714 | 0.12353 | 0.21925 | 0.77828 | 1.1133 | 1.6202 | 1.2153
F |  | 0.13968 | 0.26835 | 0.89031 | 0.85297 | 1.1879 | 0.93505 | 0.78272 | 1.1192 | 1.205
G |  | 0.13565 | 0.31838 | 1.0852 | 1.439 | 1.358 | 1.3724 | 0.70988 | 0.68474 | 1.0892
H
Wavelength: 0 nm
V1P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 36.18 | 133.8 | 78.77 | 84.33 | 135.1 | 150.2 | 100.5 | 88.93 | 117.5 | 308.7 | 907.7 | 318.1
B | 76.36 | 194 | 261.9 | 231.4 | 239.7 | 408 | 297.1 | 306.1 | 354.3 | 1542 | 275500 | 765.5
C | 214 | 976.3 | 1389 | 1639 | 1446 | 1323 | 1470 | 1734 | 1477 | 2437 | 232400 | 1020
D | 846.3 | 236100 | 200800 | 316400 | 261900 | 190200 | 287800 | 296600 | 217400 | 263300 | 344500 | 1150
E | 978.2 | 206100 | 349900 | 313100 | 403700 | 221900 | 246400 | 371600 | 338000 | 322800 | 338000 | 1264
F | 402 | 16040 | 41470 | 27580 | 61220 | 53980 | 80090 | 91960 | 214400 | 322400 | 242700 | 1073
G | 334.2 | 31620 | 38280 | 37420 | 57860 | 62280 | 81850 | 184100 | 306600 | 250300 | 346900 | 981.8
H | 50.46 | 219.1 | 261.6 | 259.6 | 319.5 | 399 | 413.4 | 778 | 1069 | 1081 | 1372 | 238.7
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 296666.6667
B |  | 0.00065393 | 0.00088281 | 0.00078 | 0.00080798 | 0.0013753 | 0.0010015 | 0.0010318 | 0.0011943 | 0.0051978
C |  | 0.0032909 | 0.004682 | 0.0055247 | 0.0048742 | 0.0044596 | 0.0049551 | 0.0058449 | 0.0049787 | 0.0082146
D |  | 0.79584 | 0.67685 | 1.0665 | 0.88281 | 0.64112 | 0.97011 | 0.99978 | 0.73281 | 0.88753
E |  | 0.69472 | 1.1794 | 1.0554 | 1.3608 | 0.74798 | 0.83056 | 1.2526 | 1.1393 | 1.0881
F |  | 0.054067 | 0.13979 | 0.092966 | 0.20636 | 0.18196 | 0.26997 | 0.30998 | 0.7227 | 1.0867
G |  | 0.10658 | 0.12903 | 0.12613 | 0.19503 | 0.20993 | 0.2759 | 0.62056 | 1.0335 | 0.84371
H
Wavelength: 0 nm
V2P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 974.3 | 2828 | 3656 | 4165 | 4546 | 3422 | 3772 | 3950 | 3484 | 3467 | 3435 | 931.1
B | 2489 | 703600 | 827500 | 1023000 | 939200 | 623300 | 797300 | 916200 | 741900 | 735500 | 980600 | 3685
C | 2989 | 633400 | 744400 | 777000 | 1096000 | 576500 | 988900 | 1006000 | 964800 | 1073000 | 810300 | 3271
D | 2925 | 578400 | 913100 | 828000 | 904200 | 756600 | 899200 | 1043000 | 903200 | 908000 | 807100 | 3153
E | 2652 | 663900 | 794500 | 849000 | 1045000 | 974300 | 735900 | 1189000 | 1132000 | 955600 | 909300 | 3424
F | 961.9 | 60350 | 278000 | 614000 | 796800 | 818600 | 831700 | 933600 | 793900 | 927600 | 1040000 | 3888
G | 625.6 | 75790 | 433700 | 724300 | 900400 | 855200 | 844300 | 843600 | 808600 | 749300 | 964500 | 2714
H | 100.4 | 655.3 | 1930 | 2678 | 3394 | 3362 | 3230 | 3329 | 3095 | 2946 | 3334 | 556.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 918633.3333
B |  | 0.76592 | 0.90079 | 1.1136 | 1.0224 | 0.67851 | 0.86792 | 0.99735 | 0.80761 | 0.80065
C |  | 0.6895 | 0.81033 | 0.84582 | 1.1931 | 0.62756 | 1.0765 | 1.0951 | 1.0503 | 1.168
D |  | 0.62963 | 0.99398 | 0.90134 | 0.98429 | 0.82361 | 0.97885 | 1.1354 | 0.9832 | 0.98842
E |  | 0.7227 | 0.86487 | 0.9242 | 1.1376 | 1.0606 | 0.80108 | 1.2943 | 1.2323 | 1.0402
F |  | 0.065695 | 0.30262 | 0.66838 | 0.86738 | 0.89111 | 0.90537 | 1.0163 | 0.86422 | 1.0098
G |  | 0.082503 | 0.47211 | 0.78845 | 0.98015 | 0.93095 | 0.91908 | 0.91832 | 0.88022 | 0.81567
H
Wavelength: 0 nm
V2P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 112.9 | 116.7 | 218.3 | 351.8 | 1011 | 2419 | 4283 | 4841 | 4658 | 4136 | 4025 | 1286
B | 211.1 | 19420 | 17140 | 15180 | 80000 | 537900 | 1012000 | 1178000 | 1107000 | 959200 | 1382000 | 4507
C | 287.2 | 26460 | 21380 | 25560 | 93910 | 549300 | 918200 | 1186000 | 1215000 | 1149000 | 1018000 | 4225
D | 281.7 | 7630 | 10720 | 24390 | 29580 | 114800 | 450400 | 908700 | 1057000 | 1326000 | 1102000 | 5173
E | 406.1 | 14860 | 15420 | 42290 | 34560 | 119000 | 414600 | 1067000 | 1214000 | 1159000 | 1516000 | 5332
F | 339.7 | 31630 | 904500 | 2333000 | 1324000 | 1387000 | 1271000 | 1149000 | 1168000 | 1104000 | 1134000 | 4132
G | 625.1 | 77420 | 980500 | 2323000 | 1797000 | 1518000 | 1497000 | 1341000 | 1347000 | 1015000 | 1237000 | 3065
H | 198.8 | 821.2 | 4192 | 7479 | 6973 | 5350 | 5269 | 5323 | 5002 | 3985 | 4461 | 781.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1231500
B |  | 0.015769 | 0.013918 | 0.012326 | 0.064961 | 0.43678 | 0.82176 | 0.95656 | 0.8989 | 0.77889
C |  | 0.021486 | 0.017361 | 0.020755 | 0.076257 | 0.44604 | 0.74559 | 0.96305 | 0.9866 | 0.93301
D |  | 0.0061957 | 0.0087048 | 0.019805 | 0.024019 | 0.09322 | 0.36573 | 0.73788 | 0.8583 | 1.0767
E |  | 0.012067 | 0.012521 | 0.03434 | 0.028063 | 0.09663 | 0.33666 | 0.86642 | 0.98579 | 0.94113
F |  | 0.025684 | 0.73447 | 1.8944 | 1.0751 | 1.1263 | 1.0321 | 0.93301 | 0.94844 | 0.89647
G |  | 0.062866 | 0.79618 | 1.8863 | 1.4592 | 1.2326 | 1.2156 | 1.0889 | 1.0938 | 0.8242
H
Wavelength: 0 nm
V2P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 191 | 222.8 | 259.9 | 331.3 | 346.7 | 293.5 | 357 | 253.1 | 461 | 1176 | 4048 | 972.7
B | 282.2 | 652.4 | 893.3 | 4113 | 1214 | 1170 | 1042 | 1254 | 1380 | 5558 | 1274000 | 4011
C | 1059 | 5324 | 6895 | 7108 | 9113 | 8617 | 7459 | 7531 | 7680 | 11610 | 1423000 | 5238
D | 4258 | 1216000 | 1382000 | 1307000 | 1584000 | 1527000 | 1583000 | 1540000 | 1469000 | 1165000 | 1634000 | 6074
E | 4312 | 1323000 | 1290000 | 1360000 | 1208000 | 1446000 | 1413000 | 1413000 | 1419000 | 1342000 | 1707000 | 6905
F | 1210 | 31710 | 50620 | 30560 | 16890 | 44870 | 355400 | 752500 | 1395000 | 1167000 | 1282000 | 5565
G | 382.1 | 8088 | 10450 | 11270 | 31510 | 28080 | 223400 | 846300 | 1084000 | 1112000 | 1570000 | 4206
H | 72.88 | 227.4 | 279.6 | 182.3 | 437.8 | 569.6 | 1273 | 3223 | 4099 | 4256 | 5572 | 919.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1481666.6667
B |  | 0.00044031 | 0.0006029 | 0.0027759 | 0.00081935 | 0.00078965 | 0.00070326 | 0.00084634 | 0.00093138 | 0.0037512
C |  | 0.0035933 | 0.0046535 | 0.0047973 | 0.0061505 | 0.0058157 | 0.0050342 | 0.0050828 | 0.0051834 | 0.0078358
D |  | 0.8207 | 0.93273 | 0.88211 | 1.0691 | 1.0306 | 1.0684 | 1.0394 | 0.99145 | 0.78628
E |  | 0.89291 | 0.87064 | 0.91789 | 0.8153 | 0.97593 | 0.95366 | 0.95366 | 0.95771 | 0.90574
F |  | 0.021402 | 0.034164 | 0.020625 | 0.011399 | 0.030283 | 0.23987 | 0.50787 | 0.94151 | 0.78763
G |  | 0.0054587 | 0.0070529 | 0.0076063 | 0.021267 | 0.018952 | 0.15078 | 0.57118 | 0.73161 | 0.75051
H

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 25.01.30_mAbV1-3.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 1/30/2025 1:52:45 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 1/30/2025 1:52:45 PM | Session 25.01.30_mAbV1-3.skax started
| 1/30/2025 1:52:45 PM | Temperature | 23.9°C
| 1/30/2025 1:52:53 PM | User action | Please insert plate V1P1 (1/9)
| 1/30/2025 1:53:06 PM | Step Luminescence 1 started
| 1/30/2025 1:53:41 PM | Temperature | 23.9°C
| 1/30/2025 1:54:41 PM | Temperature | 23.9°C
| 1/30/2025 1:55:12 PM | Step Luminescence 1 ended
| 1/30/2025 1:55:20 PM | User action | Please insert plate V1P2 (2/9)
| 1/30/2025 1:55:41 PM | Temperature | 24.0°C
| 1/30/2025 1:56:06 PM | Step Luminescence 1 started
| 1/30/2025 1:56:13 PM | Calibration | Luminometric 1.23028 639700
| 1/30/2025 1:56:41 PM | Temperature | 24.0°C
| 1/30/2025 1:57:41 PM | Temperature | 24.0°C
| 1/30/2025 1:58:14 PM | Step Luminescence 1 ended
| 1/30/2025 1:58:22 PM | User action | Please insert plate V1P3 (3/9)
| 1/30/2025 1:58:41 PM | Temperature | 24.0°C
| 1/30/2025 1:58:44 PM | Step Luminescence 1 started
| 1/30/2025 1:59:41 PM | Temperature | 24.1°C
| 1/30/2025 2:00:41 PM | Temperature | 24.1°C
| 1/30/2025 2:00:49 PM | Step Luminescence 1 ended
| 1/30/2025 2:00:58 PM | User action | Please insert plate V2P1 (4/9)
| 1/30/2025 2:01:29 PM | Step Luminescence 1 started
| 1/30/2025 2:01:41 PM | Temperature | 24.1°C
| 1/30/2025 2:02:41 PM | Temperature | 24.1°C
| 1/30/2025 2:03:35 PM | Step Luminescence 1 ended
| 1/30/2025 2:03:41 PM | Temperature | 24.1°C
| 1/30/2025 2:03:43 PM | User action | Please insert plate V2P2 (5/9)
| 1/30/2025 2:04:10 PM | Step Luminescence 1 started
| 1/30/2025 2:04:17 PM | Calibration | Luminometric 1.23634 688150
| 1/30/2025 2:04:41 PM | Temperature | 24.1°C
| 1/30/2025 2:05:41 PM | Temperature | 24.2°C
| 1/30/2025 2:06:18 PM | Step Luminescence 1 ended
| 1/30/2025 2:06:26 PM | User action | Please insert plate V2P3 (6/9)
| 1/30/2025 2:06:41 PM | Temperature | 24.2°C
| 1/30/2025 2:06:48 PM | Step Luminescence 1 started
| 1/30/2025 2:07:41 PM | Temperature | 24.2°C
| 1/30/2025 2:08:41 PM | Temperature | 24.2°C
| 1/30/2025 2:08:54 PM | Step Luminescence 1 ended
| 1/30/2025 2:09:02 PM | User action | Please insert plate V3P1 (7/9)
| 1/30/2025 2:09:41 PM | Temperature | 24.2°C
| 1/30/2025 2:10:41 PM | Temperature | 24.2°C
| 1/30/2025 2:11:41 PM | Temperature | 24.2°C
| 1/30/2025 2:12:41 PM | Temperature | 24.2°C
| 1/30/2025 2:13:41 PM | Temperature | 24.2°C
| 1/30/2025 2:14:41 PM | Temperature | 24.1°C
| 1/30/2025 2:15:41 PM | Temperature | 24.1°C
| 1/30/2025 2:16:41 PM | Temperature | 24.1°C
| 1/30/2025 2:17:41 PM | Temperature | 24.1°C
| 1/30/2025 2:18:41 PM | Temperature | 24.1°C
| 1/30/2025 2:19:41 PM | Temperature | 24.0°C
| 1/30/2025 2:20:41 PM | Temperature | 24.0°C
| 1/30/2025 2:21:41 PM | Temperature | 24.0°C
| 1/30/2025 2:22:41 PM | Temperature | 24.0°C
| 1/30/2025 2:23:41 PM | Temperature | 24.0°C
| 1/30/2025 2:24:41 PM | Temperature | 24.0°C
| 1/30/2025 2:25:41 PM | Temperature | 24.0°C
| 1/30/2025 2:26:41 PM | Temperature | 24.0°C
| 1/30/2025 2:27:41 PM | Temperature | 24.0°C
| 1/30/2025 2:28:41 PM | Temperature | 24.0°C
| 1/30/2025 2:29:36 PM | Step Luminescence 1 started
| 1/30/2025 2:29:41 PM | Temperature | 24.0°C
| 1/30/2025 2:29:43 PM | Calibration | Luminometric 1.24337 840748
| 1/30/2025 2:30:04 PM | Session aborted by user

## Layout definitions
Name | V1P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | V1P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V1P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V2P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H