## Luminescence 1_01
Measurement results
25.01.30_mAb_V3.skax
1/30/2025 2:31:59 PM
Luminescence 1
Wavelength: 0 nm
V3P1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1803 | 6272 | 7511 | 6542 | 6917 | 6602 | 6760 | 6785 | 7366 | 6613 | 5685 | 1316
B | 5506 | 1334000 | 1347000 | 1134000 | 1356000 | 1315000 | 1237000 | 1188000 | 1516000 | 1172000 | 1280000 | 4340
C | 5918 | 1212000 | 1122000 | 1500000 | 1596000 | 1747000 | 1450000 | 1158000 | 1286000 | 1184000 | 1247000 | 4550
D | 6054 | 1203000 | 1397000 | 1644000 | 1448000 | 1419000 | 1313000 | 1753000 | 1632000 | 1378000 | 1428000 | 4948
E | 5555 | 1435000 | 1373000 | 1766000 | 1798000 | 1517000 | 1154000 | 1324000 | 1512000 | 1393000 | 1344000 | 4662
F | 2216 | 229600 | 576500 | 1091000 | 1422000 | 1283000 | 1043000 | 1434000 | 1353000 | 1253000 | 1226000 | 4545
G | 856.8 | 140000 | 714200 | 1063000 | 1345000 | 1462000 | 1010000 | 1245000 | 1509000 | 1492000 | 1520000 | 3602
H | 201 | 1136 | 2810 | 4264 | 5870 | 5344 | 3632 | 5161 | 5888 | 5798 | 5868 | 740.4
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1340833.3333
B |  | 0.9949 | 1.0046 | 0.84574 | 1.0113 | 0.98073 | 0.92256 | 0.88602 | 1.1306 | 0.87408
C |  | 0.90392 | 0.83679 | 1.1187 | 1.1903 | 1.3029 | 1.0814 | 0.86364 | 0.95911 | 0.88303
D |  | 0.8972 | 1.0419 | 1.2261 | 1.0799 | 1.0583 | 0.97924 | 1.3074 | 1.2172 | 1.0277
E |  | 1.0702 | 1.024 | 1.3171 | 1.341 | 1.1314 | 0.86066 | 0.98745 | 1.1277 | 1.0389
F |  | 0.17124 | 0.42996 | 0.81367 | 1.0605 | 0.95687 | 0.77787 | 1.0695 | 1.0091 | 0.93449
G |  | 0.10441 | 0.53265 | 0.79279 | 1.0031 | 1.0904 | 0.75326 | 0.92853 | 1.1254 | 1.1127
H
Wavelength: 0 nm
V3P2
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 91.55 | 240.7 | 312.1 | 318.4 | 828.6 | 2651 | 4640 | 5284 | 5942 | 6347 | 5038 | 1213
B | 369.6 | 28380 | 28820 | 9166 | 63850 | 415600 | 1115000 | 1051000 | 1306000 | 1452000 | 1199000 | 4589
C | 200 | 20420 | 35490 | 44340 | 180000 | 565700 | 1136000 | 1249000 | 1706000 | 1343000 | 1297000 | 5889
D | 273.7 | 11890 | 13440 | 23570 | 14110 | 167000 | 659100 | 907600 | 1339000 | 1380000 | 1470000 | 6149
E | 421.1 | 31000 | 13100 | 38840 | 27770 | 114400 | 403900 | 668700 | 1664000 | 1166000 | 1602000 | 6417
F | 627.9 | 123100 | 1046000 | 2275000 | 2022000 | 1606000 | 1206000 | 1476000 | 1590000 | 1366000 | 1348000 | 4831
G | 590.8 | 48090 | 967100 | 2194000 | 1697000 | 1437000 | 1553000 | 1407000 | 1288000 | 1229000 | 1197000 | 3590
H | 186.3 | 874 | 4629 | 8252 | 7484 | 6082 | 5806 | 6054 | 5394 | 5111 | 4713 | 686.2
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1352166.6667
B |  | 0.020989 | 0.021314 | 0.0067788 | 0.047221 | 0.30736 | 0.8246 | 0.77727 | 0.96586 | 1.0738
C |  | 0.015102 | 0.026247 | 0.032792 | 0.13312 | 0.41837 | 0.84013 | 0.9237 | 1.2617 | 0.99322
D |  | 0.0087933 | 0.0099396 | 0.017431 | 0.010435 | 0.12351 | 0.48744 | 0.67122 | 0.99026 | 1.0206
E |  | 0.022926 | 0.0096882 | 0.028724 | 0.020537 | 0.084605 | 0.29871 | 0.49454 | 1.2306 | 0.86232
F |  | 0.091039 | 0.77357 | 1.6825 | 1.4954 | 1.1877 | 0.8919 | 1.0916 | 1.1759 | 1.0102
G |  | 0.035565 | 0.71522 | 1.6226 | 1.255 | 1.0627 | 1.1485 | 1.0406 | 0.95255 | 0.90891
H
Wavelength: 0 nm
V3P3
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 194.4 | 217.9 | 277.5 | 154.6 | 241.6 | 271.9 | 254 | 303.5 | 414.6 | 1007 | 3388 | 1059
B | 262.8 | 639.2 | 820.1 | 833.2 | 1034 | 955.3 | 880.5 | 958.5 | 4416 | 5029 | 1026000 | 3543
C | 1003 | 4218 | 5627 | 5496 | 6030 | 6627 | 6110 | 6522 | 7048 | 10620 | 883000 | 4256
D | 3604 | 904200 | 1008000 | 1058000 | 1112000 | 1194000 | 950900 | 1267000 | 1142000 | 1206000 | 996100 | 4517
E | 3683 | 984500 | 1089000 | 1127000 | 1458000 | 1203000 | 1117000 | 1058000 | 1131000 | 920400 | 959300 | 4881
F | 1056 | 32690 | 24480 | 25270 | 10070 | 86320 | 237900 | 587800 | 763400 | 904000 | 1007000 | 4192
G | 366.7 | 33030 | 38220 | 31630 | 27750 | 60030 | 113800 | 470000 | 878600 | 1033000 | 898500 | 2672
H | 91.34 | 319.3 | 314.8 | 323.2 | 391.3 | 541 | 861.8 | 2194 | 3386 | 4114 | 3407 | 529.6
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 961650
B |  | 0.00066469 | 0.00085281 | 0.00086643 | 0.0010752 | 0.0009934 | 0.00091561 | 0.00099672 | 0.0045921 | 0.0052296
C |  | 0.0043862 | 0.0058514 | 0.0057152 | 0.0062705 | 0.0068913 | 0.0063537 | 0.0067821 | 0.0073291 | 0.011044
D |  | 0.94026 | 1.0482 | 1.1002 | 1.1563 | 1.2416 | 0.98882 | 1.3175 | 1.1875 | 1.2541
E |  | 1.0238 | 1.1324 | 1.1719 | 1.5161 | 1.251 | 1.1615 | 1.1002 | 1.1761 | 0.9571
F |  | 0.033994 | 0.025456 | 0.026278 | 0.010472 | 0.089762 | 0.24739 | 0.61124 | 0.79384 | 0.94005
G |  | 0.034347 | 0.039744 | 0.032891 | 0.028857 | 0.062424 | 0.11834 | 0.48874 | 0.91364 | 1.0742
H
Autoloading range A1 - M78

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | 25.01.30_mAb_V3.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 1/30/2025 2:31:59 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 1/30/2025 2:31:59 PM | Session 25.01.30_mAb_V3.skax started
| 1/30/2025 2:31:59 PM | Temperature | 24.0°C
| 1/30/2025 2:32:07 PM | User action | Please insert plate V3P1 (1/3)
| 1/30/2025 2:32:27 PM | Step Luminescence 1 started
| 1/30/2025 2:32:41 PM | Temperature | 24.0°C
| 1/30/2025 2:33:41 PM | Temperature | 24.0°C
| 1/30/2025 2:34:33 PM | Step Luminescence 1 ended
| 1/30/2025 2:34:41 PM | Temperature | 24.1°C
| 1/30/2025 2:34:41 PM | User action | Please insert plate V3P2 (2/3)
| 1/30/2025 2:35:08 PM | Step Luminescence 1 started
| 1/30/2025 2:35:41 PM | Temperature | 24.1°C
| 1/30/2025 2:36:41 PM | Temperature | 24.2°C
| 1/30/2025 2:37:14 PM | Step Luminescence 1 ended
| 1/30/2025 2:37:22 PM | User action | Please insert plate V3P3 (3/3)
| 1/30/2025 2:37:41 PM | Temperature | 24.2°C
| 1/30/2025 2:37:46 PM | Step Luminescence 1 started
| 1/30/2025 2:37:54 PM | Calibration | Luminometric 1.25161 889769
| 1/30/2025 2:38:41 PM | Temperature | 24.2°C
| 1/30/2025 2:39:41 PM | Temperature | 24.2°C
| 1/30/2025 2:39:54 PM | Step Luminescence 1 ended
| 1/30/2025 2:39:54 PM | Temperature | 24.2°C
| 1/30/2025 2:40:05 PM | Session 25.01.30_mAb_V3.skax ended

## Layout definitions
Name | V3P1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
Name | V3P2
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Name | V3P3
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H